## Sheet1
QQ：543060174/327814406 | 咨询电话:010-61272284 400-090-1985 | 网址：http://www.stdbook.org | E-MAIL：gwbz@263.net
标准号 | 中文名 | 英文名 | 状态
YY/T 9706.106-2021 | 医用电气设备 第1-6部分:基本安全和基本性能的通用要求 并列标准:可用性 |  | 正常
YY/T 1773-2021 | 一次性使用腹膜透析外接管 |  | 正常
YY/T 1712-2021 | 采用机器人技术的辅助手术设备和辅助手术系统 |  | 正常
YY 9706.235-2021 | 医用电气设备 第2-35部分:医用毯、垫或床垫式加热设备的基本安全和基本性能专用要求 |  | 正常
YY 9706.112-2021 | 医用电气设备 第1-12部分:基本安全和基本性能的通用要求 并列标准:预期在紧急医疗服务环境中使用的医用电气设备和医用电气系统的要求 |  | 正常
YY 9706.111-2021 | 医用电气设备 第1-11部分:基本安全和基本性能的通用要求 并列标准:在家庭护理环境中使用的医用电气设备和医用电气系统的要求 |  | 正常
YY 1741-2021 | 抗凝血酶Ⅲ测定试剂盒 |  | 正常
YY 0290.2-2021 | 眼科光学 人工晶状体 第2部分:光学性能及测试方法 |  | 正常
GB/T 19703-2020 | 体外诊断医疗器械 生物源性样品中量的测量 有证参考物质及支持文件内容的要求 | In vitro diagnostic medical devices--Measurement of quantities in samples of biological origin--Description of reference materials | 正常
YY/T 1738-2020 | 医用电气设备能耗测量方法 |  | 正常
YY/T 0664-2020 | 医疗器械软件 软件生存周期过程 |  | 正常
YY/T 1734-2020 | 腹膜透析用碘液保护帽 |  | 正常
YY/T 1731-2020 | 人基因单核苷酸多态性(SNP)检测试剂盒 |  | 正常
YY/T 1730-2020 | 一次性使用血液透析导管 |  | 正常
YY/T 1717-2020 | 核酸提取试剂盒(磁珠法) |  | 正常
YY/T 1686-2020 | 采用机器人技术的医用电气设备 分类 |  | 正常
YY/T 0086-2020 | 医用冷藏箱 |  | 正常
GB 9706.1-2020 | 医用电气设备 第1部分:基本安全和基本性能的通用要求 | Medical electrical equipment--Part 1:General requirements for safety | 正常
YY/T 0506.8-2019 | 病人、医护人员和器械用手术单、手术衣和洁净服 第8部分:产品专用要求 |  | 正常
YY/T 1643-2018 | 远程医用影像设备的功能性和兼容性检验方法 |  | 正常
YY 0290.3-2018 | 眼科光学 人工晶状体 第3部分:机械性能及测试方法 |  | 正常
JIS T9107-2018 | 一次性无菌外科用橡胶手套.规范 | Single-use sterile rubber surgical gloves -- Specification | 正常
GB/T 19634-2005/XG1-2006 | 体外诊断检验系统 自测用血糖监测系统通用技术条件 修改单1 | In vitro diagnostic test systems-General technical requirements for blood-glucose monitoring systems for self-testing AMD 1 | 正常
SN/T 1672.4-2005 | 进出口医用设备检验规程 第4部分:B型超声诊断设备 | Rules for the inspection of medical equipment for import and export --Part 4:B mode ultrasonic diagnostic equipment | 正常
SN/T 1672.2-2005 | 进出口医用设备检验规程 第2部分:全身螺旋CT扫描仪 | Rules for the inspection of medical equipment for import and export --Part 2: General spiral computed tomography scanner | 正常
SJ/T 11096-1996 | 医用X射线电视设备测量方法 | Methods of measurement for medical X-ray television equipments | 正常
SJ/T 11095-1996 | 医用X射线电视设备通用技术条件 | General specifications for medical X-ray television equipment | 正常
SJ/T 11094-1996 | 医用X射线图像增强器电视系统性能参数及测量方法 | Performance parameters and methods of measurement for medical X-ray image intensifier television systems | 正常
JB/T 5230-1991 | 生理记录仪通用技术条件 | General technical conditions for physiological recorder | 正常
BS PD IEC/TR 60601-4-3-2015 | 医疗电气设备. 指南和说明. 第三版IEC 60601-1和新要求建议书中未解决安全方面的考虑 | Medical electrical equipment. Guidance and interpretation. Considerations of unaddressed safety aspects in the third edition of IEC 60601-1 and proposals for new requirements | 正常
ANSI/AAMI/ISO 10993-7-2008 | 医疗装置用生物学评估.第7部分:环氧乙烷灭菌残留物 | Biological evaluation of medical devices - Part 7: Ethylene oxide sterilization residuals | 正常
IEC 60601-1-10 AMD 1-2013 | 医用电气设备.第1-10部分:基本安全性和基本性能的通用要求.补充标准:生理闭环控制器开发的要求.修改件1 | Medical electrical equipment - Part 1-10: General requirements for basic safety and essential performance - Collateral standard: Requirements for the development of physiologic closed-loop controllers | 正常
IEC 60601-1-6-2010 | 医用电气设备.基本安全和基本性能的一般要求.平行标准:可用性 | Medical electrical equipment - General requirements for basic safety and essential performance - Collateral Standard: Usability | 正常
IEC 60601-1-9-2007 | 医疗电气设备.第1-9部分:基本安全和重要性能的一般要求.附属标准:环境意识设计的要求 | Medical electrical equipment - Part 1-9: General requirements for basic safety and essential performance - Collateral Standard: Requirements for environmentally conscious design | 正常
IEC 60601-1-10-2007 | 医用电气设备.第1-10部分:基本安全和基本性能的一般要求.补充标准:生理闭环控制器开发的要求 | Medical electrical equipment - Part 1-10: General requirements for basic safety and essential performance - Collateral standard: Requirements for the development of physiologic closed-loop controllers | 正常
JIS T0601-1-2017 | 医用电气设备.第1部分:基本安全和基本性能的通用要求 | Medical electrical equipment -- Part 1: General requirements for basic safety and essential performance | 正常
JIS T9107 AMD 1-2011 | 一次性无菌外科橡皮手套.规格(修改件1) | Single-use sterile surgical rubber gloves -- Specification (Amendment 1) | 正常
JIS T9107-2005 | 一次性无菌外科用橡胶手套.规范 | Single-use sterile surgical rubber gloves -- Specification | 正常
GB/T 14710-2009 | 医用电器环境要求及试验方法 | Enviromental requirement and test methods for medical electrical equipment | 正常
GB 9706.15-2008 | 医用电气设备 第1-1部分:通用安全要求 并列标准:医用电气系统安全要求 | Medical electrical equipment--Part 1:General requirements for safety--1. Collateral standard:Safety requirements for medical electrical systems | 正常
GB 9706.1-2007 | 医用电气设备 第一部分:安全通用要求 | Medical electrical equipment--Part 1:General requirements for safety | 正常
GB/T 19904-2005 | 医用氧舱用电化学式测氧仪 | Electrochemical oxygenmeter for medical hyperbaric oxygen chamber | 正常
GB 11235-1997 | VCu宫内节育器 |  | (作废)
GB 11236-2006 | TCu宫内节育器 | TCu intra uterine devices | 正常
GB 11234-2006 | 宫腔形宫内节育器 | Uterine cavity form intra uterine devices | 正常
GB/T 19703-2005 | 体外诊断医疗器械 生物源性样品中量的测量 参考物质的说明 | In vitro diagnostic medical devices--Measurement of quantities in samples of biological origin--Description of reference materials | 正常
GB/T 19702-2005 | 体外诊断医疗器械 生物源性样品中量的测量 参考测量程序的说明 | In vitro diagnostic medical devices--Measurement of quantities in samples of biological origin--Presentation of reference measurement procedures | 正常
GB/T 16886.10-2005 | 医疗器械生物学评价 第10部分:刺激与迟发型超敏反应试验 | Biological evaluation of medical devices--Part 10:Tests for irritation and delayed-type hypersensitivity | (作废)
GB/Z 17994-1999 | 编写和使用医用电气设备教材的导则 | Guidelines for the development and use of medical electrical equipment educational materials | (作废)
GB/T 17257.3-1998 | 集尿袋 第3部分:容量的测定 |  | (作废)
GB/T 17257.2-1998 | 集尿袋 第2部分:尺寸的测定 |  | (作废)
GB/T 17257.1-1998 | 集尿袋 第1部分:术语 |  | (作废)
GB/T 17257.4-1998 | 集尿袋 第4部分:泄漏的试验方法 |  | (作废)
GB 9706.15-1999 | 医用电气设备 第一部分:安全通用要求 1.并列标准:医用电气系统安全要求 |  | (作废)
WB/T 1062-2016 | 药品阴凉箱技术要求和试验方法 | Technical requirements and test methods of pharmaceutical cool refrigerator | 正常
YY/T 0506.2-2016 | 病人、医护人员和器械用手术单、手术衣和洁净服 第2部分:性能要求和试验方法 | Surgical drapes,gowns and clean air suits for patients, clinical staff and equipment.Part 2:Performance requirements and test methods | 正常
JJG (交通) 034-2015 | 水运工程 超声波水位计 |  | 正常
SN/T 1672.8-2013(2017) | 进出口医用设备检验规程 第8部分:超声诊断和理疗设备 | Rules for the inspection of import and export medical equipment—Part8:Ultrasonic diagnostic and physiotherapy equipment | 正常
YY 0834-2011 | 医用电气设备 第二部分:医用电热毯、电热垫和电热床垫安全专用要求 | Medical electrical equipment-Part 2-35:Particular requirements for the safety of blankets,pads and mattesses,intended for heating in medical use | 正常
YY/T 0855.2-2011 | 手术单和（或）病人防护覆盖物抗激光试验方法和分类.第2部分：次级点燃 | Test method and classification for the laser resistance of surgical drapes and/or patient protective covers.Part 2:Secondary ignition | 正常
SN/T 3062.4-2011(2015) | 进口医疗器械灭菌包装 第4部分:材料和预成型无菌屏障系统要求 | Pachaking materials for terminally sterilized medical devices for import--Part 4:Requirements for materials and sterile barrier systems of importing medical device sterilization packaging | 正常
SN/T 3062.3-2011(2015) | 进口医疗器械灭菌包装 第3部分:透气材料与塑料膜组成的可密封组合袋和卷材 要求和试验方法 | Packaging materials for terminally sterilized medical devices for import. Part 3:Sealable pouches and reels of porous materials and plastic film construction. Requirements and test methods | 正常
SN/T 3062.2-2011(2015) | 进口医疗器械灭菌包装 第2部分:纸袋-要求和试验方法 | Pachaking materials for terminally sterilized medical devices for import--Part 2:Paper bags--Requirements and test methods | 正常
SN/T 3062.1-2011(2015) | 进口医疗器械灭菌包装 第1部分:成形、密封和装配过程的确认要求 | Packing materials for terminally sterilized medical devices for import. Part 1:Validation requirements for forming,sealing and assembly processes | 正常
SN/T 3061-2011(2015) | 进口医疗器械灭菌包装检验操作规程 |  | 正常
YY/T 0758-2009 | 治疗用激光光纤通用要求 | General requirements for therapeutic laster fiber | 正常
YY/T 0756-2009 | 光学和光学仪器 激光和激光相关设备 激光光束功率(能量)密度分布的试验方法 |  | 正常
YY 0763-2009 | 医用内窥镜 照明用光缆 | Medical endoscopes Fibre optical cables for lighting | 正常
YY 0069-2009 | 硬性气管内窥镜专用要求 | Particular requirements for rigid bronchoscopes | 正常
YY 0068.4-2009 | 医用内窥镜 硬性内窥镜 第4部分：基本要求 | Medical endoscopes Rigid endoscopes.Part 4:Fundamental requirement | 正常
YY/T 0506.6-2009 | 病人、医护人员和器械用手术单、手术衣和洁净服.第6部分:阻湿态微生物穿透试验方法 | Surgical drapes,gowns and clean air suits,used as medical devices,for patients,clinical staff and equipment.Part 6:Test method to determine the resistance to wet bacterial penetration | 正常
YY/T 0506.2-2009 | 病人、医护人员和器械用手术单、手术衣和洁净服 第2部分:性能要求和性能水平 | Surgical drapes，gowns and clean air suits for patients，clinical staff and equipment-Part 2:Performance requirements and performance levels | (作废)
YY/T 0932-2014 | 医用照明光源 医用额戴式照明灯 | Medical luminaires.Medical head-mounted luminaires | 正常
YY/T 0664-2008 | 医疗器械软件 软件生存周期过程 | Medical device software--Software life cycle processes | 正常
YY 0071-2008 | 直肠、乙状结肠窥镜 | Sigmoidoscopy and Rectoscopy set | (作废)
YY 0070-2008 | 食管窥镜 | Esophagoscope | (作废)
YY 0068.1-2008 | 医用内窥镜.硬性内窥镜.第1部分：光学性能及测试方法 | Medical Endoscopes.Rigid Endoscope.Part 1:Optical properties and test methods | 正常
YY 0633-2008 | 眼科仪器.间接检眼镜 | Ophthalmic instruments.Indirect ophthalmoscopes | 正常
YY 0290.4-2008 | 眼科光学.人工晶状体.第4部分:标签和资料 | Ophthalmic implants.Intraocular lenses.Part 4:Labeling and information | 正常
YY 0290.3-2008 | 眼科光学 人工晶状体 第3部分:机械性能及测试方法 | Ophthalmic implants--Intraocular lenses--Part 3:Mechanical properties and test methods | (作废)
YY 0290.1-2008 | 眼科光学.人工晶状体.第1部分:术语 | Ophthalmic implants.Intraocular lenses.Part 1:Terminology | 正常
YY 0068.3-2008 | 医用内窥镜.硬性内窥镜.第3部分：标签和随附资料 | Medical endoscopes-Rigid endoscope-Part 3:Marking and instruction manual | 正常
YY 0068.2-2008 | 医用内窥镜.硬性内窥镜.第2部分：机械性能及测试方法 | Medical endoscopes-Rigid endoscope-Part 2:Mechanical properties and test methods | 正常
YY 1028-2008 | 纤维上消化道内窥镜 | Upper gastro intestinal fiberscope | 正常
YY 0290.8-2008 | 眼科光学.人工晶状体.第8部分:基本要求 | Ophthalmic implants.Intraocular lenses.Part 8:Fundamental requirement | 正常
YY 0290.5-2008 | 眼科光学.人工晶状体.第5部分:生物相容性 | Ophthalmic implants.Intraocular lenses.Part 5:Biocompatibility | 正常
YY/T 1088-2007 | 在0.5MHz至15MHz频率范围内采用水听器测量与表征医用超声设备声场特性的导则 | Guidance for the measurement and characterization of ultrasonic fields generated by medical ultrasonic equipment using hydrophones in the frequency range 0.5MHz to 15MHz | 正常
YY 0602-2007 | 测量、控制和试验室用电气设备的安全使用热空气或热惰性气体处理医用材料及供试验室用的干热灭菌器的特殊要求 | Safety requirements for electrical equipment for measurement,control, and laboratory use-Part 2-043:Particular requirements for bry heat sterilizers using either hot air or hot inert gas for the treeatment of medical materials,and for laboratory processes | 正常
JJG 893-2007 | 超声多普勒胎心仪超声源检定规程 | Verification Regulation of Ultrasonic Source of Ultrasonic Doppler Foetal Meters | 正常
YY 0503-2005 | 环氧乙烷灭菌器 | Ethylene oxide sterilizer | (作废)
SN/T 1430.1-2004 | 进口医疗器械检验规程 医用超声诊断和治疗设备 | Rules for the inspection of medical electrical equipment for import -- Ultrasonic medical diagnostic and therapy equipment | (作废)
GA 544-2005 | 多道心理测试系统通用技术规范 | General specification for polygraph system | 正常
YY/T 0615.1-2007 | 标示“无菌”医疗器械的要求 第l部分：最终灭菌医疗器械的要求 | Requirements for medical devices to be designated“STERILE”.part 1:Requirements for terminally sterilized medical devices | 正常
YY/T 0168-2007 | 血液冷藏箱 | Blood refrigerator | 正常
YY/T 0086-2007 | 药品冷藏箱 | Pharmaceutical refrigerator | 正常
JJG 749-2007 | 心、脑电图机检定仪检定规程 | Verification Instrument for Electrocardiograph and Electroencephalograph | 正常
YY/T 0297-1997 | 医疗器械临床调查 | Clinical investigation of medical devices | 正常
YY 91099-1999 | 医用X线设备 标志、包装、运输和贮存 | Medical X-ray equipment -- Designation, packaging, transportation and storage | (作废)
YY/T 0186-1994 | 医用中心吸引系统通用技术条件 | General technical requirements for Suction system in medical center | 正常
YY 0126-1993 | 滚压式搏动血泵 | Rolling type pulsate blood pump | 正常
YY/T 91051-1999 | 医疗器械行业标准体系表 | System table for standard of medical devices | 正常
YY 0033-2000 | 无菌医疗器具生产管理规范 | Good manufacture practice for sterile medical devices | 正常
YY 0015-1990 | 功量机 | Work amount machine | 正常
WS/T 75-1996 | 医用X射线诊断的合理应用原则 | Guide for reasonable application of medical X-ray diagnosis | 正常
JJG (交通) 034-2004 | 水运工程 超声波水位计检定规程 | Water Transport Engineering-Verification Regulation of Acoustic Water Level Gauge | (作废)
HB 9-7-1983 | 药箱 | Medicine chest | 正常
JJF 1129-2005 | 尿液分析仪校准规范 | Calibration Specification of Urine Analyzers(explanation) | 正常