## Sheet1
QQ：543060174/327814406 | 咨询电话:010-61272284 400-090-1985 | 网址：http://www.stdbook.org | E-MAIL：gwbz@263.net
标准号 | 中文名 | 英文名 | 状态
YY/T 0567.2-2021 | 医疗保健产品的无菌加工 第2部分:除菌过滤 |  | 正常
YY/T 1737-2020 | 医疗器械生物负载控制水平的分析方法 |  | 正常
YY/T 1733-2020 | 医疗器械辐射灭菌 辐照装置剂量分布测试指南 |  | 正常
YY/T 0802-2020 | 医疗器械的处理 医疗器械制造商提供的信息 |  | 正常
EN ISO 11139-2018 | 保健品灭菌. 词汇. 灭菌及相关设备和工艺标准中使用的术语(ISO 11139-2018); 德文和英文版本EN ISO 11139-2018 | Sterilization of health care products - Vocabulary of terms used in sterilization and related equipment and process standards (ISO 11139:2018); German and English version EN ISO 11139:2018 | 正常
EN ISO 11139-2018 | 保健品灭菌. 词汇. 灭菌及相关设备和工艺标准中使用的术语(ISO 11139-2018); 德文和英文版本EN ISO 11139-2018 | Sterilization of health care products - Vocabulary of terms used in sterilization and related equipment and process standards (ISO 11139:2018); German and English version EN ISO 11139:2018 | 正常
ASTM F3127-2016 | 用于验证在医疗设备制造过程中使用的清洁过程的标准指南 | Standard Guide for Validating Cleaning Processes Used During the Manufacture of Medical Devices | 正常
ASTM E1173-2015 | 评估手术前, 导管插入术前或注射前皮肤处理的标准试验方法 | Standard Test Method for Evaluation of Preoperative, Precatheterization, or Preinjection Skin Preparations | 正常
ASTM E1837-1996(2014) | 采用模拟使用试验测定可重复使用医疗器械消毒过程有效性的标准试验方法 | Standard Test Method to Determine Efficacy of Disinfection Processes for Reusable Medical Devices (Simulated Use Test) | 正常
ASTM F3127-2016 | 用于验证在医疗设备制造过程中使用的清洁过程的标准指南 | Standard Guide for Validating Cleaning Processes Used During the Manufacture of Medical Devices | 正常
ASTM E1173-2015 | 评估手术前, 导管插入术前或注射前皮肤处理的标准试验方法 | Standard Test Method for Evaluation of Preoperative, Precatheterization, or Preinjection Skin Preparations | 正常
ASTM E1837-1996(2014) | 采用模拟使用试验测定可重复使用医疗器械消毒过程有效性的标准试验方法 | Standard Test Method to Determine Efficacy of Disinfection Processes for Reusable Medical Devices (Simulated Use Test) | 正常
DIN EN ISO 11139-2019 | 保健品灭菌. 词汇. 灭菌及相关设备和工艺标准中使用的术语(ISO 11139-2018); 德文和英文版本EN ISO 11139-2018 | Sterilization of health care products - Vocabulary of terms used in sterilization and related equipment and process standards (ISO 11139:2018); German and English version EN ISO 11139:2018 | 正常
ISO 13408-7-2012 | 保健产品的无菌加工.第7部分:医疗器械和组合产品用可替代工艺 | Aseptic processing of health care products - Part 7: Alternative processes for medical devices and combination products | 正常
ISO 13408-6-2005 | 保健产品的无菌加工.第6部分:隔离器系统 | Aseptic processing of health care products - Part 6: Isolator systems | 正常
ISO 13408-1 AMD 1-2013 | 保健品的无菌加工. 第1部分: 一般要求. 修改件1 | Aseptic processing of health care products - Part 1: General requirements; Amendment 1 | 正常
ISO 13408-5-2006 | 保健产品的无菌加工.第5部分:现场消毒 | Aseptic processing of health care products - Part 5: Sterilization in place | 正常
ISO 13408-3-2006 | 卫生保健产品的无菌工艺.第3部分:冻干法 | Aseptic processing of health care products - Part 3: Lyophilization | 正常
ISO 13408-4-2005 | 保健产品的无菌加工.第4部分:就地清洗技术 | Aseptic processing of health care products - Part 4: Clean-in-place technologies | 正常
ISO 13408-1-2008 | 医疗保健产品的无菌加工.第1部分:一般要求 | Aseptic processing of health care products - Part 1: General requirements | 正常
ISO 11737-2-2009 | 医疗器械灭菌.微生物学方法.第2部分:灭菌过程的定义、有效性和维护中进行的无菌试验 | Sterilization of medical devices - Microbiological methods - Part 2: Tests of sterility performed in the definition, validation and maintenance of a sterilization process | 正常
ISO 14937-2009 | 保健产品灭菌.医疗器械用消毒剂的特性和消毒方法的研发,验证及常规控制的一般要求 | Sterilization of health care products - General requirements for characterization of a sterilizing agent and the development, validation and routine control of a sterilization process for medical devices | 正常
ISO/TS 17665-2-2009 | 保健产品的灭菌.湿热.第2部分:ISO 17665-1的应用指南 | Sterilization of health care products - Moist heat - Part 2: Guidance on the application of ISO 17665-1 | 正常
ISO 15882-2008 | 保健产品的消毒.化学指示剂.选择、使用和结果说明用指南 | Sterilization of health care products - Chemical indicators - Guidance for selection, use and interpretation of results | 正常
ISO 11140-3 CORR 1-2007 | 卫生保健品的灭菌.化学指示剂.第3部分:布维-狄(Bowie and Dick)蒸汽渗透试验用2号指示剂系统.技术勘误1 | Sterilization of health care products - Chemical indicators - Part 3: Class 2 indicator systems for use in the Bowie and Dick-type steam penetration test; Technical Corrigendum 1 | 正常
ISO 11140-3-2007 | 卫生保健品的灭菌.化学指示剂.第3部分:布维-狄克(Bowie and Dick-type)蒸汽穿透试验用2级指示剂体系 | Sterilization of health care products - Chemical indicators - Part 3: Class 2 indicator systems for use in the Bowie and Dick-type steam penetration test | 正常
ISO 11140-4-2007 | 卫生保健品的灭菌.化学指示剂.第4部分:蒸汽穿透检测布维-狄(Bowie and Dick)形式试验的2级指示剂 | Sterilization of health care products - Chemical indicators - Part 4: Class 2 indicators as an alternative to the Bowie and Dick-type test for detection of steam penetration | 正常
ISO 11140-5-2007 | 卫生保健品的灭菌.化学指示剂.第5部分:布维-狄克形式(Bowie and Dick-type)除气试验的2级指示剂 | Sterilization of health care products - Chemical indicators - Part 5: Class 2 indicators for Bowie and Dick-type air removal tests | 正常
ISO 17665-1-2006 | 保健产品的灭菌.湿热.第1部分:医疗机械消毒过程的制定、确认和常规控制的要求 | Sterilization of health care products - Moist heat - Part 1: Requirements for the development, validation and routine control of a sterilization process for medical devices | 正常
ISO 20857-2010 | 保健品消毒.干热.医疗器材消毒步骤的制定,确认和常规控制要求 | Sterilization of health care products - Dry heat - Requirements for the development, validation and routine control of a sterilization process for medical devices | 正常
ISO 11137-1-2006 | 保健产品的灭菌.辐射.第1部分:医疗器件消毒过程的制定、确认、和常规控制的要求 | Sterilization of health care products - Radiation - Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices | 正常
ISO 11138-7-2019 | 医疗保健产品灭菌. 生物指示物. 第7部分: 选择、使用及检验结果判断指南 | Sterilization of health care products - Biological indicators - Part 7: Guidance for the selection, use and interpretation of results | 正常
ISO 11138-7-2019 | 医疗保健产品灭菌. 生物指示物. 第7部分: 选择、使用及检验结果判断指南 | Sterilization of health care products - Biological indicators - Part 7: Guidance for the selection, use and interpretation of results | 正常
ISO 11135 AMD 1-2018 | 附录E的修订, 单批放行 | Revision of Annex E, Single batch release | 正常
ISO 11137-3-2017 | 保健产品的灭菌.辐射.第3部分:发展、验证和常规控制剂量方面的指导 | Sterilization of health care products - Radiation - Part 3: Guidance on dosimetric aspects of development, validation and routine control | 正常
ISO/TR 20520-2018 | 中医. 针灸治疗的感染控制 | Traditional Chinese medicine - Infection control for acupuncture treatment | 正常
ISO 11139-2018 | 卫生保健产品的消毒. 消毒和相关设备和工艺标准中使用的术语词汇 | Sterilization of health care products - Vocabulary of terms used in sterilization and related equipment and process standards | 正常
ISO 18472-2018 | 保健产品的消毒. 生物和化学指示剂. 试验器械 | Sterilization of health care products - Biological and chemical indicators - Test equipment | 正常
ISO 25424-2018 |  | Sterilization of health care products - Low temperature steam and formaldehyde - Requirements for development, validation and routine control of a sterilization process for medical devices | 正常
ISO 11737-1-2018 | 保健品灭菌.微生物学方法.第1部分:产品上微生物群落的测定 | Sterilization of health care products - Microbiological methods - Part 1: Determination of a population of microorganisms on products | 正常
ISO 11138-3-2017 | 医疗保健产品消毒. 生物指标. 第3部分: 湿热灭菌过程生物指标 | Sterilization of health care products - Biological indicators - Part 3: Biological indicators for moist heat sterilization processes | 正常
ISO 11138-1-2017 | 医疗保健产品消毒. 生物指标. 第1部分: 通用要求 | Sterilization of health care products - Biological indicators - Part 1: General requirements | 正常
ISO 11138-2-2017 | 医疗保健产品消毒. 生物指标. 第2部分: 环氧乙烷灭菌过程生物指标 | Sterilization of health care products - Biological indicators - Part 2: Biological indicators for ethylene oxide sterilization processes | 正常
ISO 11138-5-2017 | 医疗保健产品消毒. 生物指标. 第5部分: 低温蒸汽和甲醛灭菌过程生物指标 | Sterilization of health care products - Biological indicators - Part 5: Biological indicators for low-temperature steam and formaldehyde sterilization processes | 正常
ISO 11138-4-2017 | 医疗保健产品消毒. 生物指标. 第4部分: 干热灭菌过程生物指标 | Sterilization of health care products - Biological indicators - Part 4: Biological indicators for dry heat sterilization processes | 正常
ISO/TS 19930-2017 | 关于确保最终灭菌的一次性保健产品无菌性的基于风险的方法的各方面的指南，该产品不能耐受加工以最大限度地实现10 - 6的无菌性保证水平 | Guidance on aspects of a risk-based approach to assuring sterility of terminally sterilized, single-use health care product that is unable to withstand processing to achieve maximally a sterility assurance level of 10-6 | 正常
ISO 18362-2016 | 基于细胞的健康护理产品的制造. 加工过程中的微生物风险控制 | Manufacture of cell-based health care products - Control of microbial risks during processing | 正常
ISO 13408-2-2018 | 医疗保健产品的无菌加工.第2部分:除菌过滤 | Aseptic processing of health care products - Part 2: Sterilizing filtration | 正常
ISO 11135-2014 | 医疗保健产品的消毒. 环氧乙烷. 医疗器械消毒方法的制定, 确认和常规控制要求 | Sterilization of health-care products - Ethylene oxide - Requirements for the development, validation and routine control of a sterilization process for medical devices | 正常
ISO 17664-2017 | 保健产品的处理.医疗器械制造商为医疗器械提供的信息 | Processing of health care products - Information to be provided by the medical device manufacturer for the processing of medical devices | 正常
ISO 11140-1-2014 | 保健产品的灭菌.化学指示剂.第1部分:一般要求 | Sterilization of health care products - Chemical indicators - Part 1: General requirements | 正常
ISO 11137-1 AMD 1-2013 | 保健产品的灭菌.辐射.第1部分:医疗器械灭菌过程的制定、确认、和常规控制的要求.修改件1 | Sterilization of health care products - Radiation - Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices; Amendment 1 | 正常
ISO/TS 13004-2013 | 保健产品的灭菌.辐射.选定的灭菌剂量的证实:VD<(Index)max><(hoch)SD>方法 | Sterilization of health care products - Radiation - Substantiation of selected sterilization dose: Method VDmaxSD | 正常
ISO/TS 17665-3-2013 | 保健品灭菌.湿热.第3部分:蒸汽灭菌用医疗器械产品族和处理种类命名导则 | Sterilization of health care products - Moist heat - Part 3: Guidance on the designation of a medical device to a product family and processing category for steam sterilization | 正常
ISO 11137-2-2013 | 保健产品的灭菌.辐射.第2部分:杀菌剂量的确定 | Sterilization of health care products - Radiation - Part 2: Establishing the sterilization dose | 正常
ISO 13408-6 AMD 1-2013 | 保健产品的无菌加工.第6部分:无菌隔离系统.修改件1 | Aseptic processing of health care products - Part 6: Isolator systems; Amendment 1 | 正常
BS EN ISO 18472-2018 | 保健产品的消毒. 生物和化学指示剂. 试验设备 | Sterilization of health care products. Biological and chemical indicators. Test equipment | 正常
BS EN ISO 11139-2018 |  | Sterilization of health care products. Vocabulary. Terms used in sterilization and related equipment and process standards | 正常
NF S98-131-2018 |  | Sterilization of health care products - Vocabulary of terms used in sterilization and related equipment and process standards | 正常
NF S98-117-2-2018 | 保健品无菌处理.第2部分:无菌过滤 | Aseptic processing of health care products - Part 2 : sterilizing filtration | 正常
NF S98-005-2018 | 保健产品的消毒. 生物和化学指示剂. 试验器械 | Sterilization of health care products - Biological and chemical indicators - Test equipment | 正常
EN ISO 11737-1-2018 | 保健品灭菌.微生物学方法.第1部分:产品上微生物群落的测定(ISO 11737-1-2018); 德文版本EN ISO 11737-1-2018 | Sterilization of health care products - Microbiological methods - Part 1: Determination of a population of microorganisms on products (ISO 11737-1:2018); German version EN ISO 11737-1:2018 | 正常
EN ISO 11138-7-2017 | 保健品灭菌. 生物指标. 结果的选择使用和解释指南. 第7部分：湿热灭菌用自给式生物指示剂(ISO / DIS 11138 - 7:2017)；德文和英文版本prEN ISO 11138-7:2017 | Sterilization of health care products - Biological indicators - Guidance for the selection, use and interpretation of results - Part 7: Self-contained biological indicators for moist heat sterilization (ISO/DIS 11138-7:2017); German and English version prEN ISO 11138-7:2017 | 正常
BS PD ISO/TR 20520-2018 | 中医药. 针灸治疗的感染控制 | Traditional Chinese medicine. Infection control for acupuncture treatment | 正常
BS EN ISO 13408-2-2018 | 医疗保健产品的无菌加工.除菌过滤 | Aseptic processing of health care products. Sterilizing filtration | 正常
DIN EN ISO 11737-1-2018 | 保健品灭菌.微生物学方法.第1部分:产品上微生物群落的测定(ISO 11737-1-2018); 德文版本EN ISO 11737-1-2018 | Sterilization of health care products - Microbiological methods - Part 1: Determination of a population of microorganisms on products (ISO 11737-1:2018); German version EN ISO 11737-1:2018 | 正常
YY/T 1623-2018 | 可重复使用医疗器械灭菌过程有效性的试验方法 |  | 正常
YY/T 1613-2018 | 医疗器械辐照灭菌过程特征及控制要求 |  | 正常
BS EN ISO 17664-2017 | 保健品加工. 医疗器械制造商为医疗器械加工提供的信息. 1部分:需要清洁然后消毒和/或灭菌的装置 | Processing of health care products. Information to be provided by the medical device manufacturer for the processing of medical devices. Part 1: Devices that require cleaning followed by disinfection and/or sterilization | 正常
BS EN ISO 11737-1-2018 | 保健品灭菌.微生物学方法.产品上微生物群落的测定 | Sterilization of health care products. Microbiological methods. Determination of a population of microorganisms on products | 正常
DIN EN ISO 17664-2018 | 保健产品的处理.医疗器械制造商为医疗器械提供的信息(ISO 17664-2017);德文版本EN ISO 17664-2017 | Processing of health care products - Information to be provided by the medical device manufacturer for the processing of medical devices (ISO 17664:2017); German version EN ISO 17664:2017 | 正常
DIN EN ISO 13408-2-2018 | 医疗保健产品的无菌加工.第2部分:消毒过滤(ISO 13408-2-2018); 德文版本EN ISO 13408-2-2018 | Aseptic processing of health care products - Part 2: Sterilizing filtration (ISO 13408-2:2018); German version EN ISO 13408-2:2018 | 正常
EN ISO 17664-2017 | 保健产品的处理.医疗器械制造商为医疗器械提供的信息(ISO 17664-2017);德文版本EN ISO 17664-2017 | Processing of health care products - Information to be provided by the medical device manufacturer for the processing of medical devices (ISO 17664:2017); German version EN ISO 17664:2017 | 正常
EN ISO 13408-2-2018 | 医疗保健产品的无菌加工.第2部分:消毒过滤(ISO 13408-2-2018); 德文版本EN ISO 13408-2-2018 | Aseptic processing of health care products - Part 2: Sterilizing filtration (ISO 13408-2:2018); German version EN ISO 13408-2:2018 | 正常
NF S98-116-2017 | 保健产品的处理.医疗器械制造商为医疗器械提供的信息 | Processing of health care products - Information to be provided by the medical device manufacturer for the processing of medical devices | 正常
NF S98-118-1-2018 | 保健品灭菌.微生物学方法.第1部分:产品上微生物群落的测定 | Sterilization of health care products - Microbiological methods - Part 1 : determination of a population of microorganisms on products | 正常
BS EN ISO 11137-1-2015 | 医疗保健产品的消毒. 辐射. 医疗器械消毒方法的制定, 确认和常规控制要求 | Sterilization of health care products. Radiation. Requirements for development, validation and routine control of a sterilization process for medical devices | 正常
BS EN ISO 11140-1-2014 | 保健产品的灭菌.化学指示剂.一般要求 | Sterilization of health care products. Chemical indicators. General requirements | 正常
BS EN ISO 11135-2014 | 医疗保健产品的消毒. 环氧乙烷. 医疗器械消毒方法的制定, 确认和常规控制要求 | Sterilization of health-care products. Ethylene oxide. Requirements for the development, validation and routine control of a sterilization process for medical devices | 正常
BS PD CEN ISO/TS 13004-2014 | 医疗保健产品的消毒. 辐射. 选定灭菌计量的证实: VDmaxSD法 | Sterilization of health care products. Radiation. Substantiation of selected sterilization dose: Method VDmaxSD | 正常
BS PD ISO/TS 13004-2013 | 医疗保健产品的消毒. 辐射. 选定灭菌计量的证实: VDmaxSD法 | Sterilization of health care products. Radiation. Substantiation of selected sterilization dose: Method VDmaxSD | 正常
BS EN ISO 13408-6-2011+A1-2013 | 保健品的无菌加工.隔音系统 | Aseptic processing of health care products. Isolator systems | 正常
BS EN ISO 20857-2013 | 保健品灭菌.干热法.医疗器械灭菌过程的开发,验证和常规控制要求 | Sterilization of health care products. Dry heat. Requirements for the development, validation and routine control of a sterilization process for medical devices | 正常
BS EN ISO 25424-2011 | 医疗设备消毒.低温蒸汽和甲醛.医疗设备消毒流程的开发,确认和常规控制要求 | Sterilization of medical devices. Low temperature steam and formaldehyde. Requirements for development, validation and routine control of a sterilization process for medical devices | 正常
BS ISO 13408-7-2012 | 保健产品的无菌加工.医疗器械和组合产品的替换加工 | Aseptic processing of health care products. Alternative processes for medical devices and combination products | 正常
BS EN ISO 13408-5-2011 | 保健品的无菌加工.适当消毒 | Aseptic processing of health care products. Sterilization in place | 正常
BS EN ISO 13408-4-2011 | 保健品的无菌加工.现场清洁技术 | Aseptic processing of health care products. Clean-in-place technologies | 正常
BS EN ISO 13408-3-2011 | 保健品的无菌加工.冷冻干燥 | Aseptic processing of health care products. Lyophilization | 正常
BS EN ISO 13408-2-2011 | 保健品的无菌加工.过滤 | Aseptic processing of health care products. Filtration | 正常
BS EN ISO 14160-2011 | 医疗保健产品的无菌加工.动物组织及其衍生产品制单次使用医疗器械用液体化学消毒剂.医疗器械灭菌工艺的特性描述,开发,确认和常规控制要求 | Sterilization of health care products. Liquid chemical sterilizing agents for single-use medical devices utilizing animal tissues and their derivatives. Requirements for characterization, development, validation and routine control of a sterilization process for medical devices | 正常
BS PD ISO/TS 19930-2017 | 关于确保最终灭菌的一次性保健产品无菌性的基于风险的方法的各方面的指南,该产品不能耐受加工以最大限度地实现10 - 6的无菌性保证水平 | Guidance on aspects of a risk-based approach to assuring sterility of terminally sterilized, single-use health care product that is unable to withstand processing to achieve maximally a sterility assurance level of 10-6 | 正常
BS EN ISO 14161-2009 | 医疗保健产品的灭菌.生物指示器.选择、使用和检验结果解释用指南 | Sterilization of health care products - Biological indicators - Guidance for the selection, use and interpretation of results | 正常
BS EN ISO 11737-2-2009 | 医疗器械的消毒.微生物学法.灭菌过程的定义、有效性和维护中进行的无菌试验 | Sterilization of medical devices - Microbiological methods - Tests of sterility performed in the definition, validation and maintenance of a sterilization process | 正常
BS EN ISO 14937-2009 | 保健产品灭菌.医疗器械用消毒剂的特性和消毒方法的研发、验证及常规控制的一般要求 | Sterilization of health care products - General requirements for characterization of a sterilizing agent and the development, validation and routine control of a sterilization process for medical devices | 正常
BS DD CEN ISO/TS 17665-2-2009 | 保健产品的消毒.潮热.ISO 17665-1应用指南 | Sterilization of health care products - Moist heat - Guidance on the application of ISO 17665-1 | 正常
BS EN ISO 11138-5-2017 | 医疗保健产品灭菌.生物指示物.低温蒸汽和甲醛灭菌用生物指示剂 | Sterilization of health care products. Biological indicators. Biological indicators for low-temperature steam and formaldehyde sterilization processes | 正常
BS EN ISO 11138-4-2017 | 医疗保健产品灭菌.生物指示物.干热灭菌用生物指示剂 | Sterilization of health care products. Biological indicators. Biological indicators for dry heat sterilization processes | 正常
BS EN ISO 11138-3-2017 | 医疗保健产品灭菌.生物指示物.湿热灭菌处理用生物指示剂 | Sterilization of health care products. Biological indicators. Biological indicators for moist heat sterilization processes | 正常
BS EN ISO 11138-2-2017 | 医疗保健产品灭菌.生物指示剂.环氧乙烷灭菌用生物指示剂 | Sterilization of health care products. Biological indicators. Biological indicators for ethylene oxide sterilization processes | 正常
BS EN ISO 11138-1-2017 | 医疗保健产品灭菌.生物指示物.一般要求 | Sterilization of health care products. Biological indicators. General requirements | 正常
BS EN ISO 11137-2-2015 | 保健产品的灭菌.辐射.杀菌剂量的确定 | Sterilization of health care products. Radiation. Establishing the sterilization dose | 正常
BS EN ISO 13408-1-2015 | 保健品的无菌加工.通用要求 | Aseptic processing of health care products. General requirements | 正常
BS EN 556-2-2015 | 弹性地板覆盖物.带花纹和不带花纹油毡的规范 | Sterilization of medical devices. Requirements for medical devices to be designated "STERILE". Requirements for aseptically processed medical devices | 正常
BS EN ISO 15882-2008 | 保健产品的消毒.化学指示剂.选择、使用和结果说明用指南 | Sterilization of health care products - Chemical indicators - Guidance for selection, use and interpretation of results | 正常
BS ISO 18362-2016 | 基于细胞的健康护理产品的制造. 加工过程中的微生物风险控制 | Manufacture of cell-based health care products. Control of microbial risks during processing | 正常
BS EN 556-1-2001 | 医疗设备的杀菌.拟定为无菌的医疗设备的要求.对最终杀菌设备的要求 | Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Requirements for terminally sterilized medical devices | 正常
BS EN ISO 11137-3-2007 | 卫生保健产品的灭菌.辐射.剂量测定方面的指南 | Sterilization of health care products - Radiation - Guidance on dosimetric aspects | 正常
BS EN ISO 17665-1-2006 | 医疗保健产品灭菌.湿热.医疗器械灭菌过程技术革新、检验、日程控制的要求 | Sterilization of health care products - Moist heat - Requirements for the development, validation and routine control of a sterilization process for medical devices | 正常
BS EN ISO 11737-1-2006 | 医学器材的消毒.微生物学方法.产品上微生物种群的测定 | Sterilization of medical devices - Microbiological methods - Determination of a population of microorganisms on products | 正常
BS EN 556-2-2004 | 医疗器械灭菌.特指"无菌"的医疗设备的要求.无菌处理的医疗设备的要求 | Sterilization of medical devices. Requirements for medical devices to be designated "STERILE". Requirements for aseptically processed medical devices | 正常
BS EN ISO 17664-2004 | 医疗器械的消毒.生产商提供的可再消毒医疗器械的处理信息 | Sterilization of medical devices - Information to be provided by the manufacturer for the processing of resterilizable medical devices | 正常
FD S91-162-1999 | 牙医手术室空间、表面和地板的清洁和消毒指南 | Guide for the cleaning and disinfection of dentist's surgery volumes, surfaces and floors. | 正常
BS EN 550-1994 | 医疗装置的杀菌.用环氧乙烷杀菌的验证和常规控制 | Sterilization of medical devices - Validation and routine control of ethylene oxide sterilization | 正常
EN ISO 11137-3-2017 | 保健产品的灭菌.辐射.第3部分:发展、验证和常规控制剂量方面的指导(ISO 11137-3-2017);德文版本EN ISO 11137-3-2017 | Sterilization of health care products - Radiation - Part 3: Guidance on dosimetric aspects of development, validation and routine control (ISO 11137-3:2017); German version EN ISO 11137-3:2017 | 正常
EN ISO 13408-7-2015 | 保健产品的无菌加工.第7部分:医疗器械和组合产品用可替代工艺(ISO 13408-7-2012);德文版本EN ISO 13408-7-2015 | Aseptic processing of health care products - Part 7: Alternative processes for medical devices and combination products (ISO 13408-7:2012); German version EN ISO 13408-7:2015 | 正常
EN 556-2-2015 | 医疗器械的消毒.标有"消毒"字样的医疗器械的要求.第2部分:经无菌处理的医疗器械的要求;德文版本EN 556-2-2015 | Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Part 2: Requirements for aseptically processed medical devices; German version EN 556-2:2015 | 正常
EN ISO 13408-1-2015 | 保健品无菌加工.第1部分:通用要求(ISO 13408-1-2008,包含Amd 1-2013).德文版本EN ISO 13408-1-2015 | Aseptic processing of health care products - Part 1: General requirements (ISO 13408-1:2008, including Amd 1:2013); German version EN ISO 13408-1:2015 | 正常
EN ISO 20857-2013 | 保健品消毒.干热.医疗器材消毒步骤的制定,确认和常规控制要求(ISO 20857-2010).德文版本EN ISO 20857-2013 | Sterilization of health care products - Dry heat - Requirements for the development, validation and routine control of a sterilization process for medical devices (ISO 20857:2010); German version EN ISO 20857:2013 | 正常
EN 556-1-2001 | 医疗设备消毒.标有"消毒"字样医疗设备要求.第1部分:定期消毒医疗设备要求 | Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Part 1: Requirements for terminally sterilized medical devices; German version EN 556-1:2001 | 正常
EN ISO 13408-6-2013 | 医疗保健产品的无菌加工.第6部分:隔离器系统(ISO 13408-6-2005+Amd 1-2013).德文版本EN ISO 13408-6-2011+A1-2013 | Aseptic processing of health care products - Part 6: Isolator systems (ISO 13408-6:2005 + Amd 1:2013); German version EN ISO 13408-6:2011 + A1:2013 | 正常
EN ISO 13408-3-2011 | 医疗保健产品的无菌加工.第3部分:冻干法(ISO 13408-3-2006);德文版本EN ISO 13408-3-2011 | Aseptic processing of health care products - Part 3: Lyophilization (ISO 13408-3:2006); German version EN ISO 13408-3:2011 | 正常
EN ISO 13408-2-2011 | 医疗保健产品的无菌加工.第2部分:过滤(ISO 13408-2-2003);德文版本EN ISO 13408-2-2011 | Aseptic processing of health care products - Part 2: Filtration (ISO 13408-2:2003); German version EN ISO 13408-2:2011 | 正常
EN ISO 25424-2011 | 医疗器械的灭菌.低温蒸汽和甲醛.医疗器械灭菌过程的开发,确认和常规控制要求(ISO 25424-2009);德文版本EN ISO 25424-2011 | Sterilization of medical devices - Low temperature steam and formaldehyde - Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 25424:2009); German version EN ISO 25424:2011 | 正常
EN ISO 13408-5-2011 | 医疗保健产品的无菌加工.第5部分:在位消毒(ISO 13408-5-2006);德文版本EN ISO 13408-5-2011 | Aseptic processing of health care products - Part 5: Sterilization in place (ISO 13408-5:2006); German version EN ISO 13408-5:2011 | 正常
EN ISO 13408-4-2011 | 医疗保健产品的无菌加工.第4部分:在位清洗工艺(ISO 13408-4-2005);德文版本EN ISO 13408-4-2011 | Aseptic processing of health care products - Part 4: Clean-in-place technologies (ISO 13408-4:2005); German version EN ISO 13408-4:2011 | 正常
EN ISO 11737-1-2009 | 医疗设备的消毒.微生物法.第1部分:产品上微生物群落的测定(ISO 11737-1-2006)(包括勘误表AC-2009).英文版本DIN EN ISO 11737-1-2009-09 | Sterilization of medical devices - Microbiological methods - Part 1: Determination of a population of microorganisms on products (ISO 11737-1:2006) (includes Corrigendum AC:2009); English version of DIN EN ISO 11737-1:2009-09 | 正常
EN ISO 14937-2009 | 保健产品灭菌.医疗器械用消毒剂的特性和消毒方法的研发,验证及常规控制的一般要求 (ISO 14937-2009); 德文版本 EN ISO 14937-2009 | Sterilization of health care products - General requirements for characterization of a sterilizing agent and the development, validation and routine control of a sterilization process for medical devices (ISO 14937:2009); German version EN ISO 14937:2009 | 正常
EN ISO 11737-2-2009 | 医疗器械灭菌.微生物学方法.第2部分:灭菌过程的定义、有效性和维护中进行的无菌试验(ISO 11737-2-2009); 德文版本 EN ISO 11737-2-2009 | Sterilization of medical devices - Microbiological methods - Part 2: Tests of sterility performed in the definition, validation and maintenance of a sterilization process (ISO 11737-2:2009); German version EN ISO 11737-2:2009 | 正常
EN ISO 15882-2008 | 卫生保健产品的灭菌.化学指示剂.选择、使用指南和要求的试验结果(ISO 15882-2008).英文版本DIN EN ISO 15882-2008 | Sterilization of health care products - Chemical indicators - Guidance for selection, use and interpretation of results (ISO 15882:2008); English version of DIN EN ISO 15882:2008-12 | 正常
EN ISO 18472-2006 | 保健产品的消毒.生物和化学指示剂.试验器械(ISO 18472:2006) | Sterilization of health care products - Biological and chemical indicators - Test equipment (ISO 18472:2006); English version of DIN EN ISO 18472:2006-10 | 正常
EN ISO 17665-1-2006 | 保健产品的灭菌.辐射.第1部分:医疗器件消毒过程的制定、确认和常规控制的要求(ISO 17665-1:2006) | Sterilization of health care products - Moist heat - Part 1: Requirements for the development, validation and routine control of a sterilization process for medical devices (ISO 17665-1:2006); English version of DIN EN ISO 17665-1:2006-11 | 正常
EN ISO 17664-2004 | 医疗设备的消毒.由生产商提供的可再消毒医疗设备的处理过程的信息 | Sterilization of medical devices - Information to be provided by the manufacturer for the processing of resterilizable medical devices (ISO 17664:2004); German version EN ISO 17664:2004 | 正常
ANSI/AAMI ST79/A 4.2-2013 | 卫生保健设施中蒸汽灭菌和无菌保证的综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI ST79/A 4.1-2013 | 卫生保健设施中蒸汽灭菌和无菌保证的综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI/ISO 13408-1/A1-2013 | 保健产品的无菌加工.第1部分:通用要求.修改件1 | Aseptic processing of health care products - Part 1: General requirements - Amendment 1 | 正常
ANSI/AAMI/ISO 13408-6/A1-2013 | 保健产品的防腐处理.第6部分:隔离器.修改件1 | Aseptic processing of health care products - Part 6: Isolator systems - Amendment 1 | 正常
ANSI/AAMI ST79/A 3.2-2012 | 卫生医疗设施蒸汽灭菌法和无菌保证综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI ST79/A 3.3-2012 | 卫生医疗设施蒸汽灭菌法和无菌保证综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI ST79/A 3.7-2012 | 卫生医疗设施蒸汽灭菌法和无菌保证综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI ST79/A 3.6-2012 | 卫生医疗设施蒸汽灭菌法和无菌保证综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI ST79/A 3.1-2012 | 卫生医疗设施蒸汽灭菌法和无菌保证综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI ST79/A 3.5-2012 | 卫生医疗设施蒸汽灭菌法和无菌保证综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI ST79/A 3.4-2012 | 卫生医疗设施蒸汽灭菌法和无菌保证综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AIHA Z9.5-2010 | 实验室通风标准 | Laboratory Ventilation Standard | 正常
ANSI/AAMI ST79/A 2.1-2011 | 卫生保健设施中蒸汽灭菌和无菌保证综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI ST79/A 2.5-2011 | 卫生保健设施中蒸汽灭菌和无菌保证综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI ST79/A 2.3-2011 | 卫生保健设施中蒸汽灭菌和无菌保证综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI ST79/A 2.2-2011 | 卫生保健设施中蒸汽灭菌和无菌保证综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI/ISO 20857-2010 | 保健用品的消毒.干热法:医疗器械工业灭菌过程的制定,生效和程序控制的要求 | Sterilization of health care products - Dry heat: Requirements for the development, validation and routine control of an industrial sterilization process for medical devices | 正常
ANSI/AAMI ST79-2010 | 卫生保健设施中蒸汽灭菌和无菌保证综合指南 | Comprehensive guide to steam sterilization and sterility assurance in health care facilities | 正常
ANSI/AAMI/ISO 11737-2-2009 | 医疗器械灭菌.微生物学方法.第2部分:定义、确认及维持灭菌过程中进行的无菌试验 | Sterilization of medical devices - Microbiological methods - Part 2: Tests of sterility performed in the definition, validation and maintenance of a sterilization process | 正常
ANSI/AAMI/ISO 13408-6-2005 | 保健产品的无菌加工.第6部分:隔离器系统 | Aseptic Processing of health care products - Part 6: Isolator systems | 正常
ANSI/AAMI/ISO 13408-2-2003 | 医疗保健产品的无菌加工.第2部分:过滤 | Aseptic Processing of health care products - Part 2: Filtration | 正常
ANSI/AAMI/ISO 13408-4-2005 | 保健产品的无菌加工.第4部分:就地清洗技术 | Aseptic Processing of health care products - Part 4: Clean-in-place technologies | 正常
ANSI/AAMI/ISO 11135-1-2007 | 卫生保健品灭菌.环氧乙烷.第1部分:医疗设备灭菌过程开发,确认和常规控制的要求 | Sterilization of health care products - Ethylene oxide - Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices | 正常
ANSI/AAMI ST41-2008 | 卫生保健设施中的环氧乙烷灭菌:安全和效能 | Ethylene oxide sterilization in health care facilities: Safety and effectiveness | 正常
ANSI/AAMI/ISO 11140-4-2007 | 卫生保健品灭菌.化学指示剂.第4部分:蒸汽渗透检测布维-狄(Bowie和Dick)型试验可选2级指示剂 | Sterilization of health care products - Chemical indicators - Part 4: Class 2 indicators as an alternative to Bowie and Dick test for detection of steam penetration | 正常
ANSI/AAMI/ISO 11140-5-2007 | 卫生保健品灭菌.化学指示剂.第5部分:布维-狄(Bowie和Dick)型排气试验纸和试验包用2级指示剂 | Sterilization of health care products - Chemical indicators - Part 5: Class 2 indicators for Bowie and Dick air removal test sheets and packs | 正常
ANSI/AAMI/ISO 13408-5-2006 | 保健产品的无菌加工.第5部分:现场消毒 | Aseptic Processing of health care products - Part 5: Sterilization in place | 正常
ANSI/AAMI/ISO 13408-3-2006 | 卫生保健产品的无菌工艺.第3部分:冻干法 | Aseptic Processing of health care products - Part 3: Lyophilization | 正常
ANSI/AAMI/ISO 11138-5-2006 | 医疗保健产品灭菌.生物指示器.第5部分:甲醛溶液灭菌处理用生物指示器 | Sterilization of health care products - Biological indicators - Part 5: Biological indicators for low-temperature steam and formaldehyde sterilization processes | 正常
ANSI/AAMI/ISO 11138-4-2006 | 医疗保健产品灭菌.生物指示器.第4部分:干热灭菌处理用生物指示器 | Sterilization of health care products - Biological indicators - Part 4: Biological indicators for dry heat sterilization processes | 正常
ANSI/AAMI/ISO 11737-1-2006 | 医疗器械消毒.微生物法.第1部分:产品微生物群落数测定 | Sterilization of medical devices - Microbiological methods - Part 1: Determination of a population of microorganisms on products | 正常
ANSI/AAMI/ISO 18472-2006 | 保健产品的消毒.生物和化学指示剂.试验器械 | Sterilization of health care products - Biological and chemical indicators - Test equipment | 正常
ANSI/AAMI/ISO 11137-3-2006 | 保健产品的灭菌.辐射.第3部分:剂量测定方面指南 | Sterilization of health care products - Radiation - Part 3: Guidance on dosimetric aspects | 正常
ANSI/AAMI/ISO 11137-1-2006 | 保健产品的灭菌.辐射.第1部分:医疗装置消毒的开发、确认和程序控制的要求 | Sterilization of health care products - Radiation - Part 1: Requirements for the development, validation and routine control of a sterilization process for medical devices | 正常
ANSI/AAMI/ISO 11140-1-2005 | 保健产品的消毒.化学指示剂.第1部分:一般要求 | Sterilization of health care products - Chemical indicators - Part 1: General requirements | 正常
ANSI/AAMI/ISO 17665-1-2005 | 医疗保健产品.湿热.医疗装置消毒的开发、确认和程序控制的要求 | Sterilization of health care products - Moist heat - Requirements for development, validation and routine control of a sterilization process for medical devices | 正常
ANSI/AAMI/ISO 14937-2000 | 医疗保健产品灭菌.医用设备用消毒剂的特性及消毒方法的开发、确认和常规控制的一般要求 | Sterilization of Health Care Products - General Requirements for Characteristics of a Sterilizing Agent and the Development, Validation and Routine Control of a Sterilization Process | 正常
DIN EN ISO 11137-3-2017 | 保健产品的灭菌.辐射.第3部分:发展、验证和常规控制剂量方面的指导(ISO 11137-3-2017);德文版本EN ISO 11137-3-2017 | Sterilization of health care products - Radiation - Part 3: Guidance on dosimetric aspects of development, validation and routine control (ISO 11137-3:2017); German version EN ISO 11137-3:2017 | 正常
DIN EN ISO 13408-7-2015 | 保健产品的无菌加工.第7部分:医疗器械和组合产品用可替代工艺(ISO 13408-7-2012);德文版本EN ISO 13408-7-2015 | Aseptic processing of health care products - Part 7: Alternative processes for medical devices and combination products (ISO 13408-7:2012); German version EN ISO 13408-7:2015 | 正常
DIN EN 556-2-2015 | 医疗器械的消毒.标有"消毒"字样的医疗器械的要求.第2部分:经无菌处理的医疗器械的要求;德文版本EN 556-2-2015 | Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Part 2: Requirements for aseptically processed medical devices; German version EN 556-2:2015 | 正常
DIN EN ISO 13408-1-2015 | 保健品无菌加工.第1部分:通用要求(ISO 13408-1-2008,包含Amd 1-2013).德文版本EN ISO 13408-1-2015 | Aseptic processing of health care products - Part 1: General requirements (ISO 13408-1:2008, including Amd 1:2013); German version EN ISO 13408-1:2015 | 正常
DIN EN ISO 20857-2013 | 保健品消毒.干热.医疗器材消毒步骤的制定,确认和常规控制要求(ISO 20857-2010).德文版本EN ISO 20857-2013 | Sterilization of health care products - Dry heat - Requirements for the development, validation and routine control of a sterilization process for medical devices (ISO 20857:2010); German version EN ISO 20857:2013 | 正常
DIN EN 556-1-2002 | 医疗设备消毒.标有"消毒"字样医疗设备要求.第1部分:定期消毒医疗设备要求 | Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Part 1: Requirements for terminally sterilized medical devices; German version EN 556-1:2001 | 正常
DIN EN ISO 13408-6-2013 | 医疗保健产品的无菌加工.第6部分:隔离器系统(ISO 13408-6-2005+Amd 1-2013).德文版本EN ISO 13408-6-2011+A1-2013 | Aseptic processing of health care products - Part 6: Isolator systems (ISO 13408-6:2005 + Amd 1:2013); German version EN ISO 13408-6:2011 + A1:2013 | 正常
DIN EN ISO 13408-3-2011 | 医疗保健产品的无菌加工.第3部分:冻干法(ISO 13408-3-2006);德文版本EN ISO 13408-3-2011 | Aseptic processing of health care products - Part 3: Lyophilization (ISO 13408-3:2006); German version EN ISO 13408-3:2011 | 正常
DIN EN ISO 13408-2-2011 | 医疗保健产品的无菌加工.第2部分:过滤(ISO 13408-2-2003);德文版本EN ISO 13408-2-2011 | Aseptic processing of health care products - Part 2: Filtration (ISO 13408-2:2003); German version EN ISO 13408-2:2011 | 正常
DIN EN ISO 25424-2011 | 医疗器械的灭菌.低温蒸汽和甲醛.医疗器械灭菌过程的开发,确认和常规控制要求(ISO 25424-2009);德文版本EN ISO 25424-2011 | Sterilization of medical devices - Low temperature steam and formaldehyde - Requirements for development, validation and routine control of a sterilization process for medical devices (ISO 25424:2009); German version EN ISO 25424:2011 | 正常
DIN EN ISO 13408-5-2011 | 医疗保健产品的无菌加工.第5部分:在位消毒(ISO 13408-5-2006);德文版本EN ISO 13408-5-2011 | Aseptic processing of health care products - Part 5: Sterilization in place (ISO 13408-5:2006); German version EN ISO 13408-5:2011 | 正常
DIN EN ISO 13408-4-2011 | 医疗保健产品的无菌加工.第4部分:在位清洗工艺(ISO 13408-4-2005);德文版本EN ISO 13408-4-2011 | Aseptic processing of health care products - Part 4: Clean-in-place technologies (ISO 13408-4:2005); German version EN ISO 13408-4:2011 | 正常
DIN EN ISO 11139-2017 | 保健品灭菌. 词汇. 灭菌及相关设备和工艺标准中使用的术语(ISO / DIS 11139:2017)；德文和英文版本prEN ISO 11139:2017 | Sterilization of health care products - Vocabulary - Terms used in sterilization and related equipment and process standards (ISO/DIS 11139:2017); German and English version prEN ISO 11139:2017 | 正常
DIN EN ISO 11138-7-2017 | 保健品灭菌. 生物指标. 结果的选择使用和解释指南. 第7部分：湿热灭菌用自给式生物指示剂(ISO / DIS 11138 - 7:2017)；德文和英文版本prEN ISO 11138-7:2017 | Sterilization of health care products - Biological indicators - Guidance for the selection, use and interpretation of results - Part 7: Self-contained biological indicators for moist heat sterilization (ISO/DIS 11138-7:2017); German and English version prEN ISO 11138-7:2017 | 正常
DIN EN ISO 11737-1-2009 | 医疗设备的消毒.微生物法.第1部分:产品上微生物群落的测定(ISO 11737-1-2006)(包括勘误表AC-2009).英文版本DIN EN ISO 11737-1-2009-09 | Sterilization of medical devices - Microbiological methods - Part 1: Determination of a population of microorganisms on products (ISO 11737-1:2006) (includes Corrigendum AC:2009); English version of DIN EN ISO 11737-1:2009-09 | 正常
DIN ISO/TS 17665-2-2009 | 保健品的灭菌.湿热.第2部分:ISO 17665.1标准ISO/TS17665-2:2009)的应用指南,德文版本CEN ISO/TS17665-2:2009 | Sterilization of health care products - Moist heat - Part 2: Guidance on the application of ISO 17665-1 (ISO/TS 17665-2:2009); German version CEN ISO/TS 17665-2:2009 | 正常
DIN EN ISO 11737-2-2010 | 医疗器械灭菌.微生物学方法.第2部分:灭菌过程的定义、有效性和维护中进行的无菌试验(ISO 11737-2-2009); 德文版本 EN ISO 11737-2-2009 | Sterilization of medical devices - Microbiological methods - Part 2: Tests of sterility performed in the definition, validation and maintenance of a sterilization process (ISO 11737-2:2009); German version EN ISO 11737-2:2009 | 正常
DIN EN ISO 14937-2010 | 保健产品灭菌.医疗器械用消毒剂的特性和消毒方法的研发,验证及常规控制的一般要求 (ISO 14937-2009); 德文版本 EN ISO 14937-2009 | Sterilization of health care products - General requirements for characterization of a sterilizing agent and the development, validation and routine control of a sterilization process for medical devices (ISO 14937:2009); German version EN ISO 14937:2009 | 正常
DIN EN ISO 15882-2008 | 卫生保健产品的灭菌.化学指示剂.选择、使用指南和要求的试验结果(ISO 15882-2008).英文版本DIN EN ISO 15882-2008 | Sterilization of health care products - Chemical indicators - Guidance for selection, use and interpretation of results (ISO 15882:2008); English version of DIN EN ISO 15882:2008-12 | 正常
DIN EN 556-1 Berichtigung 1-2006 | 医疗设施的消毒.对标有"消毒"字样医疗设施要求.第1部分:最终消毒医用的要求 | Sterilization of medical devices - Requirements for medical devices to be designated "STERILE" - Part 1: Requirements for terminally sterilized medical devices; German version EN 556-1:2001, Corrigenda to DIN EN 556-1:2002-03; German version EN 556-1:2001/AC:2006 | 正常
DIN EN ISO 17665-1-2006 | 保健产品的灭菌.辐射.第1部分:医疗器件消毒过程的制定、确认和常规控制的要求(ISO 17665-1:2006) | Sterilization of health care products - Moist heat - Part 1: Requirements for the development, validation and routine control of a sterilization process for medical devices (ISO 17665-1:2006); English version of DIN EN ISO 17665-1:2006-11 | 正常
DIN EN ISO 18472-2006 | 保健产品的消毒.生物和化学指示剂.试验器械(ISO 18472:2006) | Sterilization of health care products - Biological and chemical indicators - Test equipment (ISO 18472:2006); English version of DIN EN ISO 18472:2006-10 | 正常
DIN EN ISO 17664-2004 | 医疗设备的消毒.由生产商提供的可再消毒医疗设备的处理过程的信息 | Sterilization of medical devices - Information to be provided by the manufacturer for the processing of resterilizable medical devices (ISO 17664:2004); German version EN ISO 17664:2004 | 正常
JIS T0801-2016 | 卫生保健品灭菌.环氧乙烷.医疗设备消毒过程的制定、确认和常规控制的要求 | Sterilization of health care products -- Ethylene oxide -- Requirements for the development, validation and routine control of a sterilization process for medical devices | 正常
JIS T0806-1-2015 | 保健产品的灭菌.辐射.第1部分:医疗器件消毒过程的制定、确认、和常规控制的要求 | Sterilization of health care products -- Radiation -- Part 1: Requirements for development, validation and routine control of a sterilization process for medical devices | 正常
JIS T0806-2-2014 | 保健产品的灭菌.辐射.第2部分:杀菌剂量的确定 | Sterilization of health care products -- Radiation -- Part 2: Establishing the sterilization dose | 正常
JIS T11737-2-2013 | 医疗保健产品灭菌.微生物学方法.第2部分:杀菌过程的定义,验证和维护中完成无菌步骤的试验 | Sterilization of medical devices -- Microbiological methods -- Part 2: Tests of sterility performed in the definition, validation and maintenance of a sterilization process | 正常
JIS T11737-1-2013 | 医疗保健产品灭菌.微生物学方法.第1部分:产品上微生物种群的测定 | Sterilization of medical devices -- Microbiological methods -- Part 1: Determination of a population of microorganisms on products | 正常
JIS T11140-1-2013 | 医疗保健产品灭菌.化学指示剂.第1部分:通用要求 | Sterilization of health care products -- Chemical indicators -- Part 1: General requirements | 正常
JIS T0816-1-2010 | 保健产品的灭菌.湿热.第1部分:医疗机械消毒过程的制定、确认和常规控制的要求 | Sterilization of health care products-moist heat -- Part 1: Requirements for the development, validation and routine control of a sterilization process for medical devices | 正常
JIS T0806-3-2010 | 保健产品的灭菌.辐射.第3部分:剂量测定方面指南 | Sterilization of health care products -- Radiation -- Part 3: Guidance on dosimetric aspects | 正常
JIS Z8811-1968 | 紫外线杀菌测量方法 | Measuring methods of ultra-violet rays for sterilization | 正常
NF S98-004-3-2017 | 卫生保健产品的消毒.生物指示剂.第3部分:湿热消毒工方法的生物指示剂 | Sterilization of health care products - Biological indicators - Part 3 : biological indicators for moist heat sterilization processes | 正常
NF S98-004-2-2017 | 卫生保健产品的消毒.生物指示剂.第2部分:环氧乙烷消毒方法的生物指示剂 | Sterilization of health care products - Biological indicators - Part 2 : biological indicators for ethylene oxide sterilization processes | 正常
NF S98-004-1-2017 | 医疗保健产品灭菌.生物指示器.第1部分:一般要求 | Sterilization of health care products - Biological indicators - Part 1 : general requirements | 正常
NF S98-004-5-2017 | 医疗保健产品灭菌.生物指示器.第5部分:低温蒸汽和甲醛溶液灭菌处理用生物指示器 | Sterilization of health care products - Biological indicators - Part 5 : biological indicators for low-temperature steam and formaldehyde sterilization processes | 正常
NF S98-004-4-2017 | 医疗保健产品灭菌.生物指示器.第4部分:干热灭菌处理用生物指示器 | Sterilization of health care products - Biological indicators - Part 4 : biological indicators for dry heat sterilization processes | 正常
NF S98-103-1-2016 | 保健产品的灭菌.辐射.第1部分:医疗装置消毒过程的形成、验证、和常规控制的要求 | Sterilization of health care products - Radiation - Part 1 : requirements for development, validation and routine control of a sterilization process for medical devices | 正常
NF S98-103-2-2015 | 保健产品的灭菌.辐射.第2部分:确定杀菌剂量 | Sterilization of health care products - Radiation - Part 2 : establishing the sterilization dose | 正常
NF S98-117-1-2016 | 保健品无菌处理.第1部分:一般要求 | Aseptic processing of health care products - Part 1 : general requirements | 正常
NF S98-117-7-2015 | 保健品无菌处理.第7部分:医疗设备和组合产品用替代过程 | Aseptic processing of health care products - Part 7 : alternative processes for medical devices and combination products | 正常
NF S98-107-2-2015 | 医疗器械的消毒.对标有"消毒"字样的医疗器械的要求.第2部分:经无菌处理的医疗器械的要求 | Sterilization of medical devices - Requirements for medical devices to be designated ''STERILE'' - Part 2 : requirements for aseptically processed medical devices | 正常
NF S98-103-3-2017 | 保健产品的灭菌.辐射.第3部分:发展、验证和常规控制剂量方面的指导 | Sterilization of health care products - Radiation - Part 3 : guidance on dosimetric aspects of development, validation and routine control | 正常
NF S98-118-2-2010 | 医疗器材的消毒.微生物法.第2部分:消毒过程的定义、有效性和维护进行的无菌试验 | Sterilization of medical devices - Microbiological methods - Part 2 : tests of sterility performed in the definition, validation and maintenance of a sterilization process. | 正常
NF S98-115-2009 | 保健产品的灭菌.消毒剂特性及医疗器件消毒方法的开发、确认和常规控制的一般要求 | Sterilization of health care products - General requirements for characterization of a sterilizing agent and the development, validation and routine control of a sterilization process for medical devices. | 正常
NF S98-103/A2-2001 | 医疗器材的消毒.通过辐射对消毒的确认和常规控制 | Sterilization of medical devices - Validation and routine control of sterilization by irradiation. | 正常
NF S98-105-2-2009 | 卫生护理用品的消毒.湿热法.第2部分:ISO 17665-1应用指南 | Sterilization of health care products - Moist heat - Part 2 : guidance on the application of ISO 17665-1. | 正常
NF S98-117-2-2011 | 保健品无菌处理.第2部分:过滤. | Aseptic processing of health care products - Part 2 : filtration. | 正常
NF S98-117-6-2011 | 保健品无菌处理.第6部分:隔离器系统. | Aseptic processing of health care products - Part 6 : isolator systems. | 正常
NF S98-008-2011 | 低温蒸汽和甲醛法对医疗器材的消毒中,对医疗器材消毒程序的开发,批准和常规控制的要求. | Sterilization of medical devices - Low temperature steam and formaldehyde - Requirements for development, validation and routine control of a sterilization process for medical devices. | 正常
NF S98-117-4-2011 | 保健品无菌处理.第4部分:现场清洁技术. | Aseptic processing of health care products - Part 4 : clean-in-place technologies. | 正常
NF S98-117-3-2011 | 保健品无菌处理.第3部分:冷冻干燥法. | Aseptic processing of health care products - Part 3 : lyophilization. | 正常
NF S98-101-1-2007 | 保健产品的灭菌.乙撑氧.第1部分:医疗设备灭菌过程开发、确认和常规控制的要求 | Sterilization of health care products - Ethylene oxide - Part 1 : requirements for development, validation and routine control of a sterilization process for medical devices. | 正常
NF S98-118-1-2006 | 医疗器械灭菌.微生物学方法.第1部分:产品上微生物群落的测定 | Sterilization of medical devices - Microbiological methods - Part 1 : determination of a population of microorganisms on products. | 正常
NF S98-005-2006 | 保健产品的消毒.生物和化学指示剂.试验器械 | Sterilization of health care products - Biological and chemical indicators - Test equipment. | 正常
NF S98-105-2006 | 保健产品的灭菌.湿热.第1部分:医疗机械消毒过程的制定、确认和常规控制的要求 | Sterilization of health care products - Moist heat - Part 1 : requirements for the development, validation and routine control of a sterilization process for medical devices. | 正常
NF S98-136-2009 | 医疗器械消毒.医疗机构消毒医疗器械预备工作的相关风险管理 | Sterilisation of medical devices - Risk management related to the preparation of sterile medical devices within health establishments. | 正常
NF S98-116-2004 | 医疗设备的灭菌.由制造商提供的可再灭菌医疗设备处理的信息 | Sterilization of medical devices - Information to be provided by the manufacturer for the processing of resterilizable medical devices. | 正常
NF S98-105-1994 | 医疗器械的灭菌.蒸汽灭菌的确认和常规控制方法 | Sterilization of medical devices. Validation and routine control of sterilization by moist heat. | 正常
NF S98-103/A1-1999 | NF S98-103-94的补充件1 | Sterilization of medical devices - Validation and routine control of sterilization by irradiation. | 正常
NF S98-001-1-2015 | 卫生保健产品的消毒.化学指示剂.第1部分:一般要求 | Sterilization of health care products - Chemical indicators - Part 1 : general requirements | 正常
NF S98-104-2013 | 医疗保健产品灭菌 - 干热 - 医疗器械灭菌过程的设计, 确认和常规控制要求 | Sterilization of health care products - Dry heat - Requirements for the development, validation and routine control of a sterilization process for medical devices | 正常
NF S90-351-2013 | 医疗保健机构 - 可控环境领域 - 空气污染控制要求 | Health care institutions - Controlled environment areas - Requirements for airborne contamination control | 正常
NF S98-100-2009 | 医疗保健产品灭菌.生物指示物.选择、使用和检验结果解释指南 | Sterilization of health care products - Biological indicators - Guidance for the selection, use and interpretation of results. | 正常
NF S98-107-1-2002 | 医疗器械的消毒.对要标明"已消毒"字样的医疗器械的要求.第1部分:定期消毒的医疗器械要求 | Sterilization of medical devices - Requirements for medical devices to be designated STERILE - Part 1 : requirements for terminally sterilized medical devices. | 正常
NF S98-117-6/A1-2013 | 保健产品的无菌加工 - 第6部分: 无菌隔离系统 - 修正本1 | Aseptic processing of health care products - Part 6: isolator systems - Amendment 1 | 正常
NF S98-117-5-2011 | 保健品无菌处理.第5部分:现场消毒. | Aseptic processing of health care products - Part 5 : sterilization in place. | 正常
GB/T 19973.2-2018 | 医疗器械的灭菌 微生物学方法 第2部分:用于灭菌过程的定义、确认和维护的无菌试验 | Sterilization of medical devices.Microbiological methods.Part 2:Tests of sterility performed in the definition,validation and maintenance of a sterilization process | 正常
GB/T 19972-2018 | 医疗保健产品灭菌 生物指示物 选择、使用和结果判断指南 | Sterilization of health care products.Biological indicators.Guidance for the selection, use and interpretation of results | 正常
GB/T 18280.3-2015 | 医疗保健产品灭菌 辐射 第3部分:剂量测量指南 | Sterilization of health care products.Radiation.Part 3:Guidance on dosimetric aspects | 正常
GB 18280.2-2015 | 医疗保健产品灭菌 辐射 第2部分:建立灭菌剂量 | Sterilization of health care products.Radiation.Part 2: Establishing the sterilization dose | 正常
GB 18280.1-2015 | 医疗保健产品灭菌 辐射 第1部分:医疗器械灭菌过程的开发、确认和常规控制要求 | Sterilization of health care products.Radiation.Part 1: Requirements for development,validation and routine control of a sterilization process for medical devices | 正常
GB/T 32091-2015 | 香料 l-香芹酮 | Ultraviolet equipment for water disinfection.Ultraviolet dose testing method | 正常
GB 18282.5-2015 | 医疗保健产品灭菌 化学指示物 第5部分:用于BD类空气排除测试的二类指示物 | Sterilization of health care products.Chemical indicators.Part 5:Class 2 indicators for Bowie and Dick-type air removal tests | 正常
GB 18282.1-2015 | 医疗保健产品灭菌 化学指示物 第1部分:通则 | Sterilization of health care products.Chemical indicator.Part 1:General requirements | 正常
GB 18281.5-2015 | 医疗保健产品灭菌 生物指示物 第5部分:低温蒸汽甲醛灭菌用生物指示物 | Sterilization of health care products.Biological indicator.Part 5:Biological indicators for low-temperature steam and formaldehyde sterilization processes | 正常
GB 18281.3-2015 | 医疗保健产品灭菌 生物指示物 第3部分:湿热灭菌用生物指示物 | Sterilization of health care products.Biological indicators.Part 3:Biological indicators for moist heat sterilization processes | 正常
GB 18281.2-2015 | 医疗保健产品灭菌 生物指示物 第2部分:环氧乙烷灭菌用生物指示物 | Sterilization of health care products.Biological indicators.Part 2:Biological indicators for ethylene oxide sterilization processes | 正常
GB 18281.1-2015 | 医疗保健产品灭菌 生物指示物 第1部分:通则 | Sterilization of health care products.Biological indicators.Part 1:General requirements | 正常
GB/T 19973.1-2015 | 医疗器械的灭菌 微生物学方法 第1部分:产品上微生物总数的测定 | Sterilization of medical devices.Microbiological methods.Part 1:Determination of a population of microorganisms on products | 正常
GB/T 18279.2-2015 | 医疗保健产品的灭菌 环氧乙烷 第2部分:GB 18279.1应用指南 | Sterilization of health care products.Part 2:Guidance on the application of GB 18279.1 | 正常
GB 18279.1-2015 | 医疗保健产品灭菌 环氧乙烷 第1部分:医疗器械灭菌过程的开发、确认和常规控制的要求 | Sterilization of health care products.Ethylene oxide.Part 1:Requirements for development,validation and routine control of a sterilization process for medical devices | 正常
GB/T 24628-2009 | 医疗保健产品灭菌.生物与化学指示物.测试设备 | Sterilization of health care products.Biological and chemical indicators.Test equipment | 正常
GB 18282.4-2009 | 医疗保健产品灭菌.化学指示物 第4部分:用于替代性BD类蒸汽渗透测试的二类指示物 | Sterilization of health care products-Chemical indicators-Part 4:Class 2 indicators as an alternative to the Bowie and Dick-type test for detection of steam penetration | 正常
GB 18282.3-2009 | 医疗保健产品灭菌 化学指示物 第3部分:用于BD类蒸汽渗透测试的二类指示物系统 | Sterilization of health care products-Chemical indicators-Part3：Class 2 indicator systems for use in the Bowie and Dick-type steam penetration test | 正常
GB 18282.1-2000 | 医疗保健产品灭菌 化学指示物 第1部分:通则 | Sterilization of health care products--Chemical indicators--Part 1: General requirements | (作废)
GB 18281.3-2000 | 医疗保健产品灭菌 生物指示物 第3部分:湿热灭菌用生物指示物 | Sterilization of health care products--Biological indicators--Part 3: Biological indicators for moist heat sterilization | (作废)
GB 18281.2-2000 | 医疗保健产品灭菌 生物指示物 第2部分:环氧乙烷灭菌用生物指示物 | Sterilization of health care products--Biological indicators--Part 2: Biological indicators for ethylene oxide sterilization | (作废)
GB 18281.1-2000 | 医疗保健产品灭菌 生物指示物 第1部分:通则 | Sterilization of health care products--Biological indicators--Part 1: General | (作废)
GB 18278-2000 | 医疗保健产品灭菌 确认和常规控制要求 工业湿热灭菌 | Sterilization of health care products--Requirements for validation and routine control--Industrial moist heat sterilization | (作废)
GB/T 19973.2-2005 | 医疗器械的灭菌 微生物学方法 第2部分:确认灭菌过程的无菌试验 | Sterilization of medical devices--Microbiological methods--Part 2:Tests of sterility performed in the validation of a sterilization process | (作废)
GB/T 19973.1-2005 | 医疗器械的灭菌 微生物学方法 第1部分:产品上微生物总数的估计 | Sterilization of medical devices--Microbiological methods--Part 1:Estimation of population of microorganisms on products | (作废)
YY/T 0567.7-2016 | 医疗保健产品的无菌加工 第7部分:医疗器械及组合型产品的替代加工 | Aseptic processing of health care products.Part 7:Alternative processes for medical devices and combination products | 正常
YY/T 1276-2016 | 医疗器械干热灭菌过程的开发、确认和常规控制要求 | Requirements for the development, validation and routine control of dry heat sterilization process for medical devices | 正常
YY/T 1464-2016 | 医疗器械灭菌低温蒸汽甲醛灭菌过程的开发、确认和常规控制要求 | Sterilization of medical devices.Requirements for the development, validation and routine control of a low temperature steam and formaldehyde sterilization process for medical devices | 正常
YY/T 1463-2016 | 医疗器械灭菌确认 选择微生物挑战和染菌部位的指南 | Sterilization validation of medical device.Guidance on selecting a microbial challenge and inoculation sites | 正常
YY/T 1402-2016 | 医疗器械蒸汽灭菌过程挑战装置适用性的测试方法 | Test method to demonstrate the suitability of the process challenge device(PCD)during steam sterilization | 正常
YY/T 1302.2-2015 | 环氧乙烷灭菌的物理和微生物性能要求 第2部分:微生物要求 | Physical requirements and microbiological performance of ethylene oxide sterilization.Part 2:Microbiological aspects | 正常
YY/T 1268-2015 | 环氧乙烷灭菌的产品追加和过程等效 | Product adoption and process equivalence for ethylene oxide sterilization | 正常
YY/T 1267-2015 | 适用于环氧乙烷灭菌的医疗器械的材料评价 | Evaluation of materials of medical device subject to ethylene oxide sterilization | 正常
YY/T 1266-2015 | 适用于过氧化氢灭菌的医疗器械的材料评价 | Evaluation of materials of medical device subject to hydrogen peroxide sterilization | 正常
YY/T 1265-2015 | 适用于湿热灭菌的医疗器械的材料评价 | Evaluation of materials of medical device subject to moist heat sterilization | 正常
YY/T 1264-2015 | 适用于臭氧灭菌的医疗器械的材料评价 | Evaluation of materials of medical device subject to ozone sterilization | 正常
YY/T 1263-2015 | 适用于干热灭菌的医疗器械的材料评价 | Evaluation of materials of medical device subject to dry heat sterilization | 正常
YY/T 0884-2013 | 适用于辐射灭菌的医疗保健产品的材料评价 | Evaluation of materials of health care product subject to radiation sterilization | 正常
YY/T 0883-2013 | 蒸汽渗透测试用过程挑战装置及指示物系统 | Specification of process challenge devices and indicator systems for steam penetration testing | 正常
YY/T 0567.1-2013 | 医疗保健产品的无菌加工第1部分：通用要求 | Aseptic processing of health care products.Part 1:General requirements | 正常
YY/T 0822-2011 | 灭菌用环氧乙烷液化气体 | Ethylene oxide liquefied gas for sterilization | 正常
YY/T 0567.6-2011 | 医疗保健产品的无菌加工.第6部分：隔离器系统 | Aseptic processing of health care products.Part 6:Isolator systems | 正常
YY/T 0567.5-2011 | 医疗保健产品的无菌加工.第5部分：在线灭菌 | Aseptic processing of health care products.Part 5:Sterilization in place | 正常
YY/T 0567.4-2011 | 医疗保健产品的无菌加工.第4部分：在线清洗技术 | Aseptic processing of health care products.Part 4:Clean-in-place technologies | 正常
YY/T 0567.3-2011 | 医疗保健产品的无菌加工.第3部分：冻干法 | Aseptic processing of health care products.Part 3:Lyophilization | 正常
YY/T 0802-2010 | 医疗器械的灭菌 制造商提供的处理可重复灭菌医疗器械的信息 | Sterilization of medical devices-information to be provided by the manufacturer for the processing of resterilizable medical devices | 正常
YY/T 0923-2014 | 液路 血路无针接口 微生物侵入试验方法 | Needleless access ports for fluid lines and blood lines.Test method for microbial ingress | 正常
YY/T 0567.2-2005 | 医疗产品的无菌加工 第2部分:过滤 | Aseptic processing of health care products -- Part 2: Filtration | 正常
YY/T 0615.2-2007 | 标示“无菌”医疗器械的要求 第2部分：无菌加工医疗器械的要求 | Requirements for medical devices to be dwsignated“SIERILE”.Part 2:Requirements for aseptically processed medical devices | 正常