## Sheet1
QQ：543060174/327814406 | 咨询电话:010-61272284 400-090-1985 | 网址：http://www.stdbook.org | E-MAIL：gwbz@263.net
标准号 | 中文名 | 英文名 | 状态
ASTM F1980-2016 | 医疗器械用无菌屏障系统加速老化的标准指南 | Standard Guide for Accelerated Aging of Sterile Barrier Systems for Medical Devices | 正常
ASTM F2981-2015 | 验证无孔柔性阻隔材料阻挡空气通过的标准试验方法 | Standard Test Method for Verifying Nonporous Flexible Barrier Material Resistance to the Passage of Air | 正常
ASTM F1980-2016 | 医疗器械用无菌屏障系统加速老化的标准指南 | Standard Guide for Accelerated Aging of Sterile Barrier Systems for Medical Devices | 正常
ASTM F2981-2015 | 验证无孔柔性阻隔材料阻挡空气通过的标准试验方法 | Standard Test Method for Verifying Nonporous Flexible Barrier Material Resistance to the Passage of Air | 正常
ISO 11607-2-2006 | 终端无菌医学设备的包装.第2部分:组成、密封和装配过程的确认要求 | Packaging for terminally sterilized medical devices - Part 2: Validation requirements for forming, sealing and assembly processes | 正常
ISO 11607-1-2006 | 终端无菌医学设备的包装.第1部分:材料、消毒阻挡系统和包装系统的要求 | Packaging for terminally sterilized medical devices - Part 1: Requirements for materials, sterile barrier systems and packaging systems | 正常
ISO/TS 16775-2014 | 终端无菌医疗器械的包装. ISO 11607-1和ISO 11607-2应用指南 | Packaging for terminally sterilized medical devices - Guidance on the application of ISO 11607-1 and ISO 11607-2 | 正常
ISO 11607-2 AMD 1-2014 | 终端无菌医疗器械的包装. 第2部分: 成型, 密封和装配工艺的验证要求; 修改件1 | Packaging for terminally sterilized medical devices - Part 2: Validation requirements for forming, sealing and assembly processes; Amendment 1 | 正常
ISO 11607-1 AMD 1-2014 | 终端无菌医疗器械的包装. 第1部分: 材料, 无菌屏障系统和包装系统要求; 修改件1 | Packaging for terminally sterilized medical devices - Part 1: Requirements for materials, sterile barrier systems and packaging systems; Amendment 1 | 正常
JIS T0841-2-2019 | 定期长效消毒医疗设备的包装. 第2部分: 组成、密封和装配过程的验证要求 | Packaging for terminally sterilized medical devices -- Part 2: Validation requirements for forming, sealing and assembly processes | 正常
JIS T0841-1-2019 | 定期长效消毒医疗设备的包装. 第1部分: 材料、消毒隔障体系和包装体系要求 | Packaging for terminally sterilized medical devices -- Part 1: Requirements for materials, sterile barrier systems and packaging systems | 正常
EN ISO 11607-2-2017 | 最终灭菌医疗器械包装. 第2部分：成形、密封和装配工艺的验证要求(ISO / DIS 1160 7 - 2:2017)；德文和英文版本prEN ISO 11607-2:2017 | Packaging for terminally sterilized medical devices - Part 2: Validation requirements for forming, sealing and assembly processes (ISO/DIS 11607-2:2017); German and English version prEN ISO 11607-2:2017 | 正常
EN ISO 11607-1-2017 | 最终灭菌医疗器械包装. 第1部分：材料、无菌屏障系统和包装系统要求(ISO / DIS 1160 7 - 1:2017)；德文和英文版本prEN ISO 11607-1:2017 | Packaging for terminally sterilized medical devices - Part 1: Requirements for materials, sterile barrier systems and packaging systems (ISO/DIS 11607-1:2017); German and English version prEN ISO 11607-1:2017 | 正常
BS EN ISO 11607-2-2017 | 终端无菌医学设备的包装.组成、密封和装配过程的确认要求 | Packaging for terminally sterilized medical devices. Validation requirements for forming, sealing and assembly processes | 正常
BS EN ISO 11607-1-2017 | 终端无菌医学设备的包装.材料、无菌屏障系统和包装系统的要求 | Packaging for terminally sterilized medical devices. Requirements for materials, sterile barrier systems and packaging systems | 正常
NF S98-052-2-2018 | 终端无菌医疗设备包装.第2部分:组成、密封和装配过程的验证要求 | Packaging for terminally sterilized medical devices - Part 2 : validation requirements for forming, sealing and assembly processes | 正常
NF S98-052-1-2018 | 灭菌医疗装置的包装.第1部分:材料,消毒系统和包装系统的要求 | Packaging for terminally sterilized medical devices - Part 1 : Requirements for materials, sterile barrier systems and packaging systems | 正常
BS PD CEN ISO/TS 16775-2014 | 终端无菌医疗器械的包装. ISO 11607-1和ISO 11607-2应用指南 | Packaging for terminally sterilized medical devices. Guidance on the application of ISO 11607-1 and ISO 11607-2 | 正常
BS EN 868-9-2009 | 最终灭菌医疗器械的包装.聚烯烃非包覆非织物材料.试验方法和要求 | Packaging for terminally sterilized medical devices - Uncoated nonwoven materials of polyolefines - Requirements and test methods | 正常
BS EN 868-8-2009 | 最终灭菌医疗器械的包装.符合EN 285标准的蒸汽灭菌器的重复使用灭菌容器.试验方法和要求 | Packaging for terminally sterilized medical devices - Re-usable sterilization containers for steam sterilizers conforming to EN 285: Requirements and test methods | 正常
BS EN 868-5-2009 | 最终灭菌医疗器械的包装.多孔和塑料薄膜结构的密封袋和卷轴.试验方法和要求 | Packaging for terminally sterilized medical devices - Sealable pouches and reels of porous and plastic film construction - Requirements and test methods | 正常
BS EN 868-10-2009 | 最终灭菌医疗器械的包装.聚烯烃粘性涂覆非织物材料.试验方法和要求 | Packaging for terminally sterilized medical devices - Adhesive coated nonwoven materials of polyolefines - Requirements and test methods | 正常
BS EN ISO 11607-1-2009 | 终端无菌医学设备的包装.材料、无菌屏障系统和包装系统的要求 | Packaging for terminally sterilized medical devices - Requirements for materials, sterile barrier systems and packaging systems | 正常
BS EN 868-7-2017 | 最终灭菌医疗器械的包装.低温消毒处理用粘合铜版纸.试验方法和要求 | Packaging for terminally sterilized medical devices. Adhesive coated paper for low temperature sterilization processes. Requirements and test methods | 正常
BS EN 868-6-2017 | 最终灭菌医疗器械的包装.低温灭菌处理用纸.试验方法和要求 | Packaging for terminally sterilized medical devices. Paper for low temperature sterilization processes. Requirements and test methods | 正常
BS EN 868-4-2017 | 最终灭菌医疗器械的包装.纸袋.试验方法和要求 | Packaging for terminally sterilized medical devices. Paper bags. Requirements and test methods | 正常
BS EN 868-3-2017 | 最终灭菌医疗器械的包装.生产纸袋(EN 868-4标准规定)和生产盒和卷筒用纸(EN 868-5标准规定)试验方法和要求 | Packaging for terminally sterilized medical devices. Paper for use in the manufacture of paper bags (specified in EN 868-4) and in the manufacture of pouches and reels (specified in EN 868-5). Requirements and test methods | 正常
BS EN 868-2-2017 | 最终灭菌医疗器械的包装.灭菌套.试验方法和要求 | Packaging for terminally sterilized medical devices. Sterilization wrap. Requirements and test methods | 正常
BS EN ISO 11607-2-2006 | 终端无菌医学设备的包装.组成、密封和装配过程的确认要求 | Packaging for terminally sterilized medical devices - Validation requirements for forming, sealing and assembly processes | 正常
EN 868-4-2017 | 最终灭菌医疗器械的包装.第4部分:纸袋.试验方法和要求;德文版本EN 868-4-2017 | Packaging for terminally sterilized medical devices - Part 4: Paper bags - Requirements and test methods; German version EN 868-4:2017 | 正常
EN 868-3-2017 | 最终灭菌医疗器械的包装.第3部分:生产纸袋(EN 868-4标准指定)和生产盒和卷筒(EN 868-5标准指定)用纸.试验方法和要求;德文版本EN 868-3-2017 | Packaging for terminally sterilized medical devices - Part 3: Paper for use in the manufacture of paper bags (specified in EN 868-4) and in the manufacture of pouches and reels (specified in EN 868-5) - Requirements and test methods; German version EN 868-3-2017 | 正常
EN 868-7-2017 | 最终灭菌医疗器械的包装.第7部分:低温消毒处理的粘合铜版纸.试验方法和要求;德文版本EN 868-7-2017 | Packaging for terminally sterilized medical devices - Part 7: Adhesive coated paper for low temperature sterilization processes - Requirements and test methods; German version EN 868-7:2017 | 正常
EN 868-6-2017 | 最终灭菌医疗器械的包装.第6部分:低温灭菌处理用纸.试验方法和要求;德文版本EN 868-6-2017 | Packaging for terminally sterilized medical devices - Part 6: Paper for low temperature sterilization processes - Requirements and test methods; German version EN 868-6:2017 | 正常
EN 868-2-2017 | 最终灭菌医疗器械的包装.第2部分:消毒包裹物.试验方法和要求;德文版本EN 868-2-2017 | Packaging for terminally sterilized medical devices - Part 2: Sterilization wrap - Requirements and test methods; German version EN 868-2:2017 | 正常
EN ISO 11607-2-2014 | 最后灭菌的医疗器械的包装.第2部分:组成、密封和装配过程的确认和要求(ISO 11607-2-2006+Amd 1-2014);德文版本EN ISO 11607-2-2006+A1-2014 | Packaging for terminally sterilized medical devices - Part 2: Validation requirements for forming, sealing and assembly processes (ISO 11607-2:2006 + Amd 1:2014); German version EN ISO 11607-2:2006 + A1:2014 | 正常
EN ISO 11607-1-2014 | 最终无菌医疗器械的包装.第1部分:原材料,无菌阻隔系统和包装系统的要求(ISO 11607-1-2006+Amd 1-2014).德文版本EN ISO 11607-1-2009+A1-2014 | Packaging for terminally sterilized medical devices - Part 1: Requirements for materials, sterile barrier systems and packaging systems (ISO 11607-1:2006 + Amd 1:2014); German version EN ISO 11607-1:2009 + A1:2014 | 正常
EN 868-10-2009 | 最终灭菌医疗器械的包装.第10部分:聚烯烃胶粘包覆无纺材料.试验方法和要求.英文版本DIN EN 868-10-2009-09 | Packaging for terminally sterilized medical devices - Part 10: Adhesive coated nonwoven materials of polyolefines - Requirements and test methods; English version of DIN EN 868-10:2009-09 | 正常
EN 868-8-2009 | 最终灭菌医疗器械的包装.第8部分:符合EN 285标准的蒸气消毒器的可重复使用的消毒罐.试验方法和要求.英文版本DIN EN 868-8-2009-09 | Packaging for terminally sterilized medical devices - Part 8: Re-usable sterilization containers for steam sterilizers conforming to EN 285 - Requirements and test methods; English version of DIN EN 868-8:2009-09 | 正常
EN 868-5-2009 | 最终灭菌医疗器械的包装.第5部分:多孔材料和塑料薄膜结构的可密封袋和卷轴.试验方法和要求.英文版本DIN EN 868-5-2009-09 | Packaging for terminally sterilized medical devices - Part 5: Sealable pouches and reels of porous materials and plastic film construction - Requirements and test methods;English version of DIN EN 868-5:2009-09 | 正常
EN 868-9-2009 | 最终灭菌医疗器械的包装.第9部分:聚烯烃非包覆无纺材料.试验方法和要求.英文版本DIN EN 868-9-2009-09 | Packaging for terminally sterilized medical devices - Part 9: Uncoated nonwoven materials of polyolefines - Requirements and test methods; English version of DIN EN 868-9:2009-09 | 正常
ANSI/AAMI ST77-2013 | 可再利用的医疗设备杀菌用密封装置 | Containment devices for reusable medical device sterilization | 正常
ANSI/AAMI ST67-2011 | 保健品杀菌.选择标有"无菌"产品的灭菌保证水平(SAL)的要求和指导 | Sterilization of health care products - Requirements and guidance for selecting a sterility assurance level (SAL) for products labeled sterile | 正常
ANSI/AAMI/ISO 11607-1-2006 | 最后灭菌的医疗器械的包装.第1部分:原材料,消毒阻挡系统和包装的要求 | Packaging for teminally sterilized medical devices - Part 1: Requirements for materials, sterile barrier systems and packaging | 正常
ANSI/AAMI/ISO 11607-2-2006 | 最后灭菌的医疗器械的包装.第2部分:组成,密封和装配过程的确认和要求 | Packaging for terminally sterilized medical devices - Part 2: Validation and requirements for forming, sealing and assembly processes | 正常
DIN EN 868-2-2017 | 最终灭菌医疗器械的包装.第2部分:消毒包裹物.试验方法和要求;德文版本EN 868-2-2017 | Packaging for terminally sterilized medical devices - Part 2: Sterilization wrap - Requirements and test methods; German version EN 868-2:2017 | 正常
DIN EN 868-4-2017 | 最终灭菌医疗器械的包装.第4部分:纸袋.试验方法和要求;德文版本EN 868-4-2017 | Packaging for terminally sterilized medical devices - Part 4: Paper bags - Requirements and test methods; German version EN 868-4:2017 | 正常
DIN EN 868-3-2017 | 最终灭菌医疗器械的包装.第3部分:生产纸袋(EN 868-4标准指定)和生产盒和卷筒(EN 868-5标准指定)用纸.试验方法和要求;德文版本EN 868-3-2017 | Packaging for terminally sterilized medical devices - Part 3: Paper for use in the manufacture of paper bags (specified in EN 868-4) and in the manufacture of pouches and reels (specified in EN 868-5) - Requirements and test methods; German version EN 868-3-2017 | 正常
DIN EN 868-7-2017 | 最终灭菌医疗器械的包装.第7部分:低温消毒处理的粘合铜版纸.试验方法和要求;德文版本EN 868-7-2017 | Packaging for terminally sterilized medical devices - Part 7: Adhesive coated paper for low temperature sterilization processes - Requirements and test methods; German version EN 868-7:2017 | 正常
DIN EN 868-6-2017 | 最终灭菌医疗器械的包装.第6部分:低温灭菌处理用纸.试验方法和要求;德文版本EN 868-6-2017 | Packaging for terminally sterilized medical devices - Part 6: Paper for low temperature sterilization processes - Requirements and test methods; German version EN 868-6:2017 | 正常
DIN EN ISO 11607-2-2017 | 最终灭菌医疗器械包装. 第2部分：成形、密封和装配工艺的验证要求(ISO / DIS 1160 7 - 2:2017)；德文和英文版本prEN ISO 11607-2:2017 | Packaging for terminally sterilized medical devices - Part 2: Validation requirements for forming, sealing and assembly processes (ISO/DIS 11607-2:2017); German and English version prEN ISO 11607-2:2017 | 正常
DIN EN ISO 11607-1-2017 | 最终灭菌医疗器械包装. 第1部分：材料、无菌屏障系统和包装系统要求(ISO / DIS 1160 7 - 1:2017)；德文和英文版本prEN ISO 11607-1:2017 | Packaging for terminally sterilized medical devices - Part 1: Requirements for materials, sterile barrier systems and packaging systems (ISO/DIS 11607-1:2017); German and English version prEN ISO 11607-1:2017 | 正常
DIN EN ISO 11607-1 Berichtigung 1-2016 | 最终无菌医疗器械的包装.第1部分:原材料,无菌阻隔系统和包装系统的要求(ISO 11607-1-2006+Amd 1-2014).德文版本EN ISO 11607-1-2009+A1-2014,DIN EN ISO 11607-1-2014-11的勘误 | Packaging for terminally sterilized medical devices - Part 1: Requirements for materials, sterile barrier systems and packaging systems (ISO 11607-1:2006 + Amd 1:2014); German version EN ISO 11607-1:2009 + A1:2014, Corrigendum to DIN EN ISO 11607-1:2014-11 | 正常
DIN 58953-6-2016 | 消毒.消毒材料供应.第6部分:欲灭菌医疗器械用包装材料的微生物障阻检验 | Sterilization - Sterile supply - Part 6: Microbial barrier testing of packaging materials for medical devices which are to be sterilized | 正常
DIN EN ISO 11607-2-2014 | 最后灭菌的医疗器械的包装.第2部分:组成、密封和装配过程的确认和要求(ISO 11607-2-2006+Amd 1-2014);德文版本EN ISO 11607-2-2006+A1-2014 | Packaging for terminally sterilized medical devices - Part 2: Validation requirements for forming, sealing and assembly processes (ISO 11607-2:2006 + Amd 1:2014); German version EN ISO 11607-2:2006 + A1:2014 | 正常
DIN EN ISO 11607-1-2014 | 最终无菌医疗器械的包装.第1部分:原材料,无菌阻隔系统和包装系统的要求(ISO 11607-1-2006+Amd 1-2014).德文版本EN ISO 11607-1-2009+A1-2014 | Packaging for terminally sterilized medical devices - Part 1: Requirements for materials, sterile barrier systems and packaging systems (ISO 11607-1:2006 + Amd 1:2014); German version EN ISO 11607-1:2009 + A1:2014 | 正常
DIN 58952-2-2012 | 消毒.无菌障碍系统的运输容器.第2部分:金属制筐的消毒 | Sterilization - Transport baskets for sterile barrier systems - Part 2: Sterilizing baskets made of metal | 正常
DIN 58952-3-2012 | 消毒.无菌障碍系统的运输容器.第3部分:金属制仪器托盘用包装材料 | Sterilization - Transport baskets for sterile barrier systems - Part 3: Instrument trays for sterilizing goods made of metal | 正常
DIN EN 868-10-2009 | 最终灭菌医疗器械的包装.第10部分:聚烯烃胶粘包覆无纺材料.试验方法和要求.英文版本DIN EN 868-10-2009-09 | Packaging for terminally sterilized medical devices - Part 10: Adhesive coated nonwoven materials of polyolefines - Requirements and test methods; English version of DIN EN 868-10:2009-09 | 正常
DIN EN 868-8-2009 | 最终灭菌医疗器械的包装.第8部分:符合EN 285标准的蒸气消毒器的可重复使用的消毒罐.试验方法和要求.英文版本DIN EN 868-8-2009-09 | Packaging for terminally sterilized medical devices - Part 8: Re-usable sterilization containers for steam sterilizers conforming to EN 285 - Requirements and test methods; English version of DIN EN 868-8:2009-09 | 正常
DIN EN 868-5-2009 | 最终灭菌医疗器械的包装.第5部分:多孔材料和塑料薄膜结构的可密封袋和卷轴.试验方法和要求.英文版本DIN EN 868-5-2009-09 | Packaging for terminally sterilized medical devices - Part 5: Sealable pouches and reels of porous materials and plastic film construction - Requirements and test methods;English version of DIN EN 868-5:2009-09 | 正常
DIN EN 868-9-2009 | 最终灭菌医疗器械的包装.第9部分:聚烯烃非包覆无纺材料.试验方法和要求.英文版本DIN EN 868-9-2009-09 | Packaging for terminally sterilized medical devices - Part 9: Uncoated nonwoven materials of polyolefines - Requirements and test methods; English version of DIN EN 868-9:2009-09 | 正常
DIN 58953-9-2010 | 消毒.消毒材料供应.第9部分:消毒容器的使用 | Sterilization - Sterile supply - Part 9: Use of sterilization container | 正常
DIN 58953-8-2010 | 消毒.消毒材料供应.第8部分:无菌医疗装置的输给系统 | Sterilization - Sterile supply - Part 8: Logistics of sterile medical devices | 正常
DIN 58953-1-2010 | 消毒.消毒材料供应.第1部分:术语 | Sterilization - Sterile supply - Part 1: Terminology | 正常
DIN 58953-7-2010 | 消毒.消毒材料供应.第7部分:消毒纸、非织造的包装材料、织物材料、纸袋和可密封袋以及纸带盘的使用 | Sterilization - Sterile supply - Part 7: Use of sterilization paper, nonwoven wrapping material, textile materials, paper bags and sealable pouches and reels | 正常
JIS T0841-1-2009 | 定期长效消毒医疗设备的包装.第1部分:材料、消毒隔障体系和包装体系要求 | Packaging for terminally sterilized medical devices -- Part 1: Requirements for materials, sterile barrier systems and packaging systems | 正常
JIS T0841-2-2009 | 定期长效消毒医疗设备的包装.第2部分:组成、密封和装配过程的验证要求 | Packaging for terminally sterilized medical devices -- Part 2: Validation requirements for forming, sealing and assembly processes | 正常
NF S98-051-7-2017 | 灭菌医疗装置的包装.第7部分:低温消毒处理用粘合铜版纸.要求和测试方法 | Packaging for terminally sterilized medical devices - Part 7 : adhesive coated paper for low temperature sterilization processes - Requirements and test methods | 正常
NF S98-051-6-2017 | 灭菌医疗装置的包装.第6部分:低温灭菌处理用纸.要求和测试方法 | Packaging for terminally sterilized medical devices - Part 6 : paper for low temperature sterilization processes - Requirements and test methods | 正常
NF S98-051-4-2017 | 灭菌医疗装置的包装.第4部分:杀菌套要求和测试方法 | Packaging for terminally sterilized medical devices - Part 4 : paper bags - Requirements and test methods | 正常
NF S98-051-3-2017 | 灭菌医疗装置的包装.第3部分:生产纸袋(EN 868-4规定)和生产盒和卷筒用纸(EN 868-5规定).要求和试验方法 | Packaging for terminally sterilized medical devices - Part 3 : paper for use in the manufacture of paper bags (specified in EN 868-4) and in the manufacture of pouches and reels (specified in EN 868-5) - Requirements and test methods | 正常
NF S98-051-2-2017 | 灭菌医疗装置的包装.第2部分:杀菌套要求和测试方法 | Packaging for terminally sterilized medical devices - Part 2 : sterilization wrap - Requirements and test methods | 正常
NF S98-051-8-2009 | 灭菌医疗装置的包装.第8部分:符合EN 285标准的蒸汽灭菌器用再用灭菌容器的要求和测试方法 | Packaging for terminally sterilized medical devices - Part 8 : re-usable sterilization containers for steam sterilizers conforming to EN 285 - Requirements and test methods. | 正常
NF S98-052-2-2006 | 终端无菌医疗设备包装.第2部分:组成、密封和装配过程的验证要求 | Packaging for terminally sterilized medical devices - Part 2 : validation requirements for forming, sealing and assembly processes. | 正常
NF S98-052-2/A1-2014 | 终端无菌医疗器械的包装. 第2部分: 成型, 密封和装配工艺的验证要求. 修改件1 | Packaging for terminally sterilized medical devices - Part 2 : validation requirements for forming, sealing and assembly processes - Amendment 1 | 正常
NF S98-052-1/A1-2014 | 终端无菌医疗器械的包装. 第1部分: 材料, 无菌屏障系统和包装系统要求. 修改件1 | Packaging for terminally sterilized medical devices - Part 1 : requirements for materials, sterile barrier systems and packaging systems - Amendment 1 | 正常
NF S98-051-5-2009 | 灭菌医疗装置的包装.第5部分:多孔材料和塑料膜结构的可密封袋和卷轴.要求和测试方法 | Packaging for terminally sterilized medical devices - Part 5 : sealable pouches and reels of porous materials and plastic film construction - Requirements and test methods. | 正常
NF S98-051-9-2009 | 灭菌医疗装置的包装材料.第9部分:聚烯烃非包覆非织物材料.要求和测试方法 | Packaging materials for terminally sterilized medical devices - Part 9 : uncoated nonwoven materials of polyolefines - Requirements and test methods. | 正常
NF S98-051-10-2009 | 灭菌医疗装置的包装.第10部分:聚烯烃粘性涂覆非织物材料的要求和测试方法 | Packaging for terminally sterilized medical devices - Part 10 : adhesive coated nonwoven materials of polyolefines - Requirements and test methods. | 正常
NF S98-052-1-2009 | 灭菌医疗装置的包装.第1部分:材料,消毒系统和包装系统的要求 | Packaging for terminally sterilized medical devices - Part 1 : requirements for materials, sterile barrier systems and packaging systems. | 正常
GB/T 19633.2-2015 | 最终灭菌医疗器械包装 第2部分:成形、密封和装配过程的确认的要求 | Packaging for terminally sterilized medical devices.Part 2:Validation requirements for forming, sealing and assembly processes | 正常