## Sheet1
QQ：543060174/327814406 | 咨询电话:010-61272284 400-090-1985 | 网址：http://www.stdbook.org | E-MAIL：gwbz@263.net
标准号 | 中文名 | 英文名 | 状态
YY/T 1767-2021 | 超声 功率测量 高强度治疗超声(HITU)换能器和系统 |  | 正常
YY/T 1751-2020 | 激光治疗设备 半导体激光鼻腔内照射治疗仪 |  | 正常
YY/T 1750-2020 | 超声软组织切割止血手术设备 |  | 正常
YY/T 1749-2020 | 基于外部振动的肝组织超声弹性测量设备 |  | 正常
GB 9706.205-2020 | 医用电气设备 第2-5部分:超声理疗设备的基本安全和基本性能专用要求 | Medical electrical equipment Part 2-5:Particular requirements for the safety of ultrasonic physiotherapy equipment | 正常
YY/T 1676-2020 | 超声内窥镜 |  | 正常
GB 9706.237-2020 | 医用电气设备 第2-37部分:超声诊断和监护设备的基本安全和基本性能专用要求 | Medical electrical equipment Part 2-37:Particular requirements for the safety of ultrasonic medical diagnostic and monitoring equipment | 正常
DIN 6876-2019 | 医疗磁共振系统操作 | Operation of medical magnetic resonance systems | 正常
YY/T 0448-2019 | 超声多普勒胎儿心率仪 |  | 正常
YY/T 1090-2018 | 超声理疗设备 |  | 正常
NF C74-365-2018 | 医用电器设备.第2-2部分:高频外科手术设备和高频外科手术附件基本安全性和必要性能的详细要求 | Medical electrical equipment - Part 2-2 : particular requirements for the basic safety and essential performance of high frequency surgical equipment and high frequency surgical accessories | 正常
JIS T1506-2018 | 手持式超声波探头多普勒胎儿心跳探测仪.性能要求、测量和报告方法 | Ultrasonics -- Hand-held probe Doppler foetal heartbeat detectors -- Performance requirements and methods of measurement and reporting | 正常
JIS T0601-2-37-2018 | 医疗电气设备.第2-37部分:超声波医疗诊断和监测设备的基本安全性和基本性能详细要求 | Medical electrical equipment -- Part 2-37: Particular requirements for the basic safety and essential performance of ultrasonic medical diagnostic and monitoring equipment | 正常
EN 62359-2018 | 超声波学.场地特征描述.医疗诊断超声场相关的温度指数和机械指数测定的试验方法(IEC 62359-2010+Cor.:2011+A1-2017);德文版本EN 62359-2011+A1-2018 | Ultrasonics - Field characterization - Test methods for the determination of thermal and mechanical indices related to medical diagnostic ultrasonic fields (IEC 62359:2010 + Cor.:2011 + A1:2017); German version EN 62359:2011 + A1:2018 | 正常
EN 61391-1-2017 | 超音波学. 脉冲回波扫描仪. 第1部分: 校准空间测量系统和系统点传播功能响应测量 (IEC 61391-1-2006+A1-2017); 德文版本 EN 61391-1-2006+A1-2017 | Ultrasonics - Pulse-echo scanners - Part 1: Techniques for calibrating spatial measurement systems and measurement of system point-spread function response (IEC 61391-1:2006 + A1:2017); German version EN 61391-1:2006 + A1:2017 | 正常
DIN EN 62359-2018 | 超声波学.场地特征描述.医疗诊断超声场相关的温度指数和机械指数测定的试验方法(IEC 62359-2010+Cor.:2011+A1-2017);德文版本EN 62359-2011+A1-2018 | Ultrasonics - Field characterization - Test methods for the determination of thermal and mechanical indices related to medical diagnostic ultrasonic fields (IEC 62359:2010 + Cor.:2011 + A1:2017); German version EN 62359:2011 + A1:2018 | 正常
DIN EN 61391-1-2018 | 超音波学. 脉冲回波扫描仪. 第1部分: 校准空间测量系统和系统点传播功能响应测量 (IEC 61391-1-2006+A1-2017); 德文版本 EN 61391-1-2006+A1-2017 | Ultrasonics - Pulse-echo scanners - Part 1: Techniques for calibrating spatial measurement systems and measurement of system point-spread function response (IEC 61391-1:2006 + A1:2017); German version EN 61391-1:2006 + A1:2017 | 正常
YY/T 0449-2018 | 超声多普勒胎儿监护仪 |  | 正常
YY/T 0750-2018 | 超声 理疗设备 0.5MHz～5MHz频率范围内声场要求和测量方法 |  | 正常
YY/T 0865-2011 | 超声 水听器 第一部分：40MHz 以下医用超声场的测量和特征描绘 |  | 正常
SN/T 1672.8-2013 | 进出口医用设备检验规程 第8部分:超声诊断和理疗设备 | Rules for the inspection of import and export medical equipment.Part 8:Ultrasonic diagnostic and physiotherapy equipment | 正常
SN/T 1672.4-2005 | 进出口医用设备检验规程 第4部分:B型超声诊断设备 | Rules for the inspection of medical equipment for import and export --Part 4:B mode ultrasonic diagnostic equipment | 正常
BS EN ISO 11990-2-2014 | 激光器和相关的激光设备.气管导管抗激光性的测定.气管导管袖带 | Lasers and laser-related equipment. Determination of laser resistance of tracheal tubes. Tracheal tube cuffs | 正常
BS EN 62555-2014 | 超声学. 功率测量. 高强度治疗性超声(HITU)换能器和系统 | Ultrasonics. Power measurement. High intensity therapeutic ultrasound (HITU) transducers and systems | 正常
BS PD IEC/TS 62556-2014 | 超声学. 场特性. 高强度治疗性超声(HITU)换能器和系统场参数的规格及测量 | Ultrasonics. Field characterization. Specification and measurement of field parameters for high intensity therapeutic ultrasound (HITU) transducers and systems | 正常
BS EN 61157-2007+A1-2013 | 医疗诊断超声波设备声输出的报告用标准方法 | Standard means for the reporting of the acoustic output of medical diagnostic ultrasonic equipment | 正常
BS EN 61689-2013 | 超音波学.物理疗法系统.频率范围0.5 MHz至5 MHz的现场规范和测量方法 | Ultrasonics. Physiotherapy systems. Field specifications and methods of measurement in the frequency range 0,5 MHz to 5 MHz | 正常
BS ISO 18939-2013 | 成像材料.医学成像的数字硬拷贝.测量永久性方法 | Imaging materials. Digital hard copy for medical imaging Methods of measuring permanence | 正常
BS EN 60601-2-37-2008+A11-2011 | 医疗电气设备.超声波医疗诊断和监测设备基本安全性和必要性能的详细要求 | Medical electrical equipment. Particular requirements for the basic safety and essential performance of ultrasonic medical diagnostic and monitoring equipment | 正常
BS EN 60601-2-2-2009+A11-2011 | 医用电气设备.高频外科设备和高频外科附件的基本安全性和必要性能的详细要求 | Medical electrical equipment. Particular requirements for the basic safety and essential performance of high frequency surgical equipment and high frequency surgical accessories | 正常
BS EN 60601-2-33-2010+A11-2011 | 医用电气设备.医疗诊断用磁共振设备基本安全性和必要性能的详细要求 | Medical electrical equipment. Particular requirements for the basic safety and essential performance of magnetic resonance equipment for medical diagnosis | 正常
BS DD IEC/TS 62558-2011 | 超声学.实时脉冲反射波扫描仪.仿薄纱材质外圆人造囊仿真模型及其VDR(空鉴别比率)的三维分布定期试验和求值方法 | Ultrasonics. Real-time pulse-echo scanners. Phantom with cylindrical, artificial cysts in tissue-mimicking material and method for evaluation and periodic testing of 3D-distributions of void-detectability ratio (VDR) | 正常
BS EN 62359-2011 | 声学.声场特性.与医疗诊断超声场有关的热和机械指数测定的试验方法 | Ultrasonics. Field characterization. Test methods for the determination of thermal and mechanical indices related to medical diagnostic ultrasonic fields | 正常
BS EN 62570-2015 | 磁共振环境下医疗装置和其他物件的安全标记标准实施规程 | Standard practice for marking medical devices and other items for safety in the magnetic resonance environment | 正常
BS PD IEC/TS 62791-2015 | 超声学. 脉冲回波扫描仪. 适用于广泛类型传感器的灰度医学超声扫描仪的低回声球体和性能试验方法 | Ultrasonics. Pulse-echo scanners. Low-echo sphere phantoms and method for performance testing of gray-scale medical ultrasound scanners applicable to a broad range of transducer types | 正常
BS EN 62467-1-2015 | 医疗电气设备. 短程治疗用剂量测定仪. 井型电离室使用的仪器 | Medical electrical equipment. Dosimetric instruments as used in brachytherapy. Instruments based on well-type ionization chambers | 正常
BS 5724-3.26-1990 | 医用电气设备.第3部分:性能专门要求.第26节:用试验目标值规定超声波诊断设备参数 | Medical electrical equipment - Particular requirements for performance - Method for declaring parameters for ultrasonic diagnostic equipment using test objects | 正常
BS DD IEC/TS 62306-2008 | 超声学.超声波场的特征.在诊断超声波场内测定温度上升用试验对象 | Ultrasonics - Field characterisation - Test objects for determining temperature elevation in diagnostic ultrasound fields | 正常
BS EN 61846-1999 | 超声波.压力脉冲碎石器.电磁场特性 | Ultrasonics - Pressure pulse lithotripters - Characteristics of fields | 正常
BS 5724-2.6-1985 | 医用电气设备.第2部分:安全性专门要求.第6节:微波治疗器械规范 | Medical electrical equipment - Particular requirements for safety - Specification for microwave therapy equipment | 正常
BS 7887-1997 | 超声波学.实时脉冲回波系统.测定性能规范的试验程序指南 | Ultrasonics - Real-time pulse-echo systems - Guide for test procedures to determine performance specifications | 正常
BS EN 61847-1998 | 超声波.外科装置.基本输出特性的测量和说明 | Ultrasonics - Surgical systems - Measurement and declaration of the basic output characteristics | 正常
EN 62467-1-2015 | 医疗电气设备.短程治疗用剂量测定仪.第1部分:井型电离室使用的仪器(IEC 62467-1-2009).德文版本EN 62467-1-2015 | Medical electrical equipment - Dosimetric instruments as used in brachytherapy - Part 1: Instruments based on well-type ionization chambers (IEC 62467-1:2009); German version EN 62467-1:2015 | 正常
EN 60601-2-37-2015 | 医疗电气设备.第2-37部分:超声波医疗诊断和监测设备的基本安全和必要性能用详细要求(IEC 60601-2-37-2007+A1-2015).德文版本EN 60601-2-37-2008+A11-2011+A1-2015 | Medical electrical equipment - Part 2-37: Particular requirements for the basic safety and essential performance of ultrasonic medical diagnostic and monitoring equipment (IEC 60601-2-37:2007 + A1:2015); German version EN 60601-2-37:2008 + A11:2011 + A1:2015 | 正常
EN 62555-2014 | 超声学. 功率测量. 高强度治疗性超声 (HITU) 换能器和系统 (IEC 62555-2013); 德文版本EN 62555-2014 | Ultrasonics - Power measurement - High intensity therapeutic ultrasound (HITU) transducers and systems (IEC 62555:2013); German version EN 62555:2014 | 正常
EN 61689-2013 | 超音波学.物理疗法系统.频率范围0.5 MHz至5 MHz的现场规范和测量方法(IEC 61689-2013).德文版本EN 61689-2013 | Ultrasonics.Physiotherapy systems.Field specifications and methods of measurement in the frequency range 0,5 MHz to 5 MHz (IEC 61689:2013); German version EN 61689;2013 | 正常
EN 61157-2013 | 医疗诊断超声波设备的声学输出报告的标准平均值(IEC 61157-2007+A1-2013).德文版本EN 61157-2007+A1-2013 | Standard means for the reporting of the acoustic output of medical diagnostic ultrasonic equipment (IEC 61157:2007 + A1:2013); German version EN 61157:2007 + A1:2013 | 正常
EN 61391-2-2010 | 超声波学.脉冲回波扫描仪.第2部分:最大渗透深度和局部动态范围的测定(IEC 61391-2-2010).德文版本EN 61391-2-2010 | Ultrasonics - Pulse-echo scanners - Part 2: Measurement of maximum depth of penetration and local dynamic range (IEC 61391-2:2010); German version EN 61391-2:2010 | 正常
EN 61846-1998 | 超声波.压力脉冲碎石器.电磁场特性 | Ultrasonics - Pressure pulse lithotripters - Characteristics of fields (IEC 61846:1998); German version EN 61846:1998 | 正常
EN 62359-2011 | 超声波学.场地特征描述.医疗诊断超声场相关的温度指数和机械指数测定的试验方法(IEC 62359-2010 + Cor.:2011);德文版本EN 62359-2011 | Ultrasonics - Field characterization - Test methods for the determination of thermal and mechanical indices related to medical diagnostic ultrasonic fields (IEC 62359:2010 + Cor.: 2011); German version EN 62359:2011 | 正常
EN 61391-1-2006 | 超音波学.脉冲回波扫描仪.第1部分:校准空间测量系统和系统点传播功能响应测量 | Ultrasonics - Pulse-echo scanners - Part 1: Techniques for calibrating spatial measurement systems and measurement of system point-spread function response (IEC 61391-1:2006); German version EN 61391-1:2006 | 正常
EN 61847-1998 | 超声波.外科装置.基本输出特性的测量和说明 | Ultrasonics - Surgical systems - Measurement and declaration of the basic output characteristics (IEC 61847:1998); German version EN 61847:1998 | 正常
EN 61266-1995 | 超声波.手持传感式多普勒胎儿心跳探测仪.性能要求及测量和报告方法 | Ultrasonics - Hand-held probe doppler foetal heartbeat detectors - Performance requirements and methods of measurement and reporting (IEC 61266:1994); German version EN 61266:1995 | 正常
ANSI Z136.3-2011 | 医疗保健中激光的安全使用标准 | Standard for Safe Use of Lasers in Health Care | 正常
IEC 60601-2-6 AMD 1-2016 | 医用电气设备 第2-6部分:微波治疗设备基本安全和基本性能专用要求.修改件1 | Medical electrical equipment - Part 2-6: Particular requirements for the basic safety and essential performance of microwave therapy equipment; Amendment 1 | 正常
IEC 60601-2-62-2013 | 医用电气设备.第2-62部分:高强度治疗性超声(HITU)设备的基本安全性和必要性能的详细要求 | Medical electrical equipment - Part 2-62: particular requirements for the basic safety and essential performance of high intensity therapeutic ultrasound (HITU) equipment | 正常
IEC 62555-2013 | 超声波.功率测量.高强度治疗性超声波(HITU)传感器和系统 | Ultrasonics - Power measurement - High intensity therapeutic ultrasound (HITU) transducers and systems | 正常
IEC/TR 62799-2013 | 医用诊断超声波场中热危害的评价模型 | Models for evaluation of thermal hazard in medical diagnostic ultrasound fields | 正常
IEC 61689-2013 | 超音波学.物理疗法系统.频率范围0.5 MHz至5 MHz的现场规范和测量方法 | Ultrasonics - Physiotherapy systems - Field specifications and methods of measurement in the frequency range 0,5 MHz to 5 MHz | 正常
IEC/TR 62653-2012 | 血液透析治疗用医疗设备安全操作导则 | Guideline for safe operation of medical equipment used for haemodialysis treatments | 正常
IEC 61157 AMD 1-2013 | 医疗诊断超声波设备的声学输出报告的标准平均值.修改件1 | Standard means for the reporting of the acoustic output of medical diagnostic ultrasonic equipment; Amendment 1 | 正常
IEC 61157 Edition 2.1-2013 | 医用超声诊断设备的声学输出报告用标准平均值 | Standard means for the reporting of the acoustic output of medical diagnostic ultrasonic equipment | 正常
IEC 60601-2-22 Edition 3.1-2012 | 医用电气设备.第2-22部分:外科,美容,治疗和诊断激光设备的基本安全性和必要性能的详细要求 | Medical electrical equipment - Part 2-22: Particular requirements for basic safety and essential performance of surgical, cosmetic, therapeutic and diagnostic laser equipment | 正常
IEC 60601-2-3-2012 | 医用电气设备 第2-3部分:短波治疗设备基本安全和基本性能专用要求 | Medical electrical equipment - Part 2-3: Particular requirements for the basic safety and essential performance of short-wave therapy equipment | 正常
IEC 60601-2-6-2012 | 医用电气设备 第2-6部分:微波治疗设备基本安全和基本性能专用要求 | Medical electrical equipment - Part 2-6: Particular requirements for the basic safety and essential performance of microwave therapy equipment | 正常
IEC 62359 Edition 2.1-2017 | 声学.声场特性.与医疗诊断超声场有关的热和机械指数测定的试验方法 | Ultrasonics - Field characterization - Test methods for the determination of thermal and mechanical indices related to medical diagnostic ultrasonic fields | 正常
IEC 62359 AMD 1-2017 | 声学.声场特性.与医疗诊断超声场有关的热和机械指数测定的试验方法.修改件1 | Ultrasonics - Field characterization - Test methods for the determination of thermal and mechanical indices related to medical diagnostic ultrasonic fields; Amendment 1 | 正常
IEC 60601-2-5-2009 | 医用电气设备.第2-5部分:超声波理疗设备基本安全性和必要性能的详细要求 | Medical electrical equipment - Part 2-5: Particular requirements for basic safety and essential performance of ultrasonic physiotherapy equipment | 正常
IEC/TS 62558-2011 | 超声波学.实时脉冲反射波扫描器.仿薄纱材质外圆人造囊仿真模型及其VDR(空鉴别比率)的三维分布定期试验和自动化求值方法 | Ultrasonics - Real-time pulse-echo scanners - Phantom with cylindical, artificial cysts in tissue-mimikring material and method for automated evaluation and periodic testing of 3-D distributions of void-detectability ratio (VDR) | 正常
IEC 62359-2010 | 声学.声场特性.与医疗诊断超声场有关的热和机械指数测定的试验方法 | Ultrasonics - Field characterization - Test methods for the determination of thermal and mechanical indices related to medical diagnostic ultrasonic fields | 正常
IEC/TR 62649-2010 | 高强度超声波治疗设备(HITU)的测量标准要求 | Requirements for measurement standards for high intensity therapeutic ultrasound (HITU) devices | 正常
IEC 62359 CORR 1-2011 | 超声波学.场特性.有关医学诊断超声波场的机械目录和热量测定用试验方法 | Ultrasonics - Field characterization - Test methods for the determination of thermal and mechanical indices related to medical diagnostic ultrasonic fields | 正常
IEC/TS 62462-2017 | 超音波学.输出试验.超频率音响理疗设备的维护指南 | Ultrasonics - Output test - Guidance for the maintenance of ultrasound physiotherapy systems | 正常
IEC 61391-1 Edition 1.1-2017 | 超音波学.脉冲反射扫描仪.第1部分:系统点传播功能响应的校准空间测量系统和测量 | Ultrasonics - Pulse-echo scanners - Part 1: Techniques for calibrating spatial measurement systems and measurement of system point-spread function response | 正常
IEC 61391-1 AMD 1-2017 | 超音波学.脉冲反射扫描仪.第1部分:系统点传播功能响应的校准空间测量系统和测量.修改件1 | Ultrasonics - Pulse-echo scanners - Part 1: Techniques for calibrating spatial measurement systems and measurement of system point-spread function response | 正常
IEC 61391-2-2010 | 超声波学.脉冲回波扫描仪.第2部分:最大渗透深度和局部动态范围的测定 | Ultrasonics - Pulse-echo scanners - Part 2: Measurement of maximum depth of penetration and local dynamic range | 正常
IEC 60601-2-37-2007 | 医疗电气设备.第2-37部分:超声波医疗诊断和监测设备的基本安全和基本性能用特殊要求 | Medical electrical equipment - Part 2-37: Particular requirements for the basic safety and essential performance of ultrasonic medical diagnostic and monitoring equipment | 正常
IEC 61847-1998 | 超声学 外科装置 基本输出特性的测量和标示 | Ultrasonics - Surgical systems - Measurement and declaration of the basic output characteristics | 正常
IEC 61846-1998 | 超音波学.压力脉冲碎石器.声场特性 | Ultrasonics - Pressure pulse lithotripters - Characteristics of fields | 正常
IEC 61157-2007 | 医疗诊断超声波设备声输出的报告用标准方法 | Standard means for the reporting of the acoustic output of medical diagnostic ultrasonic equipment | 正常
IEC 60601-2-22-2007 | 医疗电气设备.第2-22部分:外科、整容、治疗和诊断用激光设备基本安全和基本性能的特殊要求 | Medical electrical equipment - Part 2-22: Particular requirements for basic safety and essential performance of surgical, cosmetic, therapeutic and diagnostic laser equipment | 正常
IEC 61391-1-2006 | 超音波学.脉冲反射扫描仪.第1部分:系统点传播功能响应的校准空间测量系统和测量 | Ultrasonics - Pulse echo scanners - Part 1: Techniques for calibrating spatial measurement systems and measurement of system point-spread function response | 正常
IEC/TS 62306-2006 | 超声波学.野外特性.在诊断超声波场内测定温度上升的试验目标 | Ultrasonics - Field characterisation - Test objects for determination temperature elevation in diagnostic ultrasonic fields | 正常
IEC 61266-1994 | 超声学 手持探头式多普勒胎儿心音检测仪 性能要求及测量和报告方法 | Ultrasonics - Hand-held probe Doppler foetal heartbeat detectors - Performance requirements and methods of measurement and reporting | 正常
IEC 60601-2-3 Edition 3.1-2016 | 医用电气设备 第2-3部分:短波治疗设备基本安全和基本性能专用要求 | Medical electrical equipment - Part 2-3: Particular requirements for the basic safety and essential performance of short-wave therapy equipment | 正常
IEC 60601-2-6 Edition 2.1-2016 | 医用电气设备 第2-6部分:微波治疗设备基本安全和基本性能专用要求 | Medical electrical equipment - Part 2-6: Particular requirements for the basic safety and essential performance of microwave therapy equipment | 正常
IEC 60601-2-3 AMD 1-2016 | 医用电气设备 第2-3部分:短波治疗设备基本安全和基本性能专用要求.修改件1 | Medical electrical equipment - Part 2-3: Particular requirements for the basic safety and essential performance of short-wave therapy equipment; Amendment 1 | 正常
IEC 60601-2-37 Edition 2.1-2015 | 医疗电气设备.第2-37部分:超声波医疗诊断和监测设备的基本安全和基本性能用特殊要求 | Medical electrical equipment - Part 2-37: Particular requirements for the basic safety and essential performance of ultrasonic medical diagnostic and monitoring equipment | 正常
IEC 60601-2-37 AMD 1-2015 | 医疗电气设备.第2-37部分:超声波医疗诊断和监测设备的基本安全和基本性能用特殊要求.修改件1 | Medical electrical equipment - Part 2-37: Particular requirements for the basic safety and essential performance of ultrasonic medical diagnostic and monitoring equipment; Amendment 1 | 正常
DIN EN 62467-1-2016 | 医疗电气设备.短程治疗用剂量测定仪.第1部分:井型电离室使用的仪器(IEC 62467-1-2009).德文版本EN 62467-1-2015 | Medical electrical equipment - Dosimetric instruments as used in brachytherapy - Part 1: Instruments based on well-type ionization chambers (IEC 62467-1:2009); German version EN 62467-1:2015 | 正常
DIN EN 60601-2-37-2016 | 医疗电气设备.第2-37部分:超声波医疗诊断和监测设备的基本安全和必要性能用详细要求(IEC 60601-2-37-2007+A1-2015).德文版本EN 60601-2-37-2008+A11-2011+A1-2015 | Medical electrical equipment - Part 2-37: Particular requirements for the basic safety and essential performance of ultrasonic medical diagnostic and monitoring equipment (IEC 60601-2-37:2007 + A1:2015); German version EN 60601-2-37:2008 + A11:2011 + A1:2015 | 正常
DIN 6876-2014 | 医疗磁共振系统操作 | Operation of medical magnetic resonance systems | 正常
DIN EN 61266-1996 | 超声波.手持传感式多普勒胎儿心跳探测仪.性能要求及测量和报告方法 | Ultrasonics - Hand-held probe doppler foetal heartbeat detectors - Performance requirements and methods of measurement and reporting (IEC 61266:1994); German version EN 61266:1995 | 正常
DIN 6800-5-2005 | 光子辐射和电子辐射用带探针型探测器的剂量测定程序.第5部分:热致发光剂量测定 | Procedures of dosimetry with probe-type detectors for photon and electron radiation - Part 5: Thermoluminescence dosimetry | 正常
DIN VDE 0753-1-1983 | 高频外科设备使用规则.指南 | Rules of application for high-frequency surgery VDE Guide | 正常
DIN EN 62555-2015 | 超声学. 功率测量. 高强度治疗性超声 (HITU) 换能器和系统 (IEC 62555-2013); 德文版本EN 62555-2014 | Ultrasonics - Power measurement - High intensity therapeutic ultrasound (HITU) transducers and systems (IEC 62555:2013); German version EN 62555:2014 | 正常
DIN EN 61689-2013 | 超音波学.物理疗法系统.频率范围0.5 MHz至5 MHz的现场规范和测量方法(IEC 61689-2013).德文版本EN 61689-2013 | Ultrasonics.Physiotherapy systems.Field specifications and methods of measurement in the frequency range 0,5 MHz to 5 MHz (IEC 61689:2013); German version EN 61689;2013 | 正常
DIN EN 61157-2013 | 医疗诊断超声波设备的声学输出报告的标准平均值(IEC 61157-2007+A1-2013).德文版本EN 61157-2007+A1-2013 | Standard means for the reporting of the acoustic output of medical diagnostic ultrasonic equipment (IEC 61157:2007 + A1:2013); German version EN 61157:2007 + A1:2013 | 正常
DIN EN 61391-2-2010 | 超声波学.脉冲回波扫描仪.第2部分:最大渗透深度和局部动态范围的测定(IEC 61391-2-2010).德文版本EN 61391-2-2010 | Ultrasonics - Pulse-echo scanners - Part 2: Measurement of maximum depth of penetration and local dynamic range (IEC 61391-2:2010); German version EN 61391-2:2010 | 正常
DIN CLC/TS 61949-2010 | 超声学.原位表征.有限振幅超声波束原位曝光评估 | Ultrasonics - Field characterization - In situ exposure estimation in finite-amplitude ultrasonic beams (IEC/TS 61949:2007); German version CLC/TS 61949:2008 | 正常
DIN EN 61846-1999 | 超声波.压力脉冲碎石器.电磁场特性 | Ultrasonics - Pressure pulse lithotripters - Characteristics of fields (IEC 61846:1998); German version EN 61846:1998 | 正常
DIN EN 62359-2011 | 超声波学.场地特征描述.医疗诊断超声场相关的温度指数和机械指数测定的试验方法(IEC 62359-2010 + Cor.:2011);德文版本EN 62359-2011 | Ultrasonics - Field characterization - Test methods for the determination of thermal and mechanical indices related to medical diagnostic ultrasonic fields (IEC 62359:2010 + Cor.: 2011); German version EN 62359:2011 | 正常
DIN EN 60601-2-22 Bb.1-2007 | 激光制品的安全性.人类激光束的安全使用指南 | Safety of laser products - Guidelines for the safe use of laser beams on humans (IEC/TR 60825-8:2006) | 正常
DIN EN 61391-1-2007 | 超音波学.脉冲回波扫描仪.第1部分:校准空间测量系统和系统点传播功能响应测量 | Ultrasonics - Pulse-echo scanners - Part 1: Techniques for calibrating spatial measurement systems and measurement of system point-spread function response (IEC 61391-1:2006); German version EN 61391-1:2006 | 正常
DIN EN 61847-1998 | 超声波.外科装置.基本输出特性的测量和说明 | Ultrasonics - Surgical systems - Measurement and declaration of the basic output characteristics (IEC 61847:1998); German version EN 61847:1998 | 正常
JIS T0601-2-6-2015 | 医用电气设备. 第2-6部分: 微波治疗设备基本安全和基本性能的特殊要求 | Medical electrical equipment -- Part 2-6: Particular requirements for the basic safety and essential performance of microwave therapy equipment | 正常
JIS T0601-2-5-2015 | 医用电气设备. 第2-5部分: 超声理疗设备基本安全和基本性能的特殊要求 | Medical electrical equipment -- Part 2-5: Particular requirements for the basic safety and essential performance of ultrasonic physiotherapy equipment | 正常
JIS T0601-2-3-2015 | 医用电气设备. 第2-3部分: 短波治疗设备基本安全和基本性能的特殊要求 | Medical electrical equipment -- Part 2-3: Particular requirements for the basic safety and essential performance of short-wave therapy equipment | 正常
JIS T0601-2-37-2013 | 医疗电气设备.第2-37部分:超声波医疗诊断和监测设备的基本安全性和基本性能详细要求 | Medical electrical equipment -- Part 2-37: Particular requirements for the basic safety and essential performance of ultrasonic medical diagnostic and monitoring equipment | 正常
JIS T1205 ERRATUM 1-2005 | 勘误 | ERRATUM | 正常
JIS T1506-2005 | 手持式超声波探头多普勒胎儿心跳探测仪.性能要求、测量和报告方法 | Ultrasonics -- Hand-held probe Doppler foetal heartbeat detectors -- Performance requirements and methods of measurement and reporting | 正常
JIS T1205-2005 | 轴向长度的超声波眼部测量系统 | Ultrasound ophthalmic measuring system for the axial length | 正常
JIS T2001-2005 | 家用紫外线和红外线治疗装置 | Ultraviolet and Infra-red therapy apparatus for home use | 正常
JIS T1501-2005 | 超声波脉冲反射诊断装置性能测量的常规方法 | General methods of measuring the performance of ultrasonic pulse-echo diagnostic equipment | 正常
JIS T1204-1988 | 激光凝固仪 | Laser photocoagulators | 正常
NF C74-372/A1-2016 | 医疗电气设备. 第2-6部分: 微波治疗设备基本安全和基本性能的详细要求 | Medical electrical equipment - Part 2-6 : particular requirements for the basic safety and essential performance of microwave therapy equipment | 正常
NF C74-370/A1-2016 | 医疗电气设备. 第2-3部分: 短波治疗设备基本安全和基本性能的详细要求 | Medical electrical equipment - Part 2-3 : particular requirements for the basic safety and essential performance of short-wave therapy equipment | 正常
NF C74-262-2015 | 医疗电气设备. 第2-62部分: 高强度超声 (HIFU) 治疗设备基本安全和基本性能的特殊要求 | Medical electrical equipment - Part 2-62 : particular requirements for the basic safety and essential performance of high intensity therapeutic ultrasound (HITU) equipment | 正常
NF C74-335/A1-2015 | 医疗电气设备. 第2-37部分: 超声医学诊断和监测设备基本安全和基本性能的特殊要求 | Medical electrical equipment - Part 2-37 : particular requirements for the basic safety and essential performance of ultrasonic medical diagnostic and monitoring equipment | 正常
NF C74-372-2015 | 医疗电气设备. 第2-6部分: 微波治疗设备基本安全和基本性能的特殊要求 | Medical electrical equipment - Part 2-6 : particular requirements for the basic safety and essential performance of microwave therapy equipment | 正常
NF C74-064-2015 | 医疗电气设备. 第2-64部分: 光离子束医用电气设备基本安全和基本性能的特殊要求 | Medical electrical equipment - Part 2-64 : particular requirements for the basic safety and essential performance of light ion beam medical eletrical equipment | 正常
NF C74-237-2015 | 在磁共振环境中标价医疗器械和其他安全物品的标准实施规程 | Standard practice for marking medical devices and other items for safety in the magnetic resonance environement | 正常
NF C74-122/A1-2015 | 医疗电气设备. 第2-33部分: 医疗诊断用磁共振设备的基本安全和基本性能的特殊要求 | Medical electrical equipment - Part 2-33 : Particular requirements for the basic safety and essential performance of magnetic resonance equipment for medical diagnosis | 正常
NF C74-365-2009 | 医用电器设备.第2-2部分:高频外科手术设备和高频外科手术附件基本安全性和必要性能的详细要求 | Medical electrical equipment - Part 2-2 : particular requirements for the basic safety and essential performance of high frequency surgical equipment and high frequency surgical accessories. | 正常
NF S97-132-2-2009 | 激光和激光相关设备.手术布单和/或病人保护覆盖物耐激光性的试验方法和分类.第2部分:二次点火 | Lasers and laser-related equipment - Test method and classification for the laser-resistance of surgical drapes and/or patient-protective covers - Part 2 : secondary ignition. | 正常
NF C74-337-1987 | 医用电气设备.诊断用超声波设备超声波设备质量跟进指导 | Medical electrical equipment - Ultrasound equipment for diagnosticGuide for the quality follow-up of ultrasonographic installations | 正常
NF C97-904-2008 | 医疗诊断超声波设备的声输出报告用标准方法 | Standard means for the reporting of the acoustic output of medical diagnostic ultrasonic equipment. | 正常
NF C74-351-3-2008 | 超声波学.水听器.第3部分:超音波场小于40MHz的水听器的性能 | Ultrasonics - Hydrophones - Part 3 : properties of hydrophones for ultrasonic fields up to 40 MHz. | 正常
NF C74-351-1-2008 | 超声波学.水听器.第1部分:医疗超声波场小于40MHz水听器的测量和特性 | Ultrasonics - Hydrophones - Part 1 : measurement and characterization of medical ultrasonic fields up to 40 MHz. | 正常
NF C74-335/A2-2006 | 医用电气设备.第2-37部分:超声波医疗诊断和监控设备安全的特殊要求 | Medical electrical equipment - Part 2-37 : particular requirements for the safety of ultrasonic medical diagnostic and monitoring equipment. | 正常
NF C97-910-2006 | 超声波.压力脉冲碎石器.电磁场特性 | Ultrasonics - Pressure pulse lithotripters - Characteristics of fields. | 正常
NF C97-911-2006 | 超声学.外科器械.基本输出特性的测量和标示 | Ultrasonics - Surgical systems - Measurement and declaration of the basic output characteristics. | 正常
NF C74-338-2006 | 超声.聚焦传感器.定义和传送场的测量方法 | Ultrasonics - Focusing transducers - Definitions and measurement methods for the transmitted fields. | 正常
NF C97-907-1995 | 超声场.使用频率范围在0.5MHz至15MHz 水下听音器的医疗超声设备所产生的超声场的测量和特性化指南 | Ultrasonics fields. Guidance for the measurement and characterization of ultrasonic fields generate by medical ultrasonic equipment using hydrophones in the frequency range 0,5 MHz to 15 MHz. | 正常
NF C74-306-1986 | 医疗用电气设备.超声波治疗仪.第2部分:安全的特殊要求 | Medical electrical equipment. Ultrasonic therapy equipment. Part 2 : particular requirements for safety. | 正常
NF C74-370/A1-2005 | 医用电气设备.第2部分:短波治疗设备安全性的特殊要求 | Medical electrical equipment - Part 2 : particular requirements for the safety of short-wave therapy equipment. | 正常
NF C74-335/A1-2005 | 医用电气设备.第2-37部分:超声波医疗诊断和监控设备安全的特殊要求 | Medical electrical equipment - Part 2-37 : particular requirements for the safety of ultrasonic medical diagnostic and monitoring equipment. | 正常
NF C74-371-2005 | 医用电气设备 第2-5部分:超声理疗设备安全专用要求 | Medical electrical equipment - Part 2-5 : particular requirements for the safety of ultrasonic physiotherapy equipment. | 正常
NF C97-908-1996 | 超声波学.手持探头式多普勒胎儿心音检测器.性能要求和测量及报告方法 | Ultrasonics. Hand-held probe doppler foetal heartbeat detectors. Performance requirements and methods of measurement and reporting. | 正常
NF C97-904-1994 | 医疗诊断超声波设备的声输出申报的要求 | Requirements for the declaration of the acoustic output of medical diagnostic ultrasonic equipment. | 正常
NF C97-904/A1-2013 | 医疗诊断超声波设备的声输出报告用标准方法 | Standard means for the reporting of the acoustic output of medical diagnostic ultrasonic equipment | 正常
NF C74-335-2008 | 医用电气设备.第2-37部分:医疗用超声波诊断和监测设备的基本安全性和基本性能的详细要求 | Medical electrical equipment - Part 2-37 : particular requirements for the basic safety and essential performance of ultrasonic medical diagnostic and monitoring equipment | 正常
NF C97-914-2011 | 超声波.声场特性.与医疗诊断超声场有关的热和机械指数测定的试验方法 | Ultrasonics - Field characterization - Test methods for the determination of thermal and mechanical indices related to medical diagnostic ultrasonic fields. | 正常
NF C74-350-2009 | 医疗用电气设备.第2-50部分:对于婴儿光照疗法设备的基本安全性和性能的特殊要求 | Medical electrical equipment - Part 2-50 : particular requirements for the basic safety and essential performance of infant phototherapy equipment. | 正常
NF C74-336-1988 | 医疗用电气设备.诊断用超声波仪器.特殊诊断用分类 | Medical electrical equipment. Ultrasound equipment for diagnostic. Classification of specified diagnostic applications. | 正常
NF C74-335/A11-2012 | 医疗电气设备 - 第2-37部分: 超声波医疗诊断和监测设备基本安全和主要性能的特殊要求 | Medical electrical equipment - Part 2-37 : particular requirements for the basic safety and essential performance of ultrasonic medical diagnostic and monitoring equipment | 正常
NF C97-913-2-2011 | 超声波脉冲反射扫描仪.第2部分:穿透最大深度和局部动态范围的测量. | Ultrasonics - Pulse-echo scanners - Part 2 : measurement of maximum depth of penetration and local dynamic range. | 正常
NF C74-365/A11-2012 | 医用电气设备.第2-2部分:高频外科设备和高频外科配件的基本安全性和必要性能的详细要求 | Medical electrical equipment - Part 2-2 : particular requirements for the basic safety and essential performance of high frequency surgical equipment and high frequency surgical accessories. | 正常
GB 10152-2009 | B型超声诊断设备 | B mode ultrasonic diagnostic equipment | 正常
GB 9706.4-2009 | 医用电气设备 第2-2部分:高频手术设备安全专用要求 | Medical electrical equipment-Part2-2:Particular requirements for the safety of high frequency surgical equipment | 正常
GB/T 15214-2008 | 超声诊断设备可靠性试验要求和方法 | Requirements and methods of reliability test for ultrasonic diagnostic equipment | 正常
GB/T 16846-2008 | 医用超声诊断设备声输出公布要求 | Requirement for the declaration of acoustic output of medical diagnostic ultrasonic equipment | 正常
GB 9706.9-2008 | 医用电气设备 第2-37部分:超声诊断和监护设备安全专用要求 | Medical electrical equipment Part 2-37:Particular requirements for the safety of ultrasonic medical diagnostic and monitoring equipment | 正常
GB 9706.7-2008 | 医用电气设备 第2-5部分:超声理疗设备安全专用要求 | Medical electrical equipment Part 2-5:Particular requirements for the safety of ultrasonic physiotherapy equipment | 正常
GB/T 15261-2008 | 超声仿组织材料声学特性的测量方法 | Measurement methods for acoustic properties of ultrasonically tissue-mimicking materials | 正常
GB/T 16407-2006 | 声学.医用体外压力脉冲碎石机的声场特性和测量 | Acoustics. Characteristics and measurements of field of pressure pulse lithotripters | 正常
GB 12257-2000 | 氦氖激光治疗机通用技术条件 | General specification of He-Ne laser medical equipment | 正常
GB 11748-1999 | 二氧化碳激光治疗机 |  | (作废)
GB 16846-1997 | 医用超声诊断设备声输出公布要求 |  | (作废)
GB 10153-1988 | B型机械扇形扫描超声诊断设备 |  | (作废)
GB 10152-1997 | B型超声诊断设备 |  | (作废)
GB/T 20249-2006 | 声学.聚焦超声换能器发射场特性的定义与测量方法 | Acoustics.Definitions and measurement methods for the transmitted fields of focusing ultrasonic transducers | 正常
GB 9706.39-2008 | 医用电气设备.第2-39部分:腹膜透析设备的安全专用要求 | Medical electrical equipment.Part 2-39:Particular requirements for the safety of peritoneal dialysis equipment | 正常
GB 11748-2005 | 二氧化碳激光治疗机 | Carbon dioxide laser treating intrument | 正常
GB 13798-1992 | 高频手术器 |  | (作废)
GB 6386-1986 | 超声治疗设备专用安全要求 |  | (作废)
GB 6385-1986 | 超声诊断设备专用安全要求 |  | (作废)
GB/T 15214-1994 | 医用B型超声诊断设备 可靠性试验要求和方法 |  | (作废)
GB 9706.9-1997 | 医用电气设备 医用超声诊断和监护设备专用安全要求 |  | (作废)
GB 9706.7-1994 | 医用电气设备 超声治疗设备专用安全要求 |  | (作废)
GB 9706.4-1999 | 医用电气设备 第二部分:高频手术设备安全专用要求 |  | (作废)
YY/T 1480-2016 | 基于声辐射力的超声弹性成像设备性能试验方法 | Test methods of performance for ultrasonic elasticity imaging equipment based on acoustic radiation force | 正常
YY/T 1476-2016 | 超声膀胱扫描仪通用技术条件 | General technical requirements for ultrasound bladder scanner | 正常
YY/T 1420-2016 | 医用超声设备环境要求及试验方法 | Environmental requirement and test methods for medical ultrasonic equipment | 正常
YY/T 1419-2016 | 超声.准静态应变弹性性能试验方法 | Ultrasound.Test methods of performance for quasi-static strain sonoelasticity | 正常
YY 1475-2016 | 激光治疗设备 Q开关掺钕钇铝石榴石激光治疗机 | Laser therapeutic equipment.Q-Switched Nd:YAG laser equipment | 正常
YY 0592-2016 | 高强度聚焦超声(HIFU)治疗系统 | High intensity focused ultrasound therapy system | 正常
YY 0299-2016 | 医用超声耦合剂 | Medical ultrasonic couplants | 正常
JJF 1518-2015 | 医用超声声场测量系统校准规范 | Calibration Specification for Medical Ultrasonic Field Measurement Systems | 正常
YY/T 1279-2015 | 三维超声成像性能试验方法 | Test method for performance of three-dimensional ultrasonography | 正常
YY/T 1278-2015 | 医用超声设备换能器声束面积测量方法 | Measuring methods for beam area of medical ultrasound equipment transducer | 正常
YY/T 1084-2015 | 医用超声诊断设备声输出功率的测量方法 | Measurement methods of ultrasonic output power for medical diagnostic ultrasonic equipments | 正常
YY/T 0593-2015 | 超声经颅多普勒血流分析仪 | Ultrasound transcranial Doppler system | 正常
YY/T 0107-2015 | 眼科A型超声测量仪 | A mode ultrasonic biometer for ophthalmolog scanner | 正常
YY 0599-2015 | 激光治疗设备 准分子激光角膜屈光治疗机 | Therapeutic laser equipment.Excimer laser cornea ametropia cure system | 正常
YY/T 1142-2013 | 医用超声设备与探头频率特性的测试方法 | Methods of measuring the frequency of medical ultrasonic equipment and probe | 正常
YY/T 0865.3-2013 | 超声水听器第3部分：40MHz以下超声场用水听器的特性 | Ultrasonics.Hydrophones.Part3:Properties of hydrophones for ultrasonic fields up to 40 MHz | 正常
YY 0109-2013 | 医用超声雾化器 | Medical ultrasonic nebulizer | 正常
YY/T 0906-2013 | B型超声诊断设备性能试验方法配接腔内探头 | Performance testing methods for B-mode ultrasonic diagnostic equipment with intra-cavity probe | 正常
SN/T 1672.8-2013(2017) | 进出口医用设备检验规程 第8部分:超声诊断和理疗设备 | Rules for the inspection of import and export medical equipment—Part8:Ultrasonic diagnostic and physiotherapy equipment | 正常
YY/T 0865.1-2011 | 超声 水听器 第一部分:40MHz以下医用超声场的测量和特征描绘 | Ultrasonic. Hydrophone. Part 1:Measurement and characterization of medical ultrasonic fields up to 40 MHz | 正常
YY 0849-2011 | 眼科高频超声诊断仪 | Ophthalmic high frequency ultrasound scanner | 正常
YY 0846-2011 | 激光治疗设备 掺钬钇铝石榴石激光治疗机 | Laser therapeutic equipment-Ho:YAG laser equipment | 正常
YY 0845-2011 | 激光治疗设备.半导体激光光动力治疗机 | Laser therapeutic equipment.Diode laser equipment for photodynamic therapy | 正常
YY 0844-2011 | 激光治疗设备.脉冲二氧化碳激光治疗机 | Laser therapeutic equipment.Pulsed carbon dioxide laser treating instrument | 正常
YY 0830-2011 | 浅表组织超声治疗设备 | Ultrasonic therapy equipment for superficial tissue | 正常
YY 0307-2011 | 连续波掺钕钇铝石榴石激光治疗机 | Nd:YAG laser medical instrument with continuous wave(CW) | 正常
YY/T 0850-2011 | 超声诊断和监护设备声输出参数测量不确定度评定指南 | Guide for evaluation of uncertainty in measurement of ultrasonic diagnostic and monitoring equipment acoustic output characteristics | 正常
YY/T 0797-2010 | 超声 输出试验 超声理疗设备维护指南 | Ultrasonics.Output test.Guide for the maintenance of ultrasound physiotherapy systems | 正常
YY 0774-2010 | 超声骨密度仪 | Ultrasound bone sonometers | 正常
YY 0773-2010 | 眼科B型超声诊断仪通用技术条件 | General technical requirements for ophthalmic ultrasound B-mode scan | 正常
YY 0789-2010 | Q开关Nd:YAG激光眼科治疗机 | Q-Switched Nd:YAG laser ophthalmic system | 正常
YY/T 0751-2009 | 超声洁牙设备.输出特性的测量和公布 | Ultrasonics.Dental descaler systems.Measurement and declaration of the output characteristics | 正常
YY/T 0749-2009 | 超声.手持探头式多普勒胎儿心率检测仪.性能要求及测量和报告方法 | Ultrasonics.Hand-held probe Doppler foetal hearbeat detectors.Performance requirements and methods of measurement and reporting | 正常
YY/T 0748.1-2009 | 超声脉冲回波扫描仪.第1部分:校准空间测量系统和系统点扩展函数响应测量的技术方法 | Ultrasonics.Pulse-echo scanner.Part 1:Techniques for calibrating spatial measurement systems and measurement of system point-spread function response | 正常
YY/T 0162.1-2009 | 医用超声设备档次系列.第1部分:B型超声诊断设备 | Medical ultrasound equipment class series.Part 1:B mode ultrasound disgnostic equipment | 正常
YY/T 0110-2009 | 医用超声压电陶瓷材料 | Piezoelectric materials for medical ultrasound | 正常
YY 1090-2009 | 超声理疗设备 | Ultrasonic physiotherapy system | 正常
YY 0460-2009 | 超声洁牙设备 | Ultrasonics dental descaler equipment | 正常
YY 0449-2009 | 超声多普勒胎儿监护仪 | Ultrasonic Doppler fetal monitor | (作废)
YY 0448-2009 | 超声多普勒胎儿心率仪 | Ultrasonic Doppler foetal heartbeat detector | (作废)
YY 0767-2009 | 超声彩色血流成像系统 | Ultrasonic colour flow imaging systems | 正常
YY 0766-2009 | 眼科晶状体超声摘除和玻璃体切除设备 | Lens ultrasonic removal and vitrectomy devices for ophthalmic surgery | 正常
YY/T 0756-2009 | 光学和光学仪器 激光和激光相关设备 激光光束功率(能量)密度分布的试验方法 |  | 正常
YY 0322-2009 | 高频电灼治疗仪 | High frequency fulguration therapy equipment | 正常
YY/T 0939-2014 | 超声骨密度仪 宽带超声衰减(BUA)的试验方法 | Ultrasound bone sonometers.Test method of broadband ultrasound attenuation (BUA) | 正常
YY/T 0938-2014 | B型超声诊断设备核查指南 | Guide for the check of B mode ultrasonic diagnostic equipment | 正常
YY/T 0937-2014 | 超声仿组织体模的技术要求 | Technical requirments for ultrasonically tissue-mimicking phantom | 正常
JJF 1438-2013 | 彩色多普勒超声诊断仪（血流测量部分）校准规范 | Calibration Specification for Color Doppler Ultrasound Diagnostic Equipments.Blood Flow Measurement | 正常
YY/T 0642-2014 | 超声声场特性 确定医用诊断超声热场和机械指数的试验方法 | Ultrasonics.Field characterization.Test methods for the determination of thermal and mechanical indices related to medical diagnostic ultrasonic fields | 正常
YY/T 0458-2014 | 超声多普勒仿血流体模的技术要求 | Technical requirements for ultrasonically blood-mimicking Doppler phantom | 正常
YY/T 0644-2008 | 超声外科手术系统基本输出特性的测量和公布 | Ultrasonics-surgical systems.Measurement and declaration of the basic output characteristics | 正常
YY/T 0643-2008 | 超声脉冲回波诊断设备性能测试方法 | Methods of measuring the performance of ultrasonic plus-echo diagnostic equipment | 正常
YY/T 0642-2008 | 超声 声场特性 确定医用诊断超声场热和机械指数的试验方法 | Ultrasonics--Field characterization -Test methods for the determination of thermal and mechanical indices related to medical diagnostic ultrasonic fields | (作废)
YY/T 0108-2008 | 超声诊断设备M模式试验方法 | Testing methods for M-mode of ultrasonic diagnostic equipment | 正常
YY/T 0705-2008 | 超声连续波多普勒系统试验方法 | Ultrasonics.Continuous-wave Doppler systems.Test procedures | 正常
YY/T 0704-2008 | 超声脉冲多普勒诊断系统性能试验方法 | Ultrasonics-Pulsed Doppler diagnostic system-Test procedures to determine performance | 正常
YY/T 0703-2008 | 超声实时脉冲回波系统性能试验方法 | Ultrasonics.Real-time pulse-echo systems.Test procedures to determine performance specifications | 正常
YY/T 1089-2007 | 单元式脉冲回波超声换能器的基本电声特性和测量方法 | Electroacoustic characteristics and measurement methods of single element pulse-echo ultrasonic transducers | 正常
YY/T 1088-2007 | 在0.5MHz至15MHz频率范围内采用水听器测量与表征医用超声设备声场特性的导则 | Guidance for the measurement and characterization of ultrasonic fields generated by medical ultrasonic equipment using hydrophones in the frequency range 0.5MHz to 15MHz | 正常
YY/T 1085-2007 | 毫瓦级超声源 | Ultrasonic sources at milliwatt levels | 正常
YY/T 1084-2007 | 医用超声诊断设备声输出功率的测量方法 | Methods of measuring the sound power of ultrasonic diagnostic equipment for medical use | (作废)
YY 0607-2007 | 医用电气设备 第2部分:神经和肌肉刺激器安全专用要求 | Medical electrical equipment--Part 2:Particular requirements for the safety of nerve and muscle stimulators | 正常
JJG 893-2007 | 超声多普勒胎心仪超声源检定规程 | Verification Regulation of Ultrasonic Source of Ultrasonic Doppler Foetal Meters | 正常
SN/T 1672.4-2005(2017) | 进出口医用设备检验规程 第4部分:B型超声诊断设备 | Rules for the inspection of medical equipment for import and export--Part 4: B mode ultrasonic diagnostic equipment | 正常
YY/T 1142-2003 | 医用超声诊断和监护设备频率特性的测试法 | Methods of measuring the frequency of medical diagnostic and monitoring ultrasonic equipment | (作废)
YY 0307-2004 | 连续波掺钕钇铝石榴石激光治疗机通用技术条件 | General specification of Nd: YAG laser medical instrument with continuous wave (CW) | (作废)
SN/T 1430.1-2004 | 进口医疗器械检验规程 医用超声诊断和治疗设备 | Rules for the inspection of medical electrical equipment for import -- Ultrasonic medical diagnostic and therapy equipment | (作废)
YY 0284-1996 | 氦氖激光血管内照射治疗仪通用技术条件 | The general speicification of He-Ne laser medical instrument for ILIB | (作废)
YY/T 1090-2004 | 超声理疗设备 | Ultrasonic physiotherapy system | (作废)
YY 91087-1999 | 超短波治疗设备专用安全要求 | Particular requirements for safety of ultra-short-wave therapy equipment | 正常
YY 0107-2005 | 眼科A型超声测量仪 | A mode ultrasonic biometer for ophthalmology | (作废)
YY/T 0111-2005 | 超声多普勒换能器技术要求和试验方法 | Technical requirements and test methods for ultrasonic Doppler transducer | 正常
YY 0593-2005 | 超声经颅多普勒血液分析仪 | Ultrasound Tran cranial Doppler system | (作废)
YY 0592-2005 | 高强度聚焦超声(HIFU)治疗系统 | High intensity focused ultrasound therapy system | (作废)
YY/T 0163-2005 | 医用超声测量水听器特性和校准 | Characteristics and calibration of hydrophones for medical ultrasonic fields | 正常
YY/T 0458-2003 | 超声多普勒仿血流体模的技术要求 | Technical requirements for ultrasonically blood-mimicking Doppler phantom | (作废)
YY/T 0163-1994 | 医用超声测量水听器特性和校准 |  | (作废)
YY/T 0162.1-1994 | 医用超声设备档次系列 第一部分:B型超声诊断设备 |  | (作废)
YY/T 0109-1993 | 超声雾化器通用技术条件 |  | (作废)
YY/T 0111-1993 | 超声多普勒换能器技术要求和试验方法 |  | (作废)
YY 91086-1999 | 超短波治疗设备技术条件 | Specifications of ultra-short-wave therapy equipment | 正常
YY 0284-2004 | 氦氖激光血管内照射治疗仪通用技术条件 | The general specification of He-Ne laser medical instrument for ILIB | (作废)
YY 0013-1990 | 超声多普勒胎儿诊断设备 |  | (作废)
YY 0460-2003 | 超声洁牙设备 | Ultrasonics dental descaler equipment | (作废)
YY 0449-2003 | 超声多普勒胎儿监护仪 | Ultrasonic Doppler foetal monitor | (作废)
YY 0448-2003 | 超声多普勒胎儿心率仪 | Ultrasonic Doppler foetal heartbeat detector | (作废)
YY 0164-1994 | 超声多普勒胎儿监护仪 |  | (作废)
YY 0322-2000 | 高频电灼治疗仪 | High frequency electrocautery therapy equipment | (作废)
YY 0109-2003 | 医用超声雾化器 | Medical ultrasonic nebulizer | (作废)
YY 0108-1993 | M型脉冲反射式超声诊断设备 |  | (作废)
YY 0107-1993 | A型脉冲反射式超声诊断设备 |  | (作废)
YY 0307-1998 | 连续波掺钕钇铝石榴石激光治疗机通用技术条件 | General specification of Nd:YAG laser medical instrument with continuous wave (CW) | (作废)
YY 0042-1991 | 高频喷射呼吸机 | Medical suture needle | (作废)
YY 0016-1993 | 低频电子脉冲治疗仪 |  | (作废)