## Sheet1
QQ：543060174/327814406 | 咨询电话:010-61272284 400-090-1985 | 网址：http://www.stdbook.org | E-MAIL：gwbz@263.net
标准号 | 中文名 | 英文名 | 状态
ASTM D877/D877M-2013 | 使用圆盘电极测定绝缘液体介电击穿电压的标准试验方法 | Standard Test Method for Dielectric Breakdown Voltage of Insulating Liquids Using Disk Electrodes | 正常
ASTM D2668-2007(2013) | 利用红外线吸收法测定电绝缘油中2,6-二叔丁基对甲酚和2,6-二叔丁基对苯酚的标准试验方法 | Standard Test Method for 2,6-di-tert-Butyl- p-Cresol and 2,6-di-tert-Butyl Phenol in Electrical Insulating Oil by Infrared Absorption | 正常
ASTM D2144-2007(2013) | 用红外线吸收法对电气绝缘油检验的标准实施规程 | Standard Practices for Examination of Electrical Insulating Oils by Infrared Absorption | 正常
ASTM D1533-2012 | 用卡尔·费歇尔滴定法测定绝缘液体中水的标准试验方法 | Standard Test Method for Water in Insulating Liquids by Coulometric Karl Fischer Titration | 正常
ASTM D3635-2013 | 用原子吸收分光光度法测定电绝缘油中溶解铜含量的标准试验方法 | Standard Test Method for Dissolved Copper In Electrical Insulating Oil By Atomic Absorption Spectrophotometry | 正常
ASTM D831/D831M-2012 | 电缆及电容器油的气体含量的标准试验方法 | Standard Test Method for Gas Content of Cable and Capacitor Oils | 正常
ASTM D2440-2013 | 矿物绝缘油氧化稳定性的标准试验方法 | Standard Test Method for Oxidation Stability of Mineral Insulating Oil | 正常
ASTM D2225-2004(2012) | 电绝缘用硅酮液的标准试验方法 | Standard Test Methods for Silicone Fluids Used for Electrical Insulation | 正常
ASTM D1934-1995(2012) | 用开杯法作电绝缘石油的氧化老化的标准试验方法 | Standard Test Method for Oxidative Aging of Electrical Insulating Petroleum Oils by Open-Beaker Method | 正常
ASTM D3300-2012 | 在脉冲条件下石油成因的绝缘油的电介质击穿电压的标准试验方法 | Standard Test Method for Dielectric Breakdown Voltage of Insulating Oils of Petroleum Origin Under Impulse Conditions | 正常
ASTM D3455-2011 | 建筑材料同石油制电绝缘油兼容性的标准试验方法 | Standard Test Methods for Compatibility of Construction Material with Electrical Insulating Oil of Petroleum Origin | 正常
ASTM D4768-2011 | 用气相色谱法分析隔离液中的2,6-二叔丁基对甲酚和2,6-二叔丁基丁基苯粉的标准试验方法 | Standard Test Method for Analysis of 2,6-Ditertiary-Butyl Para-Cresol and 2,6-Ditertiary-Butyl Phenol in Insulating Liquids by Gas Chromatography | 正常
ASTM D1816-2012 | 用VDE电极测量绝缘油介电击穿电压的标准试验方法 | Standard Test Method for Dielectric Breakdown Voltage of Insulating Liquids Using VDE Electrodes | 正常
ASTM D1275-2015 | 电绝缘液体腐蚀性硫的标准试验方法 | Standard Test Method for Corrosive Sulfur in Electrical Insulating Liquids | 正常
ASTM D1816-2012(2019) |  | Standard Test Method for Dielectric Breakdown Voltage of Insulating Liquids Using VDE Electrodes | 正常
ASTM D117-2018 |  | Standard Guide for Sampling, Test Methods, and Specifications for Electrical Insulating Liquids | 正常
ASTM D4059-2000(2018) |  | Standard Test Method for Analysis of Polychlorinated Biphenyls in Insulating Liquids by Gas Chromatography | 正常
ASTM D2140-2008(2017) | 计算石油制绝缘油碳类组分的标准试验方法 | Standard Practice for Calculating Carbon-Type Composition of Insulating Oils of Petroleum Origin | 正常
ASTM D1903-2008(2017) | 石油电绝缘液体和氯代联苯的热膨胀系数标准测定方法 | Standard Practice for Determining the Coefficient of Thermal Expansion of Electrical Insulating Liquids of Petroleum Origin, and Askarels | 正常
ASTM D1534-1995(2017) | 采用显色指示剂滴定法测定电绝缘液体近似酸度的标准试验方法 | Standard Test Method for Approximate Acidity in Electrical Insulating Liquids by Color-Indicator Titration | 正常
ASTM D2300-2008(2017) | 在电应力和电离作用下电绝缘液体的放气试验方法(改进的皮勒里法) | Standard Test Method for Gassing of Electrical Insulating Liquids Under Electrical Stress and Ionization (Modified Pirelli Method) | 正常
ASTM D5222-2016 | 石油起源高燃点电绝缘油的标准规格 | Standard Specification for High Fire-Point Mineral Electrical Insulating Oils | 正常
ASTM D7151-2015 | 采用感应耦合等离子体发射光谱法 (ICP-AES) 测定绝缘油中元素的标准试验方法 | Standard Test Method for Determination of Elements in Insulating Oils by Inductively Coupled Plasma Atomic Emission Spectrometry (ICP-AES) | 正常
ASTM D1275-2015 | 电绝缘液体腐蚀性硫的标准试验方法 | Standard Test Method for Corrosive Sulfur in Electrical Insulating Liquids | 正常
ASTM D2112-2015 | 采用压力容器法测定防腐蚀矿物绝缘油氧化稳定性的标准试验方法 | Standard Test Method for Oxidation Stability of Inhibited Mineral Insulating Oil by Pressure Vessel | 正常
ASTM D923-2015 | 用于电气绝缘液取样的标准实施规程 | Standard Practices for Sampling Electrical Insulating Liquids | 正常
ASTM D1524-2015 | 用过的电绝缘液的现场目测检查的标准试验方法 | Standard Test Method for Visual Examination of Used Electrical Insulating Liquids in the Field | 正常
ASTM D924-2015 | 电绝缘液体的损耗因数 (或功率因数) 和电容率 (介电常数) 的标准试验方法 | Standard Test Method for Dissipation Factor (or Power Factor) and Relative Permittivity (Dielectric Constant) of Electrical Insulating Liquids | 正常
ASTM D3635-2013 | 用原子吸收分光光度法测定电绝缘油中溶解铜含量的标准试验方法 | Standard Test Method for Dissolved Copper In Electrical Insulating Oil By Atomic Absorption Spectrophotometry | 正常
ASTM D877/D877M-2013 | 使用圆盘电极测定绝缘液体介电击穿电压的标准试验方法 | Standard Test Method for Dielectric Breakdown Voltage of Insulating Liquids Using Disk Electrodes | 正常
ASTM D2144-2007(2013) | 用红外线吸收法对电气绝缘油检验的标准实施规程 | Standard Practices for Examination of Electrical Insulating Oils by Infrared Absorption | 正常
ASTM D3487-2016e1 | 电气装置使用矿物绝缘油的标准规格 | Standard Specification for Mineral Insulating Oil Used in Electrical Apparatus | 正常
ASTM D1533-2012 | 用卡尔·费歇尔滴定法测定绝缘液体中水的标准试验方法 | Standard Test Method for Water in Insulating Liquids by Coulometric Karl Fischer Titration | 正常
ASTM D2440-2013 | 矿物绝缘油氧化稳定性的标准试验方法 | Standard Test Method for Oxidation Stability of Mineral Insulating Oil | 正常
ASTM D2225-2004(2012) | 电绝缘用硅酮液的标准试验方法 | Standard Test Methods for Silicone Fluids Used for Electrical Insulation | 正常
ASTM D1934-1995(2012) | 用开杯法作电绝缘石油的氧化老化的标准试验方法 | Standard Test Method for Oxidative Aging of Electrical Insulating Petroleum Oils by Open-Beaker Method | 正常
ASTM D3300-2012 | 在脉冲条件下石油成因的绝缘油的电介质击穿电压的标准试验方法 | Standard Test Method for Dielectric Breakdown Voltage of Insulating Oils of Petroleum Origin Under Impulse Conditions | 正常
ASTM D3455-2011 | 建筑材料同石油制电绝缘油兼容性的标准试验方法 | Standard Test Methods for Compatibility of Construction Material with Electrical Insulating Oil of Petroleum Origin | 正常
ASTM D3612-2002(2017) | 用气相色谱法分析电绝缘油中溶解气体的标准试验方法 | Standard Test Method for Analysis of Gases Dissolved in Electrical Insulating Oil by Gas Chromatography | 正常
ASTM D6710-2017 | 评估烃基淬火油的标准指南 | Standard Guide for Evaluation of Hydrocarbon-Based Quench Oil | 正常
ASTM D2668-2007(2013) | 利用红外线吸收法测定电绝缘油中2,6-二叔丁基对甲酚和2,6-二叔丁基对苯酚的标准试验方法 | Standard Test Method for 2,6-di-tert-Butyl- p-Cresol and 2,6-di-tert-Butyl Phenol in Electrical Insulating Oil by Infrared Absorption | 正常
ASTM D1169-2019 |  | Standard Test Method for Specific Resistance (Resistivity) of Electrical Insulating Liquids | 正常
ASTM D6871-2017 | 电器用天然(植物油)酯类液体的标准规格 | Standard Specification for Natural (Vegetable Oil) Ester Fluids Used in Electrical Apparatus | 正常
ASTM D831/D831M-2012 | 电缆及电容器油的气体含量的标准试验方法 | Standard Test Method for Gas Content of Cable and Capacitor Oils | 正常
ASTM D4768-2011 | 用气相色谱法分析隔离液中的2,6-二叔丁基对甲酚和2,6-二叔丁基丁基苯粉的标准试验方法 | Standard Test Method for Analysis of 2,6-Ditertiary-Butyl Para-Cresol and 2,6-Ditertiary-Butyl Phenol in Insulating Liquids by Gas Chromatography | 正常
ASTM D3612-2002(2017) | 用气相色谱法分析电绝缘油中溶解气体的标准试验方法 | Standard Test Method for Analysis of Gases Dissolved in Electrical Insulating Oil by Gas Chromatography | 正常
ASTM D6871-2017 | 电器用天然(植物油)酯类液体的标准规格 | Standard Specification for Natural (Vegetable Oil) Ester Fluids Used in Electrical Apparatus | 正常
ASTM D3487-2016e1 | 电气装置使用矿物绝缘油的标准规格 | Standard Specification for Mineral Insulating Oil Used in Electrical Apparatus | 正常
ASTM D1903-2008(2017) | 石油电绝缘液体和氯代联苯的热膨胀系数标准测定方法 | Standard Practice for Determining the Coefficient of Thermal Expansion of Electrical Insulating Liquids of Petroleum Origin, and Askarels | 正常
ASTM D2140-2008(2017) | 计算石油制绝缘油碳类组分的标准试验方法 | Standard Practice for Calculating Carbon-Type Composition of Insulating Oils of Petroleum Origin | 正常
ASTM D2300-2008(2017) | 在电应力和电离作用下电绝缘液体的放气试验方法(改进的皮勒里法) | Standard Test Method for Gassing of Electrical Insulating Liquids Under Electrical Stress and Ionization (Modified Pirelli Method) | 正常
ASTM D1534-1995(2017) | 采用显色指示剂滴定法测定电绝缘液体近似酸度的标准试验方法 | Standard Test Method for Approximate Acidity in Electrical Insulating Liquids by Color-Indicator Titration | 正常
ASTM D1524-2015 | 用过的电绝缘液的现场目测检查的标准试验方法 | Standard Test Method for Visual Examination of Used Electrical Insulating Liquids in the Field | 正常
ASTM D923-2015 | 用于电气绝缘液取样的标准实施规程 | Standard Practices for Sampling Electrical Insulating Liquids | 正常
ASTM D924-2015 | 电绝缘液体的损耗因数 (或功率因数) 和电容率 (介电常数) 的标准试验方法 | Standard Test Method for Dissipation Factor (or Power Factor) and Relative Permittivity (Dielectric Constant) of Electrical Insulating Liquids | 正常
ASTM D5222-2016 | 石油起源高燃点电绝缘油的标准规格 | Standard Specification for High Fire-Point Mineral Electrical Insulating Oils | 正常
ASTM D2112-2015 | 采用压力容器法测定防腐蚀矿物绝缘油氧化稳定性的标准试验方法 | Standard Test Method for Oxidation Stability of Inhibited Mineral Insulating Oil by Pressure Vessel | 正常
ASTM D7151-2015 | 采用感应耦合等离子体发射光谱法 (ICP-AES) 测定绝缘油中元素的标准试验方法 | Standard Test Method for Determination of Elements in Insulating Oils by Inductively Coupled Plasma Atomic Emission Spectrometry (ICP-AES) | 正常
ASTM D6710-2017 | 评估烃基淬火油的标准指南 | Standard Guide for Evaluation of Hydrocarbon-Based Quench Oil | 正常
DIN EN 60465 Berichtigung 1-2018 | 充油电缆用的新绝缘矿物油规范 (IEC 60465-1988);德文版本 EN 60465-1990; 更正1 | Specification for unused insulating mineral oils for cables with oil ducts (IEC 60465:1988); German version EN 60465:1990; Corrigendum 1 | 正常
IEC 62961-2018 | 绝缘液体. 测定绝缘液体界面张力的试验方法. 环法测定 | Insulating liquids - Test methods for the determination of interfacial tension of insulating liquids - Determination with the ring method | 正常
IEC 60156-2018 | 绝缘液体. 工频下击穿电压的测定. 试验方法 | Insulating liquids - Determination of the breakdown voltage at power frequency - Test method | 正常
BS PD IEC/TR 62697-3-2018 | 未使用和已使用绝缘液体中腐蚀性硫化物的定量测定的试验方法. 元素硫定量测定的试验方法 | Test methods for quantitative determination of corrosive sulfur compounds in unused and used insulating liquids. Test method for quantitative determination of elemental sulfur | 正常
BS PD IEC/TR 62697-2-2018 | 未使用和已使用绝缘液体中腐蚀性硫化物的定量测定的试验方法. 总腐蚀硫(TCS)定量测定的试验方法 | Test methods for quantitative determination of corrosive sulfur compounds in unused and used insulating liquids. Test method for quantitative determination of total corrosive sulfur (TCS) | 正常
IEC/TR 62697-3-2018 | 从未使用和已使用绝缘油中腐蚀性硫化物定量测定试验方法.第3部分:元素硫定量测定的试验方法 | Test methods for quantitative determination of corrosive sulfur compounds in unused and used insulating liquids - Part 3: Test method for quantitative determination of elemental sulfur | 正常
IEC/TR 62697-2-2018 | 从未使用和已使用绝缘油中腐蚀性硫化物定量测定试验方法.第2部分:总腐蚀硫（TCS）定量测定的试验方法 | Test methods for quantitative determination of corrosive sulfur compounds in unused and used insulating liquids - Part 2: Test method for quantitative determination of total corrosive sulfur (TCS) | 正常
IEC 61125-2018 | 绝缘液体. 氧化稳定性试验方法. 交货状态下绝缘液体氧化稳定性评价的试验方法 | Insulating liquids - Test methods for oxidation stability Test method for evaluating the oxidation stability of insulating liquids in the delivered state | 正常
GB/T 507-2002 | 绝缘油击穿电压测定法 | Insulating liquids--Determination of the breakdown voltage at power frequency | 正常
SH/T 0169-1992 | 矿物绝缘油平均分子量测定法（冰点降低法） | Methods of measurement for the average molecular weight of mineral insulating oil (depression of freezing point) | 正常
SH 0351-1992 | 断路器油 |  | 正常
SH/T 0304-1999 | 电气绝缘油腐蚀性硫试验法 | Electrical insulating oils.Detection of corrosive sulfur | 正常
SH/T 0295-1992 | 变压器油氧化初期挥发性水溶性酸测定法 | Methods of measurement for the volatile and water-soluble acid in the early stage of transformer oil oxidation | 正常
SH/T 0268-1992 | 电气用油介质损失角正切测定法 | Methods of measurement for the value of dielectric loss tangent of electrical oil | 正常
SH 0040-1991 | 超高压变压器油 | Extra-high voltage transformer oil | 正常
BS EN 62021-3-2014 | 绝缘液体. 酸度的测定. 非矿物绝缘油的试验方法 | Insulating liquids. Determination of acidity. Test methods for non mineral insulating oils | 正常
BS EN 60296-2012 | 电工用液体.互感器和开关装置用未使用矿物绝缘油 | Fluids for electrotechnical applications. Unused mineral insulating oils for transformers and switchgear | 正常
BS EN 60422-2013 | 电气设备中的矿物绝缘油. 监督和维护指南 | Mineral insulating oils in electrical equipment. Supervision and maintenance guidance | 正常
BS EN 62697-1-2012 | 未用和使用绝缘液体的腐蚀硫化合物定量测定试验方法.二苄基二硫醚(DBDS)的定量测定试验方法 | Test methods for quantitative determination of corrosive sulphur compounds in unused and used insulating liquids. Test method for quantitative determination of dibenzyldisulfide (DBDS) | 正常
BS EN 61181-2007+A1-2012 | 填充矿物油的电气设备.溶解气体分析(DGA)用于电气设备工厂试验 | Mineral oil-filled electrical equipment. Application of dissolved gas analysis (DGA) to factory tests on electrical equipment | 正常
BS EN 60475-2011 | 绝缘液体的取样方法 | Method of sampling insulating liquids | 正常
BS EN 60567-2011 | 注油电气设备.游离和溶解气体分析用气体取样.指南 | Oil-filled electrical equipment. Sampling of gases and analysis of free and dissolved gases. Guidance | 正常
BS EN 60666-2010 | 矿物质绝缘油中制定添加剂的探测和测定 | Detection and determination of specified additives in mineral insulating oils | 正常
BS 148-2009 | 变压器和开关装置用再生矿物绝缘油.规范 | Reclaimed mineral insulatingoil for transformers andswitchgear – Specification | 正常
BS PD IEC/TR 62874-2015 | 绝缘矿物油中作为纸热降解标记的二氧化碳和2-呋喃甲醛的解释指南 | Guidance on the interpretation of carbon dioxide and 2-furfuraldehyde as markers of paper thermal degradation in insulating mineral oil | 正常
BS EN 60836-2015 | 电工用未用硅绝缘液体的规范 | Specifications for unused silicone insulating liquids for electrotechnical purposes | 正常
BS 6522-1984 | 绝缘油水饱和百分比测定方法 | Methods for determination of percentage water saturation of insulating oil | 正常
BS EN 60599-2016 | 使用中矿物充油的电气设备.溶解和自由气体分析说明指南 | Mineral oil-filled electrical equipment in service. Guidance on the interpretation of dissolved and free gases analysis | 正常
BS EN 60970-2007 | 绝缘液体.粒子计数和大小测定的方法 | Insulating liquids - Methods for counting and sizing particles | 正常
BS EN 62021-2-2007 | 绝缘液体.酸度的测定.比色滴定法 | Insulating liquids - Determination of acidity - Colourimetric titration | 正常
BS EN 62535-2009 | 绝缘液.检测用过和未用过的绝缘油中的潜在腐蚀性硫的试验方法 | Insulating liquids - Test method for detection of potentially corrosive sulphur in used and unused insulating oil | 正常
BS 5797-1986 | 电应力和电离作用下绝缘液气泡测定方法 | Methods for measurement of gassing of insulation liquids under electrical stress and ionization | 正常
BS EN 50375-2002 | 电气绝缘油中的刮油器的试验方法 | Testing methodology for wipers used in electrical insulating oil | 正常
BS EN 62021-1-2003 | 绝缘液体.酸度的测定.第1部分:自动电位测量滴定法 | Insulating liquids - Determination of acidity - Automatic potentiometric titration | 正常
BS EN 50353-2001 | 绝缘油.用显微镜计数法测定纤维污染物 | Insulating oil - Determination of fibre contamination by the counting method using a microscope | 正常
BS EN 61198-1994 | 绝缘矿物油.2-糖醛和有关化合物测定方法 | Mineral insulating oils - Methods for the determination of 2-furfural and related compounds | 正常
BS EN 60814-1998 | 绝缘液体.油浸纸和纸板.用自动库仑卡尔费瑟滴定法对水含量的测定 | Insulating liquids - Oil-impregnated paper and pressboard - Determination of water by automatic coulometric Karl Fischer titration | 正常
BS EN 61125-1993 | 新鲜烃基绝缘油.氧化稳定性评定的试验方法 | Unused hydrocarbon-based insulating liquids - Test methods for evaluating the oxidation stability | 正常
BS EN 60156-1996 | 绝缘液.电源频率下击穿电压测定.试验验法 | Insulating liquids - Determination of the breakdown voltage at power frequency - Test method | 正常
BS EN 60867-1994 | 绝缘油.合成芳香烃基新鲜油规范 | Insulating liquids - Specifications for unused liquids based on synthetic aromatic hydrocarbons | 正常
BS EN 61144-1993 | 测定绝缘液体氧气指数的试验方法 | Test method for the determination of oxygen index of insulating liquids | 正常
BS EN 61619-1997 | 绝缘液.多氯联苯污染度.毛细管气相色谱测定法 | Insulation liquids - Contamination by polychlorinated biphenyls (PCBs) - Method of determination by capillary column gas chromatography | 正常
BS EN 60247-2004 | 绝缘液体.相对电容率、电介质损耗因数(tan<δ>)和直流电阻率的测量 | Insulating liquids - Measurement of relative permittivity, dielectric dissipation factor (tan ) and d.c. resistivity | 正常
BS EN 61868-1999 | 矿物绝缘油.甚低温度下运动粘度测定 | Mineral insulating oils - Determination of kinematic viscosity at very low temperatures | 正常
BS EN 61197-1996 | 绝缘油.火焰线性传播.玻璃纤维试验法 | Insulating liquids - Linear flame propagation - Test method using a glass-fibre tape | 正常
BS EN 61065-1993 | 老化后矿物绝缘油低温流动特性的评估方法 | Method for evaluating the low temperature flow properties of mineral insulating oils after ageing | 正常
BS EN 61100-1993 | 根据燃点和净热值对绝缘液体进行的分类 | Classification of insulating liquids according to fire point and net calorific value | 正常
BS EN 60465-1992 | 电缆用带油导管的未使用过的绝缘矿物油规范 | Specification for unused insulating mineral oils for cables with oil ducts | 正常
BS 7713-1993 | 变压器硅油维护指南 | Guide for the maintenance of silicone transformer liquids | 正常
EN 60836-2015 | 电工用未用硅绝缘液体的规范(IEC 60836-2015).德文版本EN 60836-2015 | Specifications for unused silicone insulating liquids for electrotechnical purposes (IEC 60836:2015); German version EN 60836:2015 | 正常
EN 60599-2016 | 使用中的浸渍矿物油的电气设备.溶解和游离气体分析结果解释的指南(IEC 60599-2015).德文版本EN 60599-2016 | Mineral oil-filled electrical equipment in service - Guidance on the interpretation of dissolved and free gases analysis (IEC 60599:2015); German version EN 60599:2016 | 正常
EN 62770-2014 | 电工技术应用液体. 变压器及类似电气设备未使用的天然酯 (IEC 62770-2013); 德文版本EN 62770-2014 | Fluids for electrotechnical applications - Unused natural esters for transformers and similar electrical equipment (IEC 62770:2013); German version EN 62770:2014 | 正常
EN 62021-3-2014 | 绝缘液体. 酸度的测定. 第3部分: 非矿物绝缘油的试验方法 (IEC 62021-3-2014); 德文版本EN 62021-3-2014 | Insulating liquids - Determination of acidity - Part 3: Test methods for non mineral insulating oils (IEC 62021-3:2014); German version EN 62021-3:2014 | 正常
EN 62701-2014 | 电工技术应用液体. 变压器和开关装置用可回收矿物绝缘油 (IEC 62701-2014); 德文版本EN 62701-2014 | Fluids for electrotechnical applications - Recycled mineral insulating oils for transformers and switchgears (IEC 62701:2014); German version EN 62701:2014 | 正常
EN 60422-2013 | 电气设备中的矿物绝缘油.监督和维护导则(IEC 60422-2013).德文版本EN 60422-2013 | Mineral insulating oils in electrical equipment - Supervision and maintenance guidance (IEC 60422:2013); German version EN 60422:2013 | 正常
EN 60296-2012 | 电工用液体.变压器和开关设备用未使用过的矿物绝缘油(IEC 60296-2012).德文版本EN 60296-2012 | Fluids for electrotechnical applications.Unused mineral insulating oils for transformers and switchgear (IEC 60296:2012); German version EN 60296:2012 | 正常
EN 61181-2012 | 填充矿物油的电气设备.溶解气体分析(DGA)用于电气设备的工厂试验(IEC 61181-2007 + A1-2012).德文版本EN 61181-2007 + A1-2012 | Mineral oil-filled electrical equipment - Application of dissolved gas analysis (DGA) to factory tests on electrical equipment (IEC 61181:2007 + A1:2012); German version EN 61181:2007 + A1:2012 | 正常
EN 62697-1-2012 | 未使用和已使用绝缘油中腐蚀性硫化物定量测定试验方法.第1部分:二苄二硫(DBDS)定量测定试验方法(IEC 62697-1-2012).德文版本EN 62697-1-2012 | Test methods for quantitative determination of corrosive sulfur compounds in unused and used insulating liquids - Part 1: Test method for quantitative determination of dibenzyldisulfide (DBDS) (IEC 62697-1:2012); German version EN 62697-1:2012 | 正常
EN 60567-2011 | 注油电气设备.气体抽样以及游离和溶解气体分析.指南(IEC 60567-2011).德文版本EN 60567-2011 | Oil-filled electrical equipment - Sampling of gases and analysis of free and dissolved gases - Guidance (IEC 60567:2011); German version EN 60567:2011 | 正常
EN 60475-2011 | 绝缘液体抽样法(IEC 60475-2011).德文版本EN 60475-2011 | Method of sampling insulating liquids (IEC 60475:2011); German version EN 60475:2011 | 正常
EN 60666-2010 | 矿物绝缘油中规定的添加剂的检验和测定(IEC 60666-2010);德文版本EN 60666-2010 | Detection and determination of specified additives in mineral insulating oils (IEC 60666:2010); German version EN 60666:2010 | 正常
EN 62535-2009 | 绝缘液体.测定使用和不使用绝缘油中潜在腐蚀性硫磺的试验方法(IEC 62535-2008).德文版本EN 62535-2009 | Insulating liquids - Test method for detection of potentially corrosive sulphur in used and unused insulating oil (IEC 62535:2008); German version EN 62535:2009 | 正常
EN 61039-2008 | 绝缘液体的分类(IEC 61039-2008).德文版本EN 61039-2008 | Classification of insulating liquids (IEC 61039:2008); German version EN 61039:2008 | 正常
EN 61100-1992 | 绝缘液体按着火点和净热值分类 | Classification of insulating liquids according to fire-point and net calorific value (IEC 61100:1992); German version EN 61100:1992 | 正常
EN 50375-2002 | 电绝缘油擦拭布测试方法 | Testing methodology for wipers used in electrical insulating oil; German version EN 50375:2002 | 正常
EN 60970-2008 | 绝缘液体.粒子计数和大小测定的方法 | Insulating liquids - Methods for counting and sizing particles (IEC 60970:2007); German version EN 60970:2007 + Corrigendum: 2008 | 正常
EN 62021-2-2007 | 绝缘液体.酸度的测定.第2部分:比色滴定法(IEC 62021-2-2007) | Insulating liquids - Determination of acidity - Part 2: Colourimetric titration (IEC 62021-2:2007); German version EN 62021-2:2007 | 正常
EN 50353-2001 | 绝缘油.用显微镜计数法测定纤维污染 | Insulating oil - Determination of fibre contamination by the counting method using a microscope; German version EN 50353:2001 | 正常
EN 61099-2010 | 绝缘液体.电气用未使用过的合成有机酯规范(IEC 61099-2010);德文版本EN 61099-2010 | Insulating liquids - Specifications for unused synthetic organic esters for electrical purposes (IEC 61099:2010); German version EN 61099:2010 | 正常
EN 61125-2004 | 未使用过的烃基绝缘液体.评价氧化稳定性的试验方法 | Unused hydrocarbon-based insulating liquids - Test methods for evaluating the oxidation stability (IEC 61125:1992 + A1:2004); German version EN 61125:1993 + A1:2004 | 正常
EN 62021-1-2003 | 绝缘液体.酸度的测定.第1部分:自动电位滴定法 | Insulating liquids - Determination of acidity - Part 1: Automatic potentiometric titration (IEC 62021-1:2003); German version EN 62021-1:2003 | 正常
EN 61197-1994 | 绝缘油.火焰线性传播.玻璃纤维试验方法 | Insulating liquids - Linear flame propagation - Test methods using a glass-fibre tape (IEC 61197:1993); German version EN 61197:1994 | 正常
EN 61619-1997 | 绝缘液.多氯联苯污染度(PcBs).毛细管气体色谱测定法 | Insulating liquids - Contamination by polychlorinated biphenyls (PCBs) - Method of determination by capillary column gas chromatography (IEC 61619:1997); German version EN 61619:1997 | 正常
EN 60814-1997 | 绝缘液体.油浸渍纸和油浸渍纸压板.用卡尔-费舍尔自动滴定法测定水份 | Insulating liquids - Oil-impregnated paper and pressboard - Determination of water by automatic coulometric Karl Fischer titration (IEC 60814:1997); German version EN 60814:1997 | 正常
EN 61065-1993 | 老化后矿物绝缘油低温流动性评定方法 | Method for evaluating the low temperature flow properties of mineral insulating oils after ageing (IEC 61065:1991); German version EN 61065:1993 | 正常
EN 60156-1995 | 绝缘液.电源频率下击穿电压测定.试验方法 | Insulating liquids - Determination of the breakdown voltage at power frequency - Test method (IEC 60156:1995); German version EN 60156:1995 | 正常
EN 60465-1990 | 充油电缆用的新绝缘矿物油规范 | Specification for unused insulating mineral oils for cables with oil ducts (IEC 60465:1988); German version EN 60465:1990 | 正常
EN 61144-1993 | 测定绝缘油氧指数的试验方法 | Test method for the determination of oxygen index of insulating liquids (IEC 61144:1992); German version EN 61144:1993 | 正常
EN 60247-2004 | 绝缘液体.相对电容率、电介质损耗因数(tanδ)和直流电阻率的测量 | Insulating liquids - Measurement of relative permittivity, dielectric dissipation factor (tan ) and d.c. resistivity (IEC 60247:2004); German version EN 60247:2004 | 正常
EN 61198-1994 | 绝缘矿物油.2-糠醛和有关化合物的测定方法 | Mineral insulating oils - Methods for the determination of 2-furfurol and related compounds (IEC 61198:1993); German version EN 61198:1994 | 正常
EN 60867-1994 | 绝缘液体.以合成芳香烃为基的未使用液体的规范 | Insulating liquids - Specifications for unused liquids based on synthetic aromatic hydrocarbons (IEC 60867:1993); German version EN 60867:1994 | 正常
EN 61868-1999 | 矿物绝缘油.在极低温度下运动粘稠度的测定 | Mineral insulating oils - Determination of kinematic viscosity at very low temperatures (IEC 61868:1998); German version EN 61868:1999 | 正常
ANSI/ASTM A889-1997 | 低感应条件下用万用表和25厘米艾普斯亭(Epstein)框测定材料交流磁特性的方法 | Test Method for Alternating-Current Magnetic Properties of Materials at Low Inductions Using the Wattmeter-Varmeter-Ammeter-Voltmeter Method and 25-cm (250-mm) Epstein Frame | 正常
ANSI/IEEE 637-1985 | 绝缘油的回收及其使用标准用指南 | Guide for the Reclamation of Insulating Oil and Criteria for Its Use | 正常
IEC 60599-2015 | 使用中的浸渍矿物油的电气设备.溶解和游离气体分析结果解释的指南 | Mineral oil-filled electrical equipment in service - Guidance on the interpretation of dissolved and free gases analysis | 正常
IEC 60836-2015 | 电工用未用硅绝缘液体的规范 | Specifications for unused silicone insulating liquids for electrotechnical purposes | 正常
IEC 62021-3-2014 | 绝缘液体. 酸度的测定. 第3部分: 非矿物绝缘油的试验方法 | Insulating liquids - Determination of acidity - Part 3: Test methods for non mineral insulating oils | 正常
IEC 60422 CORR 1-2013 | 电气设备中的矿物绝缘油.监督和维护导则.勘误表1 | Mineral insulating oils in electrical equipment - Supervision and maintenance guidance; Corrigendum 1 | 正常
IEC 62770-2013 | 电工流体.变压器及类似电气设备未使用的天然酯 | Fluids for electrotechnical applications - Unused natural esters for transformers and similar electrical equipment | 正常
IEC 62021-2-2007 | 绝缘油.酸性的测定.第2部分:比色滴定法 | Insulating liquids - Determination of acidity - Part 2 Colourimetric titration | 正常
IEC 62697-1-2012 | 从未使用和已使用绝缘油中腐蚀性硫化物定量测定试验方法.第1部分:二苄二硫(DBDS)定量测定试验方法 | Test methods for quantitative determination of corrosive sulfur compounds in unused and used insulating liquids - Part 1: Test method for quantitative determination of dibenzyldisulfide (DBDS) | 正常
IEC 60422-2013 | 电气设备中的矿物绝缘油.监督和维护指南 | Mineral insulating oils in electrical equipment - Supervision and maintenance guidance | 正常
IEC 61181 AMD 1-2012 | 填充矿物油的电气设备.溶解气体分析(DGA)用于电气设备工厂试验 | Mineral oil-filled electrical equipment - Application of dissolved gas analysis (DGA) to factory tests on electrical equipment; Amendment 1 | 正常
IEC 61181 Edition 2.1-2012 | 充矿物油电气设备.电气设备出厂试验的溶解气体分析(DGA)应用 | Mineral oil-filled electrical equipment - Application of dissolved gas analysis (DGA) to factory tests on electrical equipment | 正常
IEC 60296-2012 | 电工用液体.变压器和开关设备用的未使用过的矿物绝缘油 | Fluids for electrotechnical applications - Unused mineral insulating oils for transformers and switchgear | 正常
IEC 60567-2011 | 注油电气设备.气体抽样以及游离和溶解气体分析指南 | Oil-filled electrical equipment - Sampling of gases and analysis of free and dissolved gases - Guidance | 正常
IEC 60628-1985 | 绝缘液体在电作用和电离下的析气 | Gassing of insulating liquids under electrical stress and ionization | 正常
IEC 60666-2010 | 矿物绝缘油中规定的添加剂的检验和测定 | Detection and determination of specified additives in mineral insulating oils | 正常
IEC 61125 CORR 1-1992 | 未使用过的烃基绝缘液体.评定氧化稳定性的试验方法 | Unused hydrocarbon-based insulating liquids; test methods for evaluating the oxidation stability | 正常
IEC 61125-1992 | 未使用过的烃基绝缘液体 评定氧化稳定性的试验方法 | Unused hydrocarbon-based insulating liquids; test methods for evaluating the oxidation stability | 正常
IEC 60475-2011 | 绝缘液体抽样法 | Method of sampling insulating liquids | 正常
IEC 60588-1-1977 | 变压器和电容器用氯化联苯 第1部分:总则 | Askarels for transformers and capacitors. Part 1 : General | 正常
IEC 60867-1993 | 绝缘液体 以合成芳烃为基的未使用过的液体规范 | Insulating liquids; specifications for unused liquids based on synthetic aromatic hydrocarbons | 正常
IEC 61039-2008 | 绝缘液的分类 | Classification of insulating liquids | 正常
IEC 60970-2007 | 绝缘液体.粒子计数和大小测定用方法 | Insulating liquids - Methods for counting and sizing particles | 正常
IEC 60628 CORR 1-1986 | 绝缘液体在电作用和电离下的析气 | Gassing of insulating liquids under electrical stress and ionization | 正常
IEC/TR 62036-2007 | 矿物绝缘油.基于差示扫描量热法(DSC)的氧化试验法 | Mineral insulating oils - Oxidation test method based on differential scanning calorimetry (DSC) | 正常
IEC 61181-2007 | 填充矿物油的电气设备.溶解气体分析(DGA)用于电气设备工厂试验 | Mineral oil-filled electrical equipment - Application of dissolved gas analysis (DGA) to factory tests on electrical equipment | 正常
IEC/TR 61946-2007 | 矿物绝缘油.石蜡/环烷的自然特性.低温差分扫描量热测量(DSC)试验方法 | Mineral insulating oils - Characterization of paraffinic/naphthenic nature - Low temperature differential scanning calometry (DSC) test method | 正常
IEC 60944-1988 | 变压器硅油的维护指南 | Guide for the maintenance of silicone transformer liquids | 正常
IEC 60465-1988 | 充油电缆用的未使用过的绝缘矿物油规范 | Specification for unused insulating mineral oils for cables with oil ducts | 正常
IEC 60588-5-1979 | 变压器和电容器用氯化联苯 第5部分:材料与变压器用氯化联苯相容性筛选试验 | Askarels for transformers and capacitors. Part 5: Screening test for compatibility of materials and transformer askarels | 正常
IEC 60588-4-1979 | 变压器和电容器用氯化联苯 第4部分:设备中变压器用氯化联苯的维护指南 | Askarels for transformers and capacitors. Part 4 : Guide for maintenance of transformer askarels in equipment | 正常
IEC 60588-3-1977 | 变压器和电容器用氯化联苯 第3部分:新氯化联苯规范 | Askarels for transformers and capacitors. Part 3 : Specifications for new askarels | 正常
IEC 60588-2-1978 | 变压器和电容器用氯化联苯 第2部分:试验方法 | Askarels for transformers and capacitors. Part 2 : Test methods | 正常
IEC 60897-1987 | 绝缘液体的雷电冲击击穿电压的测定方法 | Methods for the determination of the lightning impulse breakdown voltage of insulating liquids | 正常
IEC 61619-1997 | 绝缘液体 多氯联苯(PCBs)污染 毛细管柱气相色谱测定方法 | Insulating liquids - Contamination by polychlorinated biphenyls (PCBs) - Method of determination by capillary column gas chromatography | 正常
IEC 61868-1998 | 矿物绝缘油 很低温度下运动粘度的测定 | Mineral insulating oils - Determination of kinematic viscosity at very low temperatures | 正常
IEC 61144-1992 | 测定绝缘液体氧指数的试验方法 | Test method for the determination of oxygen index of insulating liquids | 正常
IEC 60156-1995 | 绝缘液体 工频下击穿电压的测定 试验方法 | Insulating liquids - Determination of the breakdown voltage at power frequency - Test method | 正常
IEC 61065-1991 | 老化后矿物绝缘油低温流动性的评定方法 | Method for evaluating the low temperature flow properties of mineral insulating oils after ageing | 正常
IEC 60588-6-1979 | 变压器和电容器用氯化联苯 第6部分:材料对电容器用氯化联苯影响的筛选试验 | Askarels for transformers and capacitors. Part 6 : Screening test for effects of materials on capacitor askarels | 正常
IEC 61125 AMD 1-2004 | 未使用过的烃基绝缘液体.评价氧化稳定性的试验方法.修改件1 | Unused hydrocarbon-based insulating liquids - Test methods for evaluating the oxidation stability; Amendment 1 | 正常
IEC 61065 CORR 1-1993 | 老化后矿物绝缘油低温流动性的评定方法 | Method for evaluating the low temperature flow properties of mineral insulating oils after ageing | 正常
IEC 60247-2004 | 液体绝缘材料.相对电容率、电介质损耗因数(tan<δ>)和直流电阻率的测量 | Insulating liquids - Measurement of relative permittivity, dielectric dissipation factor (tan δ) and d.c. resistivity | 正常
IEC 60814-1997 | 绝缘液体 油浸纸及油浸纸板 用卡尔·费塞尔自动电量滴定法测定水份 | Insulating liquids - Oil-impregnated paper and pressboard - Determination of water by automatic coulometric Karl Fischer titration | 正常
IEC 60590-1977 | 新矿物绝缘油中芳烃含量的测定 | Determination of the aromatic hydrocarbon content of new mineral insulating oils | 正常
IEC 62021-1-2003 | 绝缘液体.酸度的测定.第1部分:自动电位测量滴定法 | Insulating liquids - Determination of acidity - Part 1: Automatic potentiometric titration | 正常
IEC 61197-1993 | 绝缘液体 直线火焰蔓延 使用玻璃纤维带的试验方法 | Insulating liquids; linear flame propagation; test method using a glass-fibre tape | 正常
IEC 61198-1993 | 矿物绝缘油 2-糠醛和有关化合物的测定方法 | Mineral insulating oils; methods for the determination of 2-furfural and related compounds | 正常
IEC 60590 CORR 1-1978 | 新矿物绝缘油中芳烃含量的测定 | Determination of the aromatic hydrocarbon content of new mineral insulating oils | 正常
IEC/TR3 61294-1993 | 绝缘液体 局部放电起始电压(PDIV)测定 试验规程 | Insulating liquids; determination of the partial discharge inception voltage (PDIV); test procedure | 正常
IEC/TR 62874-2015 | 绝缘矿物油中作为纸热降解标记的二氧化碳和2-呋喃甲醛的解释指南 | Guide to the interpretation of carbon dioxide and 2-furfuraldehyde as markers of paper thermal degradation in insulating mineral oil | 正常
IEEE C57.146-2005 | 浸入硅绝缘油的变压器中产生气体解释指南 | Guide for the Interpretation of Gases Generated in Silicone-Immersed Transformers | 正常
DIN EN 60836-2016 | 电工用未用硅绝缘液体的规范(IEC 60836-2015).德文版本EN 60836-2015 | Specifications for unused silicone insulating liquids for electrotechnical purposes (IEC 60836:2015); German version EN 60836:2015 | 正常
DIN EN 60599-2016 | 使用中的浸渍矿物油的电气设备.溶解和游离气体分析结果解释的指南(IEC 60599-2015).德文版本EN 60599-2016 | Mineral oil-filled electrical equipment in service - Guidance on the interpretation of dissolved and free gases analysis (IEC 60599:2015); German version EN 60599:2016 | 正常
DIN EN 62770-2014 | 电工技术应用液体. 变压器及类似电气设备未使用的天然酯 (IEC 62770-2013); 德文版本EN 62770-2014 | Fluids for electrotechnical applications - Unused natural esters for transformers and similar electrical equipment (IEC 62770:2013); German version EN 62770:2014 | 正常
DIN EN 62021-3-2015 | 绝缘液体. 酸度的测定. 第3部分: 非矿物绝缘油的试验方法 (IEC 62021-3-2014); 德文版本EN 62021-3-2014 | Insulating liquids - Determination of acidity - Part 3: Test methods for non mineral insulating oils (IEC 62021-3:2014); German version EN 62021-3:2014 | 正常
DIN EN 62701-2015 | 电工技术应用液体. 变压器和开关装置用可回收矿物绝缘油 (IEC 62701-2014); 德文版本EN 62701-2014 | Fluids for electrotechnical applications - Recycled mineral insulating oils for transformers and switchgears (IEC 62701:2014); German version EN 62701:2014 | 正常
DIN EN 60465-1994 | 充油电缆用的新绝缘矿物油规范 | Specification for unused insulating mineral oils for cables with oil ducts (IEC 60465:1988); German version EN 60465:1990 | 正常
DIN EN 61144-1994 | 测定绝缘油氧指数的试验方法 | Test method for the determination of oxygen index of insulating liquids (IEC 61144:1992); German version EN 61144:1993 | 正常
DIN EN 60247-2005 | 绝缘液体.相对电容率、电介质损耗因数(tanδ)和直流电阻率的测量 | Insulating liquids - Measurement of relative permittivity, dielectric dissipation factor (tan ) and d.c. resistivity (IEC 60247:2004); German version EN 60247:2004 | 正常
DIN EN 61198-1995 | 绝缘矿物油.2-糠醛和有关化合物的测定方法 | Mineral insulating oils - Methods for the determination of 2-furfurol and related compounds (IEC 61198:1993); German version EN 61198:1994 | 正常
DIN EN 60867-1995 | 绝缘液体.以合成芳香烃为基的未使用液体的规范 | Insulating liquids - Specifications for unused liquids based on synthetic aromatic hydrocarbons (IEC 60867:1993); German version EN 60867:1994 | 正常
DIN EN 61868-1999 | 矿物绝缘油.在极低温度下运动粘稠度的测定 | Mineral insulating oils - Determination of kinematic viscosity at very low temperatures (IEC 61868:1998); German version EN 61868:1999 | 正常
DIN IEC 60628-1995 | 绝缘液体的电应力和电离作用析气 | Gassing of insulating liquids under electrical stress and ionization (IEC 60628:1985); German version HD 488 S1:1987 | 正常
DIN EN 60422-2013 | 电气设备中的矿物绝缘油.监督和维护导则(IEC 60422-2013).德文版本EN 60422-2013 | Mineral insulating oils in electrical equipment - Supervision and maintenance guidance (IEC 60422:2013); German version EN 60422:2013 | 正常
DIN EN 60296-2012 | 电工用液体.变压器和开关设备用未使用过的矿物绝缘油(IEC 60296-2012).德文版本EN 60296-2012 | Fluids for electrotechnical applications.Unused mineral insulating oils for transformers and switchgear (IEC 60296:2012); German version EN 60296:2012 | 正常
DIN EN 61181-2012 | 填充矿物油的电气设备.溶解气体分析(DGA)用于电气设备的工厂试验(IEC 61181-2007 + A1-2012).德文版本EN 61181-2007 + A1-2012 | Mineral oil-filled electrical equipment - Application of dissolved gas analysis (DGA) to factory tests on electrical equipment (IEC 61181:2007 + A1:2012); German version EN 61181:2007 + A1:2012 | 正常
DIN EN 62697-1-2013 | 未使用和已使用绝缘油中腐蚀性硫化物定量测定试验方法.第1部分:二苄二硫(DBDS)定量测定试验方法(IEC 62697-1-2012).德文版本EN 62697-1-2012 | Test methods for quantitative determination of corrosive sulfur compounds in unused and used insulating liquids - Part 1: Test method for quantitative determination of dibenzyldisulfide (DBDS) (IEC 62697-1:2012); German version EN 62697-1:2012 | 正常
DIN EN 60567-2012 | 注油电气设备.气体抽样以及游离和溶解气体分析.指南(IEC 60567-2011).德文版本EN 60567-2011 | Oil-filled electrical equipment - Sampling of gases and analysis of free and dissolved gases - Guidance (IEC 60567:2011); German version EN 60567:2011 | 正常
DIN EN 60475-2012 | 绝缘液体抽样法(IEC 60475-2011).德文版本EN 60475-2011 | Method of sampling insulating liquids (IEC 60475:2011); German version EN 60475:2011 | 正常
DIN EN 60666-2011 | 矿物绝缘油中规定的添加剂的检验和测定(IEC 60666-2010);德文版本EN 60666-2010 | Detection and determination of specified additives in mineral insulating oils (IEC 60666:2010); German version EN 60666:2010 | 正常
DIN EN 62535-2009 | 绝缘液体.测定使用和不使用绝缘油中潜在腐蚀性硫磺的试验方法(IEC 62535-2008).德文版本EN 62535-2009 | Insulating liquids - Test method for detection of potentially corrosive sulphur in used and unused insulating oil (IEC 62535:2008); German version EN 62535:2009 | 正常
DIN EN 61039-2009 | 绝缘液体的分类(IEC 61039-2008).德文版本EN 61039-2008 | Classification of insulating liquids (IEC 61039:2008); German version EN 61039:2008 | 正常
DIN EN 61100-1994 | 绝缘液体按着火点和净热值分类 | Classification of insulating liquids according to fire-point and net calorific value (IEC 61100:1992); German version EN 61100:1992 | 正常
DIN EN 50375-2003 | 电绝缘油擦拭布测试方法 | Testing methodology for wipers used in electrical insulating oil; German version EN 50375:2002 | 正常
DIN EN 50353-2002 | 绝缘油.用显微镜计数法测定纤维污染 | Insulating oil - Determination of fibre contamination by the counting method using a microscope; German version EN 50353:2001 | 正常
DIN EN 60970-2008 | 绝缘液体.粒子计数和大小测定的方法 | Insulating liquids - Methods for counting and sizing particles (IEC 60970:2007); German version EN 60970:2007 + Corrigendum: 2008 | 正常
DIN EN 62021-2-2008 | 绝缘液体.酸度的测定.第2部分:比色滴定法(IEC 62021-2-2007) | Insulating liquids - Determination of acidity - Part 2: Colourimetric titration (IEC 62021-2:2007); German version EN 62021-2:2007 | 正常
DIN EN 61099-2011 | 绝缘液体.电气用未使用过的合成有机酯规范(IEC 61099-2010);德文版本EN 61099-2010 | Insulating liquids - Specifications for unused synthetic organic esters for electrical purposes (IEC 61099:2010); German version EN 61099:2010 | 正常
DIN VDE 0370-3-1980 | 液冷电介质采样方法 | Method of sampling liquid dielectrics | 正常
DIN VDE 0380-5-1995 | 绝缘油.部分放电初始电压的测定.试验方法 | Insulating liquids - Determination of the partial discharge inception voltage (PDIV) - Test methods (IEC/TR3 61294:1993)(Report) | 正常
DIN IEC 60590-1986 | 新鲜矿物绝缘油中芳香烃含量测定 | Determination of the aromatic hydrocarbon content of new mineral insulating oils; identical with IEC 60590, edition 1977 | 正常
DIN IEC 60944-1995 | 硅酮变压器油维护指南 | Guide for the maintenance of silicone transformer liquids; identical with IEC 60944:1988 | 正常
DIN EN 61065-1994 | 老化后矿物绝缘油低温流动性评定方法 | Method for evaluating the low temperature flow properties of mineral insulating oils after ageing (IEC 61065:1991); German version EN 61065:1993 | 正常
DIN EN 61125-2005 | 未使用过的烃基绝缘液体.评价氧化稳定性的试验方法 | Unused hydrocarbon-based insulating liquids - Test methods for evaluating the oxidation stability (IEC 61125:1992 + A1:2004); German version EN 61125:1993 + A1:2004 | 正常
DIN EN 62021-1-2004 | 绝缘液体.酸度的测定.第1部分:自动电位滴定法 | Insulating liquids - Determination of acidity - Part 1: Automatic potentiometric titration (IEC 62021-1:2003); German version EN 62021-1:2003 | 正常
DIN EN 61197-1996 | 绝缘油.火焰线性传播.玻璃纤维试验方法 | Insulating liquids - Linear flame propagation - Test methods using a glass-fibre tape (IEC 61197:1993); German version EN 61197:1994 | 正常
DIN EN 61619-1998 | 绝缘液.多氯联苯污染度(PcBs).毛细管气体色谱测定法 | Insulating liquids - Contamination by polychlorinated biphenyls (PCBs) - Method of determination by capillary column gas chromatography (IEC 61619:1997); German version EN 61619:1997 | 正常
DIN EN 60814-1999 | 绝缘液体.油浸渍纸和油浸渍纸压板.用卡尔-费舍尔自动滴定法测定水份 | Insulating liquids - Oil-impregnated paper and pressboard - Determination of water by automatic coulometric Karl Fischer titration (IEC 60814:1997); German version EN 60814:1997 | 正常
DIN EN 60156-1996 | 绝缘液.电源频率下击穿电压测定.试验方法 | Insulating liquids - Determination of the breakdown voltage at power frequency - Test method (IEC 60156:1995); German version EN 60156:1995 | 正常
JIS C2320 AMD 1-2010 | 电器绝缘油(修改件1) | Electrical insulating oils (Amendment 1) | 正常
JIS C2101 AMD 1-2010 | 电器绝缘油试验方法(修改件1) | Testing methods of electrical insulating oils (Amendment 1) | 正常
JIS C2101-1999 | 电绝缘油的试验方法 | Testing methods of electrical insulating oils | 正常
JIS C2320-1999 | 电气绝缘油 | Electrical insulating oils | 正常
NF C27-239-2016 | 使用中矿物充油的电气设备.溶解和自由气体分析说明指南 | Mineral oil-filled electrical equipment in service - Guidance on the interpretation of dissolved and free gases analysis | 正常
NF C27-131-2015 | 电工用未用硅绝缘液体的规范 | Specifications for unused silicone insulating liquids for electrotechnical purposes | 正常
NF C27-261-3-2015 | 绝缘液体. 酸度的测定. 第3部分: 非矿物绝缘油的试验方法 | Insulating liquids - Determination of acidity - Part 3 : test methods for non mineral insulating oils | 正常
NF C27-107-2015 | 电工技术应用液体. 变压器和开关装置用可回收矿物绝缘油 | Fluids for electrotechnical applications - Recycled mineral insulating oils for transformers and switchgears | 正常
NF C27-227-2010 | 矿物绝缘油中规定的添加剂的检验和测定. | Detection and determination of specified additives in mineral insulating oils. | 正常
NF C27-240/A1-2012 | 填充矿物油的电气设备 - 溶解气体分析 (DGA) 用于电气设备工厂试验 | Mineral oil-filled electrical equipment - Application of dissolved gas analysis (DGA) to factory tests on electrical equipment | 正常
NF C27-450-2011 | 绝缘液体.电气用新合成有机酯规范 | Insulating liquids - Specification for unused synthetic organic esters for electrical purposes. | 正常
NF C27-603-2009 | 绝缘液体.用过和未用过的绝缘油中潜在腐蚀性硫检测的试验方法 | Insulating Liquids - Test method for detection of potentially corrosive sulphur in used and unused insulating oil. | 正常
NF C27-230-1986 | 电工装置用流体.在电介质应力和电离作用下绝缘液体的气体处理 | Fluids for electrotechnical applications. Gassing of insulating liquids under electrical stress and ionization. | 正常
NF C27-261-2-2007 | 绝缘液体.酸度的测定.第2部分:比色滴定法 | Insulating liquids - Determination of acidity - Part 2 : colourimetric titration. | 正常
NF C27-240-2007 | 填充矿物油的电气设备.在电气设备上将溶解气体分析(DGA)应用于工厂试验 | Mineral oil-filled electrical equipment - Application of dissolved gas analysis (DGA) to factory tests on electrical equipment. | 正常
NF C27-232-2007 | 绝缘液体.计算微粒数目和计算粒径大小的方法 | Insulating liquides - Methods for counting and sizing particles. | 正常
NF C27-239/A1-2007 | 使用中的浸渍矿物油的电气设备.溶解和游离气体分析结果的解释指南 | Mineral oil-impregnated electrical equipment in service - Guide to the interpretation of dissolved and free gases analysis. | 正常
NF C27-131-2005 | 电工用未用硅绝缘液体的规范 | Specifications for unused silicone insulating liquids for electrotechnical purposes. | 正常
NF C27-218-1988 | 电工装置用流体.绝缘液体光脉冲击穿电压的测定方法 | Fluids for electrotechnical applications. Methods for the determination of the lighting impulse breakdown-voltage of insulating liquids. | 正常
NF C27-250-1993 | 绝缘液体氧指数测定的试验方法 | Test method for the determintation of oxygen index of insulating liquids. | 正常
NF C27-234-1990 | 电工技术用流体.用填密柱气相色谱法测定绝缘矿物油中聚氯联二苯含量 | Determination of polychlorinated biphenyle (pcbs) in mineral insulating oils by packed column gas chromatography (gc). | 正常
NF C27-253-1994 | 矿物绝缘油.2-糖醛及相关化合物的测定方法 | Mineral insulating oils. Methods for the determination of 2-furfural and related compounds. | 正常
NF C27-252-1995 | 绝缘液体.火焰线性传播.使用玻璃纤维带的试验方法 | Insulating liquids. Linear flame propagation. Test method using a glass-fibre tape. | 正常
NF C27-239-1999 | 使用中矿物油浸渍的电气设备.溶解和游离气体分析说明指南 | Mineral oil-impregnated electrical equipment in service. Guide to the interpretation of dissolved and free gases analysis. | 正常
NF C27-106-1990 | 电工装置用流体.油管电缆用新绝缘矿物油规范 | Fluides for electrotechnical applications. Specification for unused insulating mineral oils for cables with oil ducts. | 正常
NF C27-235-1993 | 新的烃基绝缘液体.氧化稳定性评价的试验方法 | Unused hydrocarbon-based insulating liquids. Test methods for evaluating the oxidation stability. | 正常
NF C27-226-1998 | 绝缘液体.浸油纸及浸油纸板.用自动库仑计卡尔费歇尔滴定法测定水含量 | Insulating liquids. Oil-impregnated paper and pressboard. Determination of water by automatic coulometric Karl Fischer titration. | 正常
NF C27-221-1995 | 绝缘液体.功频下击穿电压的测定.试验方法 | Insulating liquids. Determination of the breakdown voltage at power frequency. Test method. | 正常
NF C27-210-2004 | 绝缘液体.相对电容率、电介质损耗因数(tanδ)和直流电阻率的测量 | Insulating liquids - Measurement of relative permittivity, dielectric dissipation factor (tan delta) and d.c.resistivity. | 正常
NF C27-261-2004 | 绝缘液体.酸度的测定.第1部分:自动电位测量滴定法 | Insulating liquids - Determination of acidity - Part 1 : automatic potentiometric titration. | 正常
NF C27-235/A1-2004 | 未使用过的烃基绝缘液体.评价氧化稳定性的试验方法 | Unused hydrocarbon-based insulating liquids - Test methods for evaluating the oxidation stability. | 正常
NF C27-350-1993 | 绝缘液体的一般分类 | General classification of insulating liquids. | 正常
NF C27-229-1985 | 绝缘油、浸油纸及浸油纸板中水含量的测定 | Determination of water in insulating oils, and in oil-impregnated paper and pressboard. | 正常
NF C27-236-1997 | 绝缘液体.多氯联苯的污染度.用毛细管柱状气相色谱测定法 | Insulating liquids. Contamination by polychlorinated biphenyls (PCBs). Method of determination by capillary column gas chromatography. | 正常
NF C27-301-1992 | 按燃点和净热值的绝缘油的分类 | Classification of insulating liquids according to fire point and net calorific value. | 正常
NF C27-137-2002 | 电绝缘油用擦拭器试验方法 | Testing methodology for wipers used in electrical insulating oil. | 正常
NF C27-135-2003 | 绝缘油.用显微镜计数法测定纤维污染度 | Insulating oil - Determination of fibre contamination by the counting method using a microscope. | 正常
NF C27-115-1999 | 矿物绝缘油.甚低温条件下运动粘度的测定 | Mineral insulating oils. Determination of kinematic viscosity at very low temperatures. | 正常
NF C27-110-1993 | 老化后矿物绝缘油低温流动性能的评价方法 | Method for evaluating the low temperature flow properties of mineral insulating oils after ageing. | 正常
NF C27-132-1994 | 含硅变压器液体的维护指南 | Guide for the maintenance of silicone transformer liquids. | 正常
NF C27-225-1978 | 新矿物绝缘油中芳香烃含量的测定 | Determination of the aromatic hydrocarbon content of new mineral insulating oils. | 正常
NF C27-102-2014 | 电工技术应用液体. 变压器及类似电气设备未使用的天然酯 | Fluids for electrotechnical applications - Unused natural esters for transformers and similar electrical equipment | 正常
NF C27-101-2014 | 电工用液体.变压器和开关设备用的未使用过的矿物绝缘油 | Fluids for electrotechnical applications - Unused mineral insulating oils for transformers and switchgear | 正常
NF C20-924-1-40-2014 | 着火危险试验. 第1-40部分: 电工技术产品着火危险评估指南. 绝缘液体 | Fire hazard testing - Part 1-40 : guidance for assessing the fire hazard of electrotechnical products - Insulating liquids | 正常
NF C27-223-1-2013 | 未使用和已使用绝缘液体中腐蚀性硫化物定量测定试验方法.第1部分:二苄基二硫(DBDS)定量测定试验方法 | Test method for quantitative determination of corrosive sulfur compounds in unused and used insulating liquids - Part 1: test method for quantitative determination of dibenzyldisulfide (DBDS) | 正常
NF C27-224-2012 | 注油电气设备 - 气体抽样以及游离和溶解气体分析 - 指南. | Oil-filled electrical equipment - Sampling of gases and analysis of free and dissolved gases - Guidance. | 正常
NF C27-475-2012 | 绝缘液体的取样方法. | Method of sampling insulating liquids. | 正常
NF C27-222-2013 | 电气设备中的矿物绝缘油.监督和维护导则 | Mineral insulating oils in electrical equipment - Supervision and maintenance guidance | 正常
GB/T 7602.2-2008 | 变压器油、汽轮机油中T501抗氧化剂含量测定法 第2部分:液相色谱法 | Determination of T501 oxidation inhibitor content in transformer oil or turbine oil-Part 2:Liquid chromatography | 正常
GB/T 7602.3-2008 | 变压器油、汽轮机油中T501抗氧化剂含量测定法 第3部分:红外光谱法 | Determination of T501 oxidation inhibitor content in transformer oil or turbine oilPart 3:Infrared spectroscopy method | 正常
GB/T 7252-2001 | 变压器油中溶解气体分析和判断导则 | Guide for the analysis and the diagnosis of gases dissolved in transformer oil | (作废)
GB/T 9635-1988 | 天线棒测量方法 | Measuring methods for aerial rods | 正常
GB/T 9633-1988 | 微波频率应用的旋磁材料性能测试方法 |  | (作废)
GB/T 9636-1988 | 磁性氧化物制成的圆天线棒和扁天线棒 | Aerial rods and slabs made of magnetic oxides | 正常
GB/T 5026-1985 | 软磁合金振幅磁导率测量方法 |  | (作废)
GB/T 507-2002(2004) | 绝缘油 击穿电压测定法 | Insulating oils--Determination of the dielectric strength | 正常
GB/T 3217-1992 | 永磁(硬磁)材料磁性试验方法 |  | (作废)
GB/T 3655-1992 | 电工钢片(带)磁、电和物理性能测量方法 |  | (作废)
GB/T 13789-1992 | 单片电工钢片(带)磁性能测量方法 |  | (作废)
GB/T 12798-1991 | 磁性氧化物或铁粉制成的轴向引线磁芯 |  | (作废)
GB/T 12797-1991 | 微电机用永磁铁氧体磁体 分规范(可供认证用) |  | (作废)
GB/T 12796-1991 | 永磁铁氧体磁体总规范(可供认证用) |  | (作废)
DL/T 474.5-2018 | 现场绝缘试验导则 避雷器试验 |  | 正常
DL/T 474.4-2018 | 现场绝缘试验实施导则 交流耐压试验 |  | 正常
DL/T 474.3-2018 | 现场绝缘试验实施导则 介质损耗因数tanδ试验 |  | 正常
DL/T 474.2-2018 | 现场绝缘试验实施导则 直流高电压试验 |  | 正常
DL/T 474.1-2018 | 现场绝缘试验实施导则 绝缘电阻、吸收比和极化指数试验 |  | 正常
DL/T 1550-2016 | 矿物绝缘油中金属铜、铁含量测定法 旋转圆盘电极发射光谱法 |  | 正常
DL/T 1498.3-2016 | 变电设备在线监测装置技术规范 第3部分:电容型设备及金属氧化物避雷器绝缘在线监测装置 | Technical specification for on-line monitoring device of transformation equipment.Part 3: On-line insulation monitoring device of capacitive equipment and metal-oxide surge arrester | 正常
DL/T 1498.2-2016 | 变电设备在线监测装置技术规范 第2部分:变压器油中溶解气体在线监测装置 | Technical specification for on-line monitoring device of transformation equipment.Part 2: on-line monitoring device of gases dissolved in transformer oil | 正常
DL/T 1498.1-2016 | 变电设备在线监测装置技术规范 第1部分：通则 | Technical specification for on-line monitoring device of transformation equipment.Part 1: general technical specification | 正常
DL/T 1432.2-2016 | 变电设备在线监测装置检验规范 第2部分：变压器油中溶解气体在线监测装置 | Testing specification for on-line monitoring device of transformation equipment.Part 2: on-line monitoring device of gases dissolved in transformer oil | 正常
DL/T 429.2-2016 | 电力用油颜色测定法 | Determination of colour for oils in electric power industry | 正常
DL/T 1460-2015 | 矿物绝缘油中腐蚀性硫的定量测试铜粉腐蚀法 | Test method for quantitative determination of corrosive sulfur in mineral insulating oils Copper powder corroding test | 正常
DL/T 1459-2015 | 矿物绝缘油中金属钝化剂含量的测定.高效液相色谱法 | Quantitative determination of metal passivators in mineral insulating oils (HPLC) | 正常
DL/T 1458-2015 | 矿物绝缘油中铜、铁、铝、锌金属含量的测定 原子吸收光谱法 | Determination of copper, iron, aluminum and zinc contents in mineral insulating oil-Atomic absorption spectrometry method | 正常
DL/T 703-2015 | 绝缘油中含气量的气相色谱测定法 | Determination of dissolved gas content in insulating oil by gas chromatography | 正常
DL/T 1400-2015 | 油浸式变压器测温装置现场校准规范 | Calibration specification for local temperature measuring equipment of oil transformer | 正常
DL/T 722-2014 | 变压器油中溶解气体分析和判断导则 | Guide to the analysis and the diagnosis of gases dissolved in transformer oil | 正常
DL/T 1096-2008 | 变压器油中颗粒度限值 | Limited value of particulate pollutant of transformer oils | (作废)
DL/T 1095-2008 | 变压器油带电度现场测试导则 | Guide to on-site determination of electrostatic charging tendency of transformer oil | (作废)
DL/T 1094-2008 | 电力变压器用绝缘油选用指南 | Guide to the choice of power transformer oil | (作废)
SN/T 1792-2006 | 电气绝缘油中多氯联苯含量的测定 气相色谱法 |  | (作废)
SH/T 0206-1992 | 变压器油氧化安定性测定法 | Methods of measurement for the oxidation stability of transformer oil | 正常