## Sheet1
QQ：543060174/327814406 | 咨询电话:010-61272284 400-090-1985 | 网址：http://www.stdbook.org | E-MAIL：gwbz@263.net
标准号 | 中文名 | 英文名 | 状态
NB/T 20160-2021 | 压水堆核电厂不锈钢水池覆面施工技术规程 |  | 正常
NB/T 20159-2021 | 压水堆核电厂安全壳钢衬里施工技术规程 |  | 正常
NB/T 20108-2021 | 压水堆核电厂安全壳贯穿件安装技术规程 |  | 正常
ANSI/IEEE 833-2005 | 核电站电气设备防护推荐实施规程 | Recommended Practice for the Protection of Electric Equipment in Nuclear Power Generating Stations from Water Hazards | 正常
ANSI/ANS 57.5-1996 | 轻水反应堆燃料组件的结构设计和评估 | Light Water Reactors Fuel Assembly Mechanical Design and Evaluation | 正常
ANSI/ANS 19.11-1997 | 水慢化动力堆反应性的慢化剂温度系数的计算和测量 | Calculation and Measurement of the Moderator Temperature Coefficient of Reactivity for Water Moderated Power Reactors | 正常
IEC 60737-2010 | 核电站.安全性仪表装置重要事项.温度传感器(堆芯温度或主包壳温度测量).特性和试验方法 | Nuclear power plants - Instrumentation important to safety - Temperature sensors (in-core and primary cooling circuit) - Characteristics and test methods | 正常
IEC/TR 62247-2003 | 核电厂.主控制室设计.IEC 60964-1989的应用回顾 | Nuclear power plants - Main control room design - A review of the application of IEC 60964 (1989) | 正常
IEEE 765-2012 | 核电站(NPGS)的优先选用电源(PPS)的IEEE标准 | Preferred Power Supply (PPS) for Nuclear Power Generating Stations (NPGS) | 正常
GB/T 28536-2012 | 核电厂机械设备老化管理大纲编制导则 | Guidelines for formulating the ageing management programme of machanical equipment in nuclear power plants | 正常
GB/T 15761-1995 | 2×600MW压水堆核电厂核岛系统设计建造规范 | Design and construction rules for nuclear island systems of 2×600MW PWR nuclear power plants | 正常
NB/T 20381-2016 | 压水堆核电厂化学和容积控制系统设计准则 | Design criteria for chemical and volume control system in pressurized water reactor nuclear power plants | 正常
EJ/T 20132-2016 | 空间热离子反应堆核动力装置热离子燃料元件设计准则 | Design criterion for thermionic fuel elements of space nuclear power system with thermionic reactor | 正常
EJ/T 20130-2016 | 船用反应堆安全壳及其系统设计准则 | Design criteria for ship reactor containment and systems | 正常
EJ/T 20129-2016 | 钠冷快中子增殖堆操纵员培训及考试用模拟机 | Sodium cooled fast breeder reactor simulators for use in operator training and examination | 正常
EJ/T 20120-2016 | 钠冷快中子增殖堆设计准则 蒸汽发生器保护系统 | Design criteria for sodium cooled fast breeder reactor.Steam generator protection system | 正常
EJ/T 20119-2016 | 钠冷快中子增殖堆设计准则 仪表与控制系统 | Design criteria for sodium cooled fast breeder reactor.Instrumentation and control system | 正常
EJ/T 20118-2016 | 钠冷快中子增殖堆设计准则 一回路钠净化系统 | Design criteria for sodium cooled fast breeder reactor.Primary loop sodium purification system | 正常
EJ/T 20117-2016 | 钠冷快中子增殖堆设计准则 一回路钠充排系统 | Design criteria for sodium cooled fast breeder reactor.Primary loop sodium plugging system | 正常
EJ/T 20116-2016 | 钠冷快中子增殖堆设计准则 一回路冷却剂系统 | Design criteria for sodium cooled fast breeder reactor.Primary coolant system | 正常
EJ/T 20115-2016 | 钠冷快中子增殖堆设计准则 事故余热排出系统 | Design criteria for sodium cooled fast breeder reactor.Accidental residual heat removal system | 正常
EJ/T 20114-2016 | 钠冷快中子增殖堆设计准则 钠火安全 | Design criteria for sodium cooled fast breeder reactor.Sodium fire safety | 正常
EJ/T 20113-2016 | 钠冷快中子增殖堆设计准则 核蒸汽供应系统的过程检测系统 | Design criteria for sodium cooled fast breeder reactor.Process monitoring system of nuclear steam supply system | 正常
EJ/T 20112-2016 | 钠冷快中子增殖堆设计准则 核蒸汽动力转换系统 | Design criteria for sodium cooled fast breeder reactor.Nuclear power steam conversion system | 正常
EJ/T 20111-2016 | 钠冷快中子增殖堆设计准则 二回路钠净化系统 | Design criteria for sodium cooled fast breeder reactor.Secondary loop sodium purification system | 正常
EJ/T 20110-2016 | 钠冷快中子增殖堆设计准则 电缆敷设和隔离 | Design criteria for sodium cooled fast breeder reactor.Cables laying and isolating | 正常
EJ/T 20109-2016 | 钠冷快中子增殖堆设计准则 电加热系统 | Design criteria for sodium cooled fast breeder reactor.Electric heating system | 正常
EJ/T 20108-2016 | 钠冷快中子增殖堆设计准则 厂内辐射防护 | Design criteria for sodium cooled fast breeder reactor.On-site radiation protection | 正常
EJ/T 20107-2016 | 钠冷快中子增殖堆设计准则 运行状态及事故工况分类 | Design criteria for sodium cooled fast breeder reactor.Classification for operational states and accident conditions | 正常
EJ/T 20106-2016 | 钠冷快中子增殖堆设计准则 氩气质量 | Design criteria for sodium cooled fast breeder reactor.Argon quality | 正常
EJ/T 20105-2016 | 钠冷快中子增殖堆设计准则 事故分析和安全准则 | Design criteria for sodium cooled fast breeder reactor.Accident analysis and safety criteria | 正常
EJ/T 20104-2016 | 钠冷快中子增殖堆设计准则 屏蔽设计 | Design criteria for sodium cooled fast breeder reactor.Shielding design | 正常
EJ/T 20103-2016 | 钠冷快中子增殖堆设计准则 钠冷却剂质量控制 | Design criteria for sodium cooled fast breeder reactor.Quality control for the coolant | 正常
EJ/T 20102-2016 | 钠冷快中子增殖堆设计准则 构筑物、系统和部件安全分级 | Design criteria for sodium cooled fast breeder reactor.Safety classification of structure, system and component | 正常
EJ/T 20101-2016 | 钠冷快中子增殖堆设计准则 堆芯支承结构设计 | Design criteria for sodium cooled fast breeder reactor.Core support structures design | 正常
EJ/T 20100-2016 | 钠冷快中子增殖堆操纵人员执照考核 | License examination for operators of sodium cooled fast breeder reactor | 正常
EJ/T 20046-2014 | 钠冷快中子增殖堆设计准则热工流体力学设计 | Design criteria for sodium cooled fast breeder reactor.Thermal-hydraulic design | 正常
EJ/T 20045-2014 | 钠冷快中子增殖堆设计准则核设计 | Design criteria for sodium cooled fast breeder reactor.Nuclear design | 正常
EJ/T 20044-2014 | 钠冷快中子增殖堆设计准则反应堆结构总体设计 | Design criteria for sodium cooled fast breeder reactor.General design of reactor structure | 正常
EJ/T 20043-2014 | 钠冷快中子增殖堆设计准则厂址评价 | Design criteria for sodium cooled fast breeder reactor.Site evaluation | 正常
EJ/T 20042-2014 | 钠冷快中子增殖堆设计准则安全设计 | Design criteria for sodium cooled fast breeder reactor.Safety design | 正常
NB/T 20325.2-2014 | 压水堆核电厂安全壳预应力技术规程.第2部分:试验 | Prestressing technology specification for safety containments of PWR nuclear power plants.Part 2: test | 正常
NB/T 20325.1-2014 | 压水堆核电厂安全壳预应力技术规程.第1部分:材料 | Prestressing technology specification for safety containments of PWR nuclear power plants.Part 1: Material | 正常
NB/T 20324-2014 | 非能动堆芯冷却系统定期试验要求 | Criteria for periodic test of passive core cooling system | 正常
NB/T 20323-2014 | 非能动安全壳冷却系统定期试验要求 | Criteria for periodic test of passive containment cooling system | 正常
NB/T 20320-2014 | 核电厂地震响应准则 | Criteria for nuclear power plant response to an earthquake | 正常
NB/T 20316-2014 | 压水堆核电厂装料前热态性能试验要求 | Requirements for hot functional tests before core loading for PWR nuclear power plants | 正常
NB/T 20325.3-2014 | 压水堆核电厂安全壳预应力技术规程.第3部分:施工 | Prestressing technology specification for safety containments of PWR nuclear power plants.Part 3: Construction | 正常
NB/T 20322-2014 | 压水堆核电厂埋地金属构筑物阴极保护系统调试运行准则 | Commissioning test and operation criteria for cathodic protection system of buried metallic structure applied in nuclear power plants | 正常
NB/T 42017-2013 | 往复式内燃燃气发电机组功率和燃料消耗率换算方法 | Reciprocating internal combustion gas turbine power and fuel consumption rate conversion method | 正常
NB/T 42016-2013 | 撬装式液化天然气发电机组供气装置 | Skid-mounted gas supply device for LNG generating set | 正常
NB/T 42011-2013 | 往复式内燃燃气发电机组气体燃料分类、组分及处理技术要求 | Classification, constituents and treatment technology requirements of gas fuels for reciprocating internal combustion gas generation set | 正常
NB/T 42010-2013 | 往复式内燃燃气发电机组.术语 | Reciprocating internal combustion gas generating set.Terminology | 正常
NB/T 42009-2013 | 往复式内燃燃气发电机组.安全要求 | Reciprocating internal combustion gas generating set.Safety requirement | 正常
NB/T 42008-2013 | 往复式内燃燃气发电机组.产品名称和型号编制规则 | Reciprocating internal combustion gas generating set.Nomenclature and code of designations | 正常
NB/T 20162-2012 | 压水堆核电厂核岛机械设备在贮存、安装和启动期间清洁区的建立和维护技术规程 | Technical requirements on the cleaning areas establishment and maintenance of PWR nuclear island equipment during storage, installation and start-up | 正常
NB/T 20161-2012 | 压水堆核电厂堆外中子注量率测量系统安装与试验技术规程 | Installation and commissioning technical guideline for ex-core neutron flux measuring system for pressurized water reactor of nuclear power plants | 正常
NB/T 20160-2012 | 压水堆核电厂不锈钢水池覆面施工技术规程 | The technical specification for watertight stainless steel liner of PWR nuclear power plant | 正常
NB/T 20159-2012 | 压水堆核电厂反应堆厂房安全壳钢衬里施工技术规程 | The construction technical specification for liner of reactor building of PWR nuclear power plant | 正常
NB/T 20158-2012 | 压水堆核电厂循环水泵蜗壳混凝土施工技术规程 | Specification for volute concrete construct of circulating water pump of pressurized water reactors nuclear power plants | 正常
NB/T 20157-2012 | 核电工程施工质量保证规定 | Quality assurance requirements for construction of nuclear power project | 正常
NB/T 20156-2012 | 核电厂预防性维修大纲的编制与优化要求 | Requirement for compilation and optimization for preventive maintenance program at nuclear power plants | 正常
NB/T 20133.6-2012 | 压水堆核电厂设施设备防护涂层规范.第6部分：涂装作业 | Specifications for protective coatings used in pressurized water reactor nuclear power plants.Part 6:Coating operation | 正常
NB/T 20133.5-2012 | 压水堆核电厂设施设备防护涂层规范.第5部分：涂层系统耐化学介质的试验方法 | Specifications for protective coatings used in pressurized water reactor nuclear power plants.Part 5:Standard test method for chemical resistance | 正常
NB/T 20067-2012 | 核电厂安全级电气设备标识 | Identification for safety class equipment in nuclear power plants | 正常
NB/T 20133.4-2012 | 压水堆核电厂设施设备防护涂层规范.第4部分：涂层系统可去污性的测定 | Specifications for protective coatings used in pressurized water reactor nuclear power plants.Part 4:Determination of the decontaminability of coatings | 正常
NB/T 20133.3-2012 | 压水堆核电厂设施设备防护涂层规范.第3部分：涂层系统受γ射线辐照影响的试验方法 | Specifications for protective coatings used in pressurized water reactor nuclear power plants.Part 3: Standard test method for effects of gamma radiation | 正常
NB/T 20127-2012 | 压水堆核电厂预埋件制作与安装技术要求 | Technical requirements for embedment parts manufacture and installation of PWR nuclear power plant | (作废)
NB/T 20126-2012 | 压水堆核电厂核岛厂房嵌缝的施工及验收规范 | Specifications for construction and acceptance of caulking of PWR nuclear island plant | 正常
NB/T 20125-2012 | 压水堆核电厂安全重要设备基础灌浆施工技术规程 | Construction specification of the foundation grouting for PWR safety important facility | 正常
NB/T 20124-2012 | 压水堆核电厂生物屏蔽混凝土施工验收规范 | Code for acceptance of construction of biological shielding concrete of PWR nuclear power plant | 正常
NB/T 20123-2012 | 核电工程分部分项划分规定 | Standard for division of sub-section and sub-project in construction of nuclear power plant | 正常
NB/T 20122-2012 | 核电工程施工质量验收及交工验收管理规定 | Checking-and-acceptance management provision for the quality and the hand-over of nuclear power engineering construction | 正常
NB/T 20121-2012 | 核电工程施工组织设计编制规定 | The regulation for editing construction organization plan of nuclear power project | 正常
NB/T 20113-2012 | 压水堆核电厂核岛厂房通风系统安装技术规程 | Technical regulation for construction of HVAC installation in PWR nuclear power plant | 正常
NB/T 20112-2012 | 压水堆核电厂反应堆厂房电缆端接技术规程 | Technical regulation of the cable terminal connection in the reactor building for PWR nuclear power plant | 正常
NB/T 20111-2012 | 压水堆核电厂核岛阀门通用安装技术规程 | General technical regulation of safety-related valves installation in PWR nuclear power plant | 正常
NB/T 20110-2012 | 压水堆核电厂核辅助系统设备安装技术规程 | Technical regulation for installation of PWR nuclear power auxiliary system equipment | 正常
NB/T 20109-2012 | 压水堆核电厂反应堆厂房中子通量管安装技术规程 | Technical specification of neutron flux guide tube installation in reactor building for PWR nuclear power plant | 正常
NB/T 20108-2012 | 压水堆核电厂安全壳贯穿件安装技术规程 | Technical regulation of containment penetration installation in PWR nuclear power plant | 正常
NB/T 20107-2012 | 压水堆核电厂反应堆冷却剂泵安装技术规程 | Technical regulation for construction of reactor coolant pump installation in PWR nuclear power plant | 正常
NB/T 20105-2012 | 核电厂厂房设计荷载规范 | Load code for the design of nuclear power plants building structures | (作废)
NB/T 20133.2-2012 | 压水堆核电厂设施设备防护涂层规范 第2部分:涂层系统在模拟设计基准事故条件下的评价试验方法 | Specifications for protective coatings used in pressurized water reactor nuclear power plants-Part 2:Standard test method for evaluating coatings at simulated design basis accident (DBA) conditions | 正常
NB/T 20133.1-2012 | 压水堆核电厂设施设备防护涂层规范.第1部分：通用要求 | Specifications for protective coatings used in pressurized water reactor nuclear power plants.Part 1:General requirements | 正常
NB/T 20129-2012 | 压水堆核电厂核岛应急柴油发电机组的安装、试验与验收技术规程 | General technical regulation for installation,test and acceptance of emergency diesel generator of nuclear island in pressurized water reactor nuclear power plants | 正常
NB/T 20128-2012 | 核岛厂房基坑的施工及验收规范 | specification on construction and acceptance of nuclear island foundation pit | 正常
NB/T 20120-2012 | 核电工程施工技术管理规定 | Management provision for the technology of nuclear power engineering constrution | 正常
NB/T 20119-2012 | 核电工程施工物项管理规定 | Material item management requirements for nuclear power engineering | 正常
NB/T 20118-2012 | 核电工程施工防火管理规定 | Regulation for fire protection for nuclear power plants construction | 正常
NB/T 20117-2012 | 核电工程施工安全管理规定 | Prescriptions of safety management for construction of nuclear power project | 正常
NB/T 20116-2012 | 核电工程建设管理信息化通用要求 | The general requirements of informatiztion for nuclear power plants construction project management | 正常
NB/T 20115-2012 | 压水堆核电厂堆顶结构安装施工技术规程 | Technical regulation for construction and acceptance of reactor pressure vessel head installation in PWR nuclear power plant | 正常
NB/T 20114-2012 | 压水堆核电厂棒电源系统安装技术规程 | The technical regulation of pressurized water reactor CRDW power supply system installlation | 正常
NB/T 20278-2014 | 压水堆核电厂应急给水系统设计准则 | Design criteria for emergency feedwater system of pressurized water reactor nuclear power plants | 正常
NB/T 20261-2014 | 压水堆核电厂应急堆芯冷却系统设计准则 | Design criteria for emergency core cooling system of pressurized water reactor nuclear power plants | 正常
NB/T 20260-2014 | 压水堆核电厂余热排出系统设计准则 | Design criteria for residual heat removal system of pressurized water reactor nuclear power plants | 正常
NB/T 20311-2014 | 压水堆核电厂安全壳喷淋系统设计准则 | Design criteria for containment spray system of pressurized water reactor nuclear power plants | 正常
NB/T 20285-2014 | 压水堆核电厂反应堆系统设计总要求 | General requirements of reactor system design for pressurized water reactor nuclear power plants | (作废)
NB/T 20293-2014 | 核电厂厂址选择基本程序 | Procedure of nuclear power plant siting | 正常
NB/T 20282-2014 | 核电厂大件设备运输调查与评价技术规范 | Technical code for investigation and assessment of large component transportation of nuclear power plants | 正常
EJ/T 1210-2006 | 压水堆堆内构件模型流致振动试验 | Experiment standard for flow-induced vibration of PWR internals model | 正常
NB/T 42029.7-2014 | 往复式内燃燃气电站设计规范.第7部分:管控系统 | Code for design of reciprocating internal combustion gas engine power station.Part 7: Computer supervision and control system | 正常
NB/T 42029.6-2014 | 往复式内燃燃气电站设计规范.第6部分:输、配电系统 | Code for design of reciprocating internal combustion gas engine power station.Part 6: Power transmission and distribution system | 正常
NB/T 42029.5-2014 | 往复式内燃燃气电站设计规范.第5部分:冷却系统 | Code for design of reciprocating internal combustion gas engine power station.Part 5: Cooling system | 正常
NB/T 42029.4-2014 | 往复式内燃燃气电站设计规范.第4部分:燃气供给系统 | Code for design of reciprocating internal combustion gas engine power station.Part 4: Gas supply system | 正常
NB/T 42029.3-2014 | 往复式内燃燃气电站设计规范.第3部分:燃气发电机组 | Code for design of reciprocating internal combustion gas engine power station.Part 3: Gas generating set | 正常
NB/T 42029.2-2014 | 往复式内燃燃气电站设计规范.第2部分:基础建设 | Code for design of reciprocating internal combustion gas engine power station.Part 2: Physical infrastructure | 正常
NB/T 42029.1-2014 | 往复式内燃燃气电站设计规范.第1部分:总体设计 | Code for design of reciprocating internal combustion gas engine power station.Part 1: Overall design | 正常
EJ/T 322-1994 | 压水堆核电厂反应堆压力容器设计准则 |  | 正常
EJ/T 320-1998 | 压水堆核电厂反应堆结构总体设计准则 | General design criteria of reactor for pressurized water reactor nuclear power plants | (作废)
EJ 439-1989 | 潜艇压水堆结构总体设计准则 |  | (作废)