## Sheet1
QQ：543060174/327814406 | 咨询电话:010-61272284 400-090-1985 | 网址：http://www.stdbook.org | E-MAIL：gwbz@263.net
标准号 | 中文名 | 英文名 | 状态
GB/T 40023-2021 | 无损检测仪器 超声衍射声时检测仪 技术要求 |  | 正常
GB/T 39849-2021 | 无损检测仪器 超声衍射声时检测仪 性能测试方法 |  | 正常
JB/T 13937-2020 | 无损检测仪器 激光超声可视化检测仪 |  | 正常
JB/T 13936-2020 | 无损检测仪器 磁粉检测用磁化设备技术要求 |  | 正常
JB/T 13935-2020 | 无损检测仪器 超声检测 超声衍射声时检测仪 |  | 正常
ASTM E1324-2016 | 用于测定超声波检验仪器若干电子特性的标准指南 | Standard Guide for Measuring Some Electronic Characteristics of Ultrasonic Testing Instruments | 正常
ASTM E317-2016 | 在不适用电子测量仪器的情况下评估超声波脉冲回波试验一起和系统的性能特征的标准实施规程 | Standard Practice for Evaluating Performance Characteristics of Ultrasonic Pulse-Echo Testing Instruments and Systems without the Use of Electronic Measurement Instruments | 正常
ASTM E1324-2016 | 用于测定超声波检验仪器若干电子特性的标准指南 | Standard Guide for Measuring Some Electronic Characteristics of Ultrasonic Testing Instruments | 正常
ASTM E317-2016 | 在不适用电子测量仪器的情况下评估超声波脉冲回波试验一起和系统的性能特征的标准实施规程 | Standard Practice for Evaluating Performance Characteristics of Ultrasonic Pulse-Echo Testing Instruments and Systems without the Use of Electronic Measurement Instruments | 正常
ISO 18563-2-2017 | 无损检验. 超声相控阵设备的表征和验证. 第2部分：探针 | Non-destructive testing - Characterization and verification of ultrasonic phased array equipment - Part 2: Probes | 正常
ISO 17405-2014 | 无损试验. 超声波检测. 检测采用焊接, 轧制及爆炸形成包覆层的技术 | Non-destructive testing - Ultrasonic testing - Technique of testing claddings produced by welding, rolling and explosion | 正常
ISO 12715-2014 | 无损试验. 超声波检测. 接触探头声束特征的参考试块和试验规程 | Non-destructive testing - Ultrasonic testing - Reference blocks and test procedures for the characterization of contact probe sound beams | 正常
JJG(铁道) 130-2003 | 钢轨超声波探伤仪 | Ultrasonic Flaw Detector for Rail | 正常
JJG(水利) 003-2009 | 超声波测深议 | Ultrasonic Sounder | 正常
JJG(邮电) 051-1999 | 传输损伤测试仪 |  | 正常
JB/T 12725-2016 | 无损检测仪器 超声自动检测系统 | Non-destructive testing instruments.Ultrasonic automatic detection system | 正常
JB/T 12458-2015 | 无损检测仪器 多通道数字超声检测仪 | Non-destructive testing instruments.Multi-channel digital ultrasonic testing instrument | 正常
JB/T 12454-2015 | 无损检测仪器 声扫频检测仪 | Nondestructive testing instruments.Swept frequency acoustical testing instrument | 正常
JB/T 11780-2014 | 无损检测仪器 阵列涡流检测仪性能和检验 | Non-destructive testing instrument.Characterization and verification of array eddy current testing instrument | 正常
JB/T 11612-2013 | 无损检测仪器 涡流-漏磁综合检测仪 | Non-destructive testing instrument.Eddy current and magnetic flux leakage integrated testing instrument | 正常
JB/T 11260-2011 | 无损检测仪器.声脉冲检测仪 | Non-destructive testing instrument.Acoustic pulse reflectometry instrument | 正常
JB/T 11259-2011 | 无损检测仪器.多频涡流检测仪 | Non-destructive testing instrument.Multifrequency eddy current testing equipment | 正常
JB/T 11279-2012 | 无损检测仪器.线阵列涡流探头 | Non-destructive testing instruments.Eddy current line array probe | 正常
JB/T 11277-2012 | 无损检测仪器 单通道声阻抗检测仪 | Non-destructive testing instruments - Single channel acoustic impedance instrument | 正常
JB/T 11276-2012 | 无损检测仪器.超声波探头型号命名方法 | Non-destructive testing instruments.Nomenclatures for models of probes in ultrasonic | 正常
JB/T 11609-2013 | 无损检测仪器 声振检测仪 | Non-destructive testing instrument.Acoustic impact testing instrument | 正常
JB/T 11606-2013 | 无损检测仪器 金属磁记忆检测仪 性能试验方法 | Non-destructive testing instruments.Metal magnetic memory instrument verification | 正常
JB/T 11605-2013 | 无损检测仪器 金属磁记忆检测仪 技术条件 | Non-destructive testing instruments.Metal magnetic memory instrument specification | 正常
JB/T 11604-2013 | 无损检测仪器 超声波测厚仪 | Non-destructive testing instruments.Ultrasonic thickness gauge | 正常
JB/T 11603.2-2013 | 无损检测仪器 声发射 设备特性 第2部分:操作特性验证 | Non-destructive testing instruments.Acoustic emission.Equipment characterization.Part 2: Verification of operating characteristic | 正常
JB/T 11603.1-2013 | 无损检测仪器 声发射 设备特性 第1部分:设备描述 | Non-destructive testing instruments.Acoustic emission.Equipment characterization.Part 1: Equipment description | 正常
JB/T 7411-2012 | 无损检测仪器.电磁轭磁粉探伤仪技术条件 | Non-destructive testing instruments.Specification of electricity magnetic yoke magnetic particle flaw detector | 正常
JB/T 5754-2011 | 无损检测仪器.单通道声发射检测仪.技术条件 | Non-destructive testing instruments. Specifications for one-channel acoustic emission testing instrument | 正常
BS EN ISO 15548-2-2013 | 无损检测.涡流检验设备.探针特性和验证 | Non-destructive testing. Equipment for eddy current examination. Probe characteristics and verification | 正常
BS EN ISO 16828-2014 | 无损检测. 超声波检测. 作为不连续检测和评价方法的衍射声时技术 | Non-destructive testing. Ultrasonic testing. Time-of-flight diffraction technique as a method for detection and sizing of discontinuities | 正常
BS EN ISO 16823-2014 | 无损检测. 超声波检测. 传输技术 | Non-destructive testing. Ultrasonic testing. Transmission technique | 正常
BS EN ISO 16810-2014 | 无损检测. 超声波检测. 一般原则 | Non-destructive testing. Ultrasonic testing. General principles | 正常
BS EN ISO 16811-2014 | 无损检测. 超声波检测. 灵敏度和范围设置 | Non-destructive testing. Ultrasonic testing. Sensitivity and range setting | 正常
BS EN 12668-3-2013 | 无损检测. 超声波检测设备的性能与验证. 组合设备 | Non-destructive testing. Characterization and verification of ultrasonic examination equipment. Combined equipment | 正常
BS 7965-2013 | 工业气体应用的对角线路径时差法超声波流量计的选择, 安装, 操作和校准指南 | Guide to the selection, installation, operation and calibration of diagonal path transit time ultrasonic flowmeters for industrial gas applications | 正常
BS EN 15317-2013 | 无损检测. 超声波检测. 超声波测厚设备的特征和验证 | Non-destructive testing. Ultrasonic testing. Characterization and verification of ultrasonic thickness measuring equipment | 正常
BS EN ISO 15548-1-2013 | 无损检测. 涡流检测设备. 仪器性能和验证 | Non-destructive testing. Equipment for eddy current examination. Instrument characteristics and verification | 正常
BS EN 61391-2-2010 | 超音波.脉冲回波扫描器.最大穿透深度和局部动态范围的测量 | Ultrasonics - Pulse-echo scanners - Measurement of maximum depth of penetration and local dynamic range | 正常
BS EN 12668-2-2010 | 无损检验.超声波检验设备的特性和验证.探头 | Non-destructive testing - Characterization and verification of ultrasonic examination equipment - Probes | 正常
BS EN 12668-1-2010 | 无损检验.超声波检验设备的特性和验证.仪器 | Non-destructive testing - Characterization and verification of ultrasonic examination equipment - Instruments | 正常
BS PD IEC/TS 62736-2016 | 超声学. 脉冲回波扫描仪. 验证成像系统基本性能稳定性的简化定期试验方法 | Ultrasonics. Pulse-echo scanners. Simple methods for periodic testing to verify stability of an imaging system's elementary performance | 正常
EN 15317-2013 | 无损检测. 超声波检测. 超声波厚度测量装置的特性描述和验证; 德文版本EN 15317-2013 | Non-destructive testing - Ultrasonic testing - Characterization and verification of ultrasonic thickness measuring equipment; German version EN 15317:2013 | 正常
EN 61161-2013 | 超声波.功率测量.辐射强度平衡和性能要求(IEC 61161-2013).德文版本EN 61161-2013 | Ultrasonics - Power measurement - Radiation force balances and performance requirements (IEC 61161:2013); German version EN 61161:2013 | 正常
ANSI N42.55-2013 | 用于简易式爆炸装置和危险设备识别的便携式X射线系统传动装置性能标准 | Standard for the Performance of Portable Transmission X-Ray Systems for Use in Improvised Explosive Device and Hazardous Device Identification | 正常
IEC/TS 62556-2014 | 超声学. 场特性. 高强度治疗性超声(HITU)换能器和系统场参数的规范及测量 | Ultrasonics -Field characterization - Specification and measurement of field parameters for High Intensity Therapeutic Ultrasound (HITU) transducers and systems | 正常
DIN 25450-1990 | 手工试验用超声波检测设备 | Ultrasonic equipment for manual testing | 正常
DIN EN 15317-2014 | 无损检测. 超声波检测. 超声波厚度测量装置的特性描述和验证; 德文版本EN 15317-2013 | Non-destructive testing - Ultrasonic testing - Characterization and verification of ultrasonic thickness measuring equipment; German version EN 15317:2013 | 正常
DIN EN 61161-2013 | 超声波.功率测量.辐射强度平衡和性能要求(IEC 61161-2013).德文版本EN 61161-2013 | Ultrasonics - Power measurement - Radiation force balances and performance requirements (IEC 61161:2013); German version EN 61161:2013 | 正常
JIS G0584-2014 | 电弧焊钢管的超声波探伤检验 | Ultrasonic examination for arc welded steel pipes | 正常
NF A09-022-1-2015 | 无损检测. 超声相控阵设备的鉴定和验证. 第1部分: 仪器 | Non-destructive testing - Characterization and verification of ultrasonic phased array equipment - Part 1 : instruments | 正常
NF A09-022-2-2017 | 无损检测. 超声相控阵设备的鉴定和验证. 第2部分: 探头 | Non-destructive testing - Characterization and verification of ultrasonic phased array equipment - Part 2: Probes | 正常
NF A09-355-1985 | 无损检验.声音发射.压电传感器的连接件 | Non destructive testing. Acoustic emission. Coupling of piezoelectric sensors. | 正常
NF A09-320-3-2013 | 无损检测 - 超声波检测设备的性能与验证 - 第3部分: 组合设备 | Non-destructive testing - Characterization and verification of ultrasonic examination equipment - Part 3: combined equipment | 正常
NF A09-324-2013 | 无损试验. 超声波检测. 超声波测厚设备的特征和验证 | Non-destructive testing - Ultrasonic testing - Characterization and verification of ultrasonic thickness measuring equipment | 正常
NF A09-391-2013 | 无损试验. 声发射试验. 证明试验期间金属压力设备的检查. 声发射源的平面位置 | Non-destructive testing - Acoustic emission testing - Examination of metallic pressure equipment during proof testing - Planar location of AE sources | 正常
NF E90-408-8-2013 | 机器的工况监测和诊断 - 人员资格认定和评估要求 - 第8部分: 超声检查 | Condition monitoring and diagnostics of machines - Requirements for qualification and assessment of personnel - Part 8: ultrasound | 正常
NF A09-016-2014 | 无损试验. 超声波检测. 接触探头声束特征的参考试块和试验规程 | Non-destructive testing - Ultrasonic testing - Reference blocks and test procedures for the characterization of contact probe sound beams | 正常
GB/T 28880-2012 | 无损检测.不用电子测量仪器对脉冲反射式超声检测系统性能特性的评定 | Non-destructive testing.Evaluating performance characteristics of ultrasonic pulse-echo testing systems without the use of electronic measurement instruments | 正常
GB/T 27664.3-2012 | 无损检测.超声检测设备的性能与检验.第3部分：组合设备 | Non-destructive testing.Characterization and verification of ultrasonic test equipment.Part 3:Combined equipment | 正常
GB/T 27669-2011 | 无损检测.超声检测.超声检测仪电性能评定 | Non-destructive testing.Ultrasonic inspection.Evaluating electronic characteristics of ultrasonic test instruments | 正常
GB/T 27664.2-2011 | 无损检测.超声检测设备的性能与检验.第2部分：探头 | Non-destructive testing.Characterization and verification of ultrasonic test equipment.Part 2:Probes | 正常
GB/T 27664.1-2011 | 无损检测.超声检测设备的性能与检验.第1部分：仪器 | Non-destructive testing.Characterization and verification of ultrasonic test equipment.Part 1:Instruments | 正常
GB/T 33889-2017 | 无损检测仪器 涡流-漏磁综合检测仪技术规则 | Non-destructive testing instrument.Specification for eddy current-magnetic flux leakage integrated instrument | 正常
GB/T 33888-2017 | 无损检测仪器 超声测厚仪特性与验证 | Non-destructive testing instruments.Characterization and verification of ultrasonic thickness measuring equipment | 正常
JB/T 12727.5-2016 | 无损检测仪器 试样 第5部分:渗透检测试样 | Nondestructive tesing instrument.Standard test block.Part 5: Penetrant testing block | 正常
JB/T 12727.4-2016 | 无损检测仪器 试样 第4部分:磁粉检测用试样 | Nondestructive testing instrument.Standard test block.Part 4: Magnetic particle testing block | 正常
JB/T 12727.3-2016 | 无损检测仪器 试样 第3部分:电磁(涡流)检测试样 | Nondestructive tesing instrument.Standard testing block.Part 3: Eddy current testing block | 正常
JB/T 12458-2015(2017) | 无损检测仪器 多通道数字超声检测仪 |  | 正常
JB/T 12454-2015(2017) | 无损检测仪器 声扫频检测仪 |  | 正常
JB/T 12725-2016(2017) | 无损检测仪器 超声自动检测系统 |  | 正常
DL/T 1416-2015 | 超声波法局部放电测试仪通用技术条件 | General technical specifications for ultrasonic based partial discharge tester | 正常
JB/T 11612-2013(2017) | 无损检测仪器 涡流-漏磁综合检测仪 |  | 正常
JB/T 11611-2013(2017) | 无损检测仪器 涡流-磁记忆综合检测仪 | Non-destructive testing instrument-Eddy current and magnetic memory integrated testing instrument | 正常
JB/T 11609-2013(2017) | 无损检测仪器 声振检测仪 |  | 正常
JJF 1338-2012 | 相控阵超声探伤仪校准规范 | Calibration Specification for Ultrasonic Phased Array Flaw Detectors | 正常
JB/T 11606-2013(2017) | 无损检测仪器 金属磁记忆检测仪 性能试验方法 |  | 正常
JB/T 11605-2013(2017) | 无损检测仪器 金属磁记忆检测仪 技术条件 |  | 正常
JB/T 11604-2013(2017) | 无损检测仪器 超声波测厚仪 | Non-destructive testing instruments. Ultrasonic thickness gauge | 正常
JB/T 11603.2-2013(2017) | 无损检测仪器 声发射 设备特性 第2部分:操作特性验证 | Non-destructive testing instruments-Acoustic emission-Equipment characterization-Part 2:Verification of operating characteristic | 正常
JB/T 11603.1-2013(2017) | 无损检测仪器 声发射 设备特性 第1部分:设备描述 | Non-destructive testing instruments-Acoustic emission-Equipment characterization-Part 1:Equipment description | 正常
JB/T 11260-2011(2017) | 无损检测仪器 声脉冲检测仪 | Non-destructive testing instrument. Acoustic pulse reflectometry instrument | 正常
JB/T 11259-2011(2017) | 无损检测仪器 多频涡流检测仪 | Non-destructive testing instrument. Multifrequency eddy current testing equipment | 正常
JB/T 5754-2011(2017) | 无损检测仪器 单通道声发射检测仪 技术条件 | Non-destructive testing instruments. Specifications for one-channel acoustic emission testing instrument | 正常
JB/T 11279-2012(2017) | 无损检测仪器 线阵列涡流探头 | Non-destructive testing instruments-Eddy current line array probe | 正常
JB/T 11277-2012(2017) | 无损检测仪器 单通道声阻抗检测仪 | Non-destructive testing instruments — Single channel acoustic impedance instrument | 正常
JB/T 11276-2012(2017) | 无损检测仪器 超声波探头型号命名方法 | Non-destructive testing instruments-Nomenclatures for models of probes in ultrasonic | 正常
JJF 1294-2011 | 超声探伤仪换能器校准规范 | Calibration Specification for Transducers of Ultrasonic Flaw Detector | 正常
JJF 1447-2014 | 衍射时差法超声探伤仪校准规范 | Calibration Specification for Ultrasonic Flaw Detectors by Time-of-Flight Diffraction | 正常
JJF 1346-2012 | 次声及超声滤波器校准规范 | Calibration Specificaition for Infrasonic and Ultrasonic Filters | 正常
JB/T 8283-1999 | 声发射检测仪器性能测试方法 | Methods for testing the operating characteristics of acoustic emission instrumentation | 正常
JJG 746-2004 | 超声探伤仪 | Ultrasonic Flaw Detectors | 正常
JB/T 10063-1999 | 超声探伤用1号标准试块技术条件 | Specification for No.1 standard test block used in ultrasonic flaw detection | (作废)
JB/T 11780-2014(2017) | 无损检测仪器 阵列涡流检测仪性能和检验 |  | 正常
ZB Y232-1984 | 超声探伤用1号标准试块 技术条件 |  | (作废)
ZB Y231-1984 | 超声探伤用探头 性能测试方法 |  | (作废)
ZB Y230-1984 | A型脉冲反射式超声探伤仪通用技术条件 |  | (作废)
JB/T 7411-2012(2017) | 无损检测仪器 电磁轭磁粉探伤仪技术条件 | Non-destructive testing instruments-Specification of electricity magnetic yoke magnetic particle flaw detectior | 正常
YB 4082-1992 | 钢管自动超声探伤系统综合性能测试方法 |  | (作废)
ZB Y345-85 | 超声探伤仪用刻度板 |  | (作废)
ZB Y344-85 | 超声探伤用探头型号命名方法 |  | (作废)
ZB N77001-89 | 超声测厚仪 通用技术条件 |  | (作废)
TB/T 2340-2000 | 多通道A型显示钢轨超声波探伤仪技术条件 |  | (作废)
JB/T 10062-1999 | 超声探伤用探头性能测试方法 | Testing methods for performance of probes used in ultrasonic flaw detection | 正常
JB/T 10061-1999 | A型脉冲反射式超声波探伤仪通用技术条件 | Commonly used specification for A-mode ultrasonic flaw detector using pulse echo technique | 正常
HB/Z 37-1982 | 变形钛合金圆饼及盘件超声波检验说明书 |  | 正常
HB/Z 36-1982 | 变形钛合金棒材超声波检验说明书 |  | 正常
HB/Z 35-1982 | 不锈钢和高强度结构钢棒材超声波检验说明书 |  | 正常